## Index
INDEX
Residuals and Averages
Table 1 - Summary of Demand Tariffs
Table 2 - Demand Tariffs
Table 3 - Change in HH Demand Tariffs
Table 4 - Embedded Export Tariff
Table 5 - NHH Demand Tariff Changes
Table 6 - Changes to Average Tariffs
Table 7 - Generation Wider Tariffs
Table 8 - Generation Tariff Changes
Table 9 - Local Substation Tariffs
Table 10 - Onshore Local Circuit Tariffs
Table 11 - CMP203: Circuits subject to one-off charges
Table 12 - Offshore Local Tariffs
Table 13 - Contracted and Modelled TEC
Table 14 - Interconnectors
Table 15 - Allowed Revenues
Table 16 - Generation and Demand Revenue Proportions
Table 17 - Charging Bases
Table 18 - Residual Calculation
Table xx - Small Generator Discount: Not Applicable
Table 20 - Demand Locational Tariffs
Table 21 - Breakdown of the Embedded Export Tariff
Table 22 - Demand Profiles
Table 23 - Annual Load Factors
Table 24 - Generic Annual Load Factors
Table 25 - Generation Contracted TEC Changes
Table 26 - Indicative National Grid Revenue Forecast
Table 27 - Offshore Revenues

## Residuals
Residuals and Averages |  |  | Return to Index
Residual | 2019/20 April | 2019/20 June | Change since last forecast
Generation | -3.2912 | -3.6131 | -0.32182
Demand | 50.2986 | 51.6971 | 1.3985
Average Tariff | 2019/20 April | 2019/20 June | Change since last forecast
Generation (£/kW) | 6.0208 | 5.6113 | -0.40956 | N.B. These generation average tariffs include local tariffs
HH Demand (£/kW) | 49.3463 | 50.7451 | 1.3989
NHH Demand (p/kWh) | 6.3747 | 6.5572 | 0.18245
Embedded Export (£/kW) | 14.3011 | 14.3069 | 0.005814

## T1
Table 1 - Summary of Demand Tariffs |  |  |  | Return to Index
| HH Tariffs | 2019/20 April | 2019/20 June | Change
| Average Tariff (£/kW) | 49.3463 | 50.7451 | 1.3989
| Residual (£/kW) | 50.2986 | 51.6971 | 1.3985
| EET | 2019/20 April | 2019/20 June | Change
| Average Tariff (£/kW) | 14.3011 | 14.3069 | 0.005814
| Phased residual (£/kW) | 14.65 | 14.65 | 0
| AGIC (£/kW) | 3.32 | 3.3273 | 0.007268
| Embedded Export Volume (GW) | 7.7528 | 7.7528 | 0
| Total Credit (£m) | 110.8734 | 110.9185 | 0.045075
| NHH Tariffs | 2019/20 April | 2019/20 June | Change
| Average (p/kWh) | 6.3747 | 6.5572 | 0.18245

## T2
Table 2 - Demand Tariffs |  |  |  | Return to Index
Zone | Zone Name | HH Demand Tariff (£/kW) | NHH Demand Tariff (p/kWh) | Embedded Export Tariff (£/kW)
1 | Northern Scotland | 21.1172 | 2.8426 | 0
2 | Southern Scotland | 28.7971 | 3.7699 | 0
3 | Northern | 41.2921 | 5.2453 | 7.5723
4 | North West | 48.129 | 6.2403 | 14.4092
5 | Yorkshire | 48.4213 | 6.1629 | 14.7016
6 | N Wales & Mersey | 49.7114 | 6.2671 | 15.9916
7 | East Midlands | 51.8611 | 6.794 | 18.1413
8 | Midlands | 53.1585 | 7.0086 | 19.4387
9 | Eastern | 53.904 | 7.5183 | 20.1842
10 | South Wales | 50.0526 | 5.904 | 16.3328
11 | South East | 56.6481 | 8.0287 | 22.9283
12 | London | 59.7621 | 6.3384 | 26.0423
13 | Southern | 57.829 | 7.652 | 24.1092
14 | South Western | 56.141 | 7.8365 | 22.4212
Residual charge for demand: |  | 51.6971

## T3
Table 3 - Change in HH Demand Tariffs |  |  |  |  | Return to Index
Zone | Zone Name | 2019/20 April (£/kW) | 2019/20 June (£/kW) | Change (£/kW) | Change in Residual (£/kW)
1 | Northern Scotland | 19.737 | 21.1172 | 1.3802 | 1.3985
2 | Southern Scotland | 27.4187 | 28.7971 | 1.3784 | 1.3985
3 | Northern | 39.8927 | 41.2921 | 1.3994 | 1.3985
4 | North West | 46.7224 | 48.129 | 1.4066 | 1.3985
5 | Yorkshire | 47.014 | 48.4213 | 1.4073 | 1.3985
6 | N Wales & Mersey | 48.2987 | 49.7114 | 1.4127 | 1.3985
7 | East Midlands | 50.4523 | 51.8611 | 1.4088 | 1.3985
8 | Midlands | 51.7524 | 53.1585 | 1.4061 | 1.3985
9 | Eastern | 52.4911 | 53.904 | 1.4129 | 1.3985
10 | South Wales | 48.6606 | 50.0526 | 1.3921 | 1.3985
11 | South East | 55.2253 | 56.6481 | 1.4228 | 1.3985
12 | London | 58.3478 | 59.7621 | 1.4143 | 1.3985
13 | Southern | 56.4683 | 57.829 | 1.3607 | 1.3985
14 | South Western | 54.8066 | 56.141 | 1.3344 | 1.3985
Zone | Peak (£/kW) | Year Round (£/kW) | Residual £/kW | Small Gen Discount (£/kW) | 2019/20 June (£/kW)
1 | -2.0412 | -28.5386 | 51.6971 | 0 | 21.1172
2 | -2.2447 | -20.6552 | 51.6971 | 0 | 28.7971
3 | -3.5788 | -6.8261 | 51.6971 | 0 | 41.2921
4 | -1.1241 | -2.444 | 51.6971 | 0 | 48.129
5 | -2.8392 | -0.43651 | 51.6971 | 0 | 48.4213
6 | -2.2596 | 0.27389 | 51.6971 | 0 | 49.7114
7 | -2.1589 | 2.3229 | 51.6971 | 0 | 51.8611
8 | -1.4363 | 2.8977 | 51.6971 | 0 | 53.1585
9 | 1.3599 | 0.847 | 51.6971 | 0 | 53.904
10 | -6.1443 | 4.4999 | 51.6971 | 0 | 50.0526
11 | 4.2138 | 0.73729 | 51.6971 | 0 | 56.6481
12 | 5.6562 | 2.4088 | 51.6971 | 0 | 59.7621
13 | 1.8169 | 4.315 | 51.6971 | 0 | 57.829
14 | -0.95592 | 5.3999 | 51.6971 | 0 | 56.141

## T4
Table 4 - Embedded Export Tariff |  |  |  | Return to Index
Zone | Zone Name | 2019/20 April (£/kW) | 2019/20 June (£/kW) | Change (£/kW)
1 | Northern Scotland | 0 | 0 | 0
2 | Southern Scotland | 0 | 0 | 0
3 | Northern | 7.5641 | 7.5723 | 0.008218
4 | North West | 14.3938 | 14.4092 | 0.015369
5 | Yorkshire | 14.6855 | 14.7016 | 0.0161
6 | N Wales & Mersey | 15.9701 | 15.9916 | 0.021515
7 | East Midlands | 18.1237 | 18.1413 | 0.017548
8 | Midlands | 19.4238 | 19.4387 | 0.014899
9 | Eastern | 20.1625 | 20.1842 | 0.02168
10 | South Wales | 16.332 | 16.3328 | 0.000885
11 | South East | 22.8967 | 22.9283 | 0.031633
12 | London | 26.0192 | 26.0423 | 0.023112
13 | Southern | 24.1397 | 24.1092 | -0.030504
14 | South Western | 22.478 | 22.4212 | -0.056797
Zone | EET Locational £/kW | AGIC £/kW | 2019/20 Phased Residual £/kW | Final Tariff £/kW | EET Revenue £m
1 | -30.5798 | 3.3273 | 14.65 | 0 | 0
2 | -22.8999 | 3.3273 | 14.65 | 0 | 0
3 | -10.4049 | 3.3273 | 14.65 | 7.5723 | 3.3216
4 | -3.5681 | 3.3273 | 14.65 | 14.4092 | 5.9095
5 | -3.2757 | 3.3273 | 14.65 | 14.7016 | 11.872
6 | -1.9857 | 3.3273 | 14.65 | 15.9916 | 8.8024
7 | 0.16403 | 3.3273 | 14.65 | 18.1413 | 11.5958
8 | 1.4614 | 3.3273 | 14.65 | 19.4387 | 6.5137
9 | 2.2069 | 3.3273 | 14.65 | 20.1842 | 16.2622
10 | -1.6444 | 3.3273 | 14.65 | 16.3328 | 8.3249
11 | 4.9511 | 3.3273 | 14.65 | 22.9283 | 9.4218
12 | 8.065 | 3.3273 | 14.65 | 26.0423 | 4.4488
13 | 6.1319 | 3.3273 | 14.65 | 24.1092 | 16.6998
14 | 4.444 | 3.3273 | 14.65 | 22.4212 | 7.7459

## T5
Table 5 - NHH Demand Tariff Changes |  |  | Return to Index
Zone | Zone Name | 2019/20 April (p/kWh) | 2019/20 June (p/kWh) | Change (p/kWh)
1 | Northern Scotland | 2.6568 | 2.8426 | 0.18579
2 | Southern Scotland | 3.5894 | 3.7699 | 0.18045
3 | Northern | 5.0676 | 5.2453 | 0.17777
4 | North West | 6.0579 | 6.2403 | 0.18237
5 | Yorkshire | 5.9838 | 6.1629 | 0.17912
6 | N Wales & Mersey | 6.089 | 6.2671 | 0.1781
7 | East Midlands | 6.6095 | 6.794 | 0.18455
8 | Midlands | 6.8232 | 7.0086 | 0.18539
9 | Eastern | 7.3212 | 7.5183 | 0.19706
10 | South Wales | 5.7398 | 5.904 | 0.16421
11 | South East | 7.827 | 8.0287 | 0.20166
12 | London | 6.1884 | 6.3384 | 0.15
13 | Southern | 7.4719 | 7.652 | 0.18005
14 | South Western | 7.6502 | 7.8365 | 0.18626

## T6
Table 6 - Changes to Average Tariffs |  |  |  |  | Return to Index
Generation Tariffs (£/kW) | 2019/20 April | 2019/20 June | Change since last forecast
Residual | -3.2912 | -3.6131 | -0.32182
Average Generation Tariff | 6.0208 | 5.6113 | -0.40956 | N.B. These generation average tariffs include local tariffs

## T7
Table 7 - Generation Wider Tariffs | [7 empty] | Return to Index
Example tariffs for a generator of each technology type:
|  | System Peak | Shared Year Round | Not Shared Year Round | Residual | Conventional Carbon 80% | Conventional Low Carbon 80% | Intermittent 40%
Zone | Zone Name | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW)
1 | North Scotland | 2.6335 | 17.866 | 16.2906 | -3.6131 | 26.3457 | 29.6038 | 19.8239
2 | East Aberdeenshire | 4.8564 | 10.3899 | 16.2906 | -3.6131 | 22.5877 | 25.8458 | 16.8335
3 | Western Highlands | 2.0662 | 18.0187 | 16.3009 | -3.6131 | 25.9089 | 29.169 | 19.8953
4 | Skye and Lochalsh | -4.0509 | 18.0187 | 16.1858 | -3.6131 | 19.6997 | 22.9368 | 19.7803
5 | Eastern Grampian and Tayside | 3.029 | 15.5528 | 15.6952 | -3.6131 | 24.4143 | 27.5534 | 18.3033
6 | Central Grampian | 3.7035 | 14.8428 | 15.3882 | -3.6131 | 24.2753 | 27.3529 | 17.7123
7 | Argyll | 3.3185 | 11.7681 | 25.1257 | -3.6131 | 29.2205 | 34.2456 | 26.2199
8 | The Trossachs | 3.6059 | 11.7681 | 13.9929 | -3.6131 | 20.6017 | 23.4003 | 15.0871
9 | Stirlingshire and Fife | 2.3794 | 8.9689 | 13.1552 | -3.6131 | 16.4656 | 19.0967 | 13.1297
10 | South West Scotlands | 2.432 | 9.5291 | 13.2965 | -3.6131 | 17.0795 | 19.7388 | 13.4951
11 | Lothian and Borders | 3.6496 | 9.5291 | 7.4378 | -3.6131 | 13.6101 | 15.0977 | 7.6364
12 | Solway and Cheviot | 1.9655 | 5.3942 | 7.505 | -3.6131 | 8.6718 | 10.1728 | 6.0496
13 | North East England | 3.886 | 3.0152 | 3.9431 | -3.6131 | 5.8395 | 6.6281 | 1.5361
14 | North Lancashire and The Lakes | 1.5909 | 3.0152 | 2.6573 | -3.6131 | 2.5159 | 3.0473 | 0.25033
15 | South Lancashire, Yorkshire and Humber | 4.477 | 0.7832 | 0.11756 | -3.6131 | 1.5845 | 1.608 | -3.1822
16 | North Midlands and North Wales | 3.9427 | -0.83049 | 0 | -3.6131 | -0.33477 | -0.33477 | -3.9453
17 | South Lincolnshire and North Norfolk | 2.1195 | -0.4743 | 0 | -3.6131 | -1.873 | -1.873 | -3.8028
18 | Mid Wales and The Midlands | 1.2087 | -0.24253 | 0 | -3.6131 | -2.5983 | -2.5983 | -3.7101
19 | Anglesey and Snowdon | 4.4401 | -0.65048 | 0 | -3.6131 | 0.30667 | 0.30667 | -3.8733
20 | Pembrokeshire | 9.1871 | -4.5171 | 0 | -3.6131 | 1.9604 | 1.9604 | -5.4199
21 | South Wales & Gloucester | 6.1859 | -4.4904 | 0 | -3.6131 | -1.0194 | -1.0194 | -5.4092
22 | Cotswold | 3.041 | 2.2587 | -6.7258 | -3.6131 | -4.1458 | -5.491 | -9.4354
23 | Central London | -5.7651 | 2.2587 | -6.6131 | -3.6131 | -12.8616 | -14.1842 | -9.3227
24 | Essex and Kent | -4.0896 | 2.2587 | 0 | -3.6131 | -5.8958 | -5.8958 | -2.7096
25 | Oxfordshire, Surrey and Sussex | -1.5678 | -2.9511 | 0 | -3.6131 | -7.5417 | -7.5417 | -4.7935
26 | Somerset and Wessex | -1.4077 | -4.1139 | 0 | -3.6131 | -8.3119 | -8.3119 | -5.2586
27 | West Devon and Cornwall | 0.1034 | -5.6777 | 0 | -3.6131 | -8.0518 | -8.0518 | -5.8841

## T8 & Fig 4
Table 8 - Generation Tariff Changes | [10 empty] | Return to Index
Wider Generation Tariffs (£/kW)
|  | Conventional Carbon 80% |  |  | Conventional Low Carbon 80% |  |  | Intermittent 40% |  |  | Change in Residual (£/kW)
Zone | Zone Name | 2019/20 April (£/kW) | 2019/20 June (£/kW) | Change (£/kW) | 2019/20 April (£/kW) | 2019/20 June (£/kW) | Change (£/kW) | 2019/20 April (£/kW) | 2019/20 June (£/kW) | Change (£/kW)
1 | North Scotland | 26.6578 | 26.3457 | -0.31212 | 29.927 | 29.6038 | -0.32313 | 20.1683 | 19.8239 | -0.34439 | -0.32182
2 | East Aberdeenshire | 22.8946 | 22.5877 | -0.30693 | 26.1638 | 25.8458 | -0.31795 | 17.1754 | 16.8335 | -0.34194 | -0.32182
3 | Western Highlands | 26.2205 | 25.9089 | -0.31167 | 29.4917 | 29.169 | -0.32267 | 20.2392 | 19.8953 | -0.34386 | -0.32182
4 | Skye and Lochalsh | 20.0103 | 19.6997 | -0.3106 | 23.2584 | 22.9368 | -0.32152 | 20.1237 | 19.7803 | -0.34348 | -0.32182
5 | Eastern Grampian and Tayside | 24.7342 | 24.4143 | -0.31992 | 27.8838 | 27.5534 | -0.33046 | 18.641 | 18.3033 | -0.33778 | -0.32182
6 | Central Grampian | 24.5949 | 24.2753 | -0.3196 | 27.6797 | 27.3529 | -0.32671 | 18.0171 | 17.7123 | -0.30481 | -0.32182
7 | Argyll | 31.0335 | 29.2205 | -1.813 | 36.4809 | 34.2456 | -2.2352 | 28.6297 | 26.2199 | -2.4099 | -0.32182
8 | The Trossachs | 20.9062 | 20.6017 | -0.3045 | 23.7186 | 23.4003 | -0.31831 | 15.4549 | 15.0871 | -0.3678 | -0.32182
9 | Stirlingshire and Fife | 16.7737 | 16.4656 | -0.30811 | 19.4113 | 19.0967 | -0.31463 | 13.4611 | 13.1297 | -0.33135 | -0.32182
10 | South West Scotlands | 17.3653 | 17.0795 | -0.28575 | 20.0315 | 19.7388 | -0.29266 | 13.821 | 13.4951 | -0.32587 | -0.32182
11 | Lothian and Borders | 13.9411 | 13.6101 | -0.33099 | 15.4409 | 15.0977 | -0.34316 | 7.9886 | 7.6364 | -0.35219 | -0.32182
12 | Solway and Cheviot | 9.0346 | 8.6718 | -0.36274 | 10.5451 | 10.1728 | -0.37223 | 6.4195 | 6.0496 | -0.36988 | -0.32182
13 | North East England | 6.1632 | 5.8395 | -0.32376 | 6.9527 | 6.6281 | -0.32463 | 1.86 | 1.5361 | -0.32391 | -0.32182
14 | North Lancashire and The Lakes | 2.8428 | 2.5159 | -0.32692 | 3.3761 | 3.0473 | -0.32877 | 0.57913 | 0.25033 | -0.32881 | -0.32182
15 | South Lancashire, Yorkshire and Humber | 1.9144 | 1.5845 | -0.32984 | 1.9379 | 1.608 | -0.32987 | -2.858 | -3.1822 | -0.32421 | -0.32182
16 | North Midlands and North Wales | -0.0021356 | -0.33477 | -0.33263 | -0.0021356 | -0.33477 | -0.33263 | -3.6198 | -3.9453 | -0.32547 | -0.32182
17 | South Lincolnshire and North Norfolk | -1.5403 | -1.873 | -0.33273 | -1.5403 | -1.873 | -0.33273 | -3.4778 | -3.8028 | -0.32495 | -0.32182
18 | Mid Wales and The Midlands | -2.2677 | -2.5983 | -0.33062 | -2.2677 | -2.5983 | -0.33062 | -3.3875 | -3.7101 | -0.32253 | -0.32182
19 | Anglesey and Snowdon | 0.64293 | 0.30667 | -0.33626 | 0.64293 | 0.30667 | -0.33626 | -3.5455 | -3.8733 | -0.32771 | -0.32182
20 | Pembrokeshire | 2.278 | 1.9604 | -0.31762 | 2.278 | 1.9604 | -0.31762 | -5.0982 | -5.4199 | -0.32171 | -0.32182
21 | South Wales & Gloucester | -0.70466 | -1.0194 | -0.31477 | -0.70466 | -1.0194 | -0.31477 | -5.0881 | -5.4092 | -0.32115 | -0.32182
22 | Cotswold | -3.8333 | -4.1458 | -0.31247 | -5.1815 | -5.491 | -0.30947 | -9.1237 | -9.4354 | -0.31171 | -0.32182
23 | Central London | -12.5267 | -12.8616 | -0.33491 | -13.8498 | -14.1842 | -0.33443 | -8.9984 | -9.3227 | -0.32429 | -0.32182
24 | Essex and Kent | -5.5569 | -5.8958 | -0.33888 | -5.5569 | -5.8958 | -0.33888 | -2.3829 | -2.7096 | -0.32669 | -0.32182
25 | Oxfordshire, Surrey and Sussex | -7.1997 | -7.5417 | -0.34207 | -7.1997 | -7.5417 | -0.34207 | -4.4848 | -4.7935 | -0.30873 | -0.32182
26 | Somerset and Wessex | -8.0752 | -8.3119 | -0.23673 | -8.0752 | -8.3119 | -0.23673 | -4.9794 | -5.2586 | -0.27926 | -0.32182
27 | West Devon and Cornwall | -7.8182 | -8.0518 | -0.23357 | -7.8182 | -8.0518 | -0.23357 | -5.5811 | -5.8841 | -0.30309 | -0.32182
Figure 4 - Variation in Generation Zonal Tariffs

## T9
Table 9 - Local Substation Tariffs |  |  |  | Return to Index
2019/20 Local Substation Tariff (£/kW)
Substation Rating | Connection Type | 132kV | 275kV | 400kV
<1320 MW | No redundancy | 0.19796 | 0.11325 | 0.081598
<1320 MW | Redundancy | 0.4361 | 0.26982 | 0.19623
>=1320 MW | No redundancy | 0 | 0.35508 | 0.2568
>=1320 MW | Redundancy | 0 | 0.58296 | 0.42551

## T10
Table 10 - Onshore Local Circuit Tariffs | [5 empty] | Return to Index
Substation Name | (£/kW) | Substation Name | (£/kW) | Substation Name | (£/kW)
Achruach | 4.2329 | Dunlaw Extension | 1.4797 | Lochay | 0.36082
Aigas | 0.64487 | Dunhill | 1.4123 | Luichart | 0.56547
An Suidhe | -0.94107 | Dumnaglass | 1.8306 | Mark Hill | 0.86331
Arecleoch | 2.0479 | Edinbane | 6.7481 | Marchwood | 0.37631
Baglan Bay | 0.75011 | Ewe Hill | 1.355 | Millennium Wind | 1.8008
Beinneun Wind Farm | 1.4809 | Fallago | 0.19932 | Moffat | 0.16941
Bhlaraidh Wind Farm | 0.64882 | Farr | 3.5155 | Mossford | 0.44192
Black Hill | 1.5313 | Fernoch | 4.3371 | Nant | -1.2113
BlackCraig Wind Farm | 6.2069 | Ffestiniogg | 0.24946 | Necton | -0.36216
Black Law | 1.7229 | Finlarig | 0.31572 | Rhigos | 0.10037
BlackLaw Extension | 3.6537 | Foyers | 0.74245 | Rocksavage | 0.017456
Carrington | -0.032834 | Galawhistle | 1.4583 | Saltend | 0.33621
Clyde (North) | 0.10813 | Glendoe | 1.8137 | South Humber Bank | 0.93423
Clyde (South) | 0.12505 | Glenglass | 2.9384 | Spalding | 0.27764
Corriegarth | 3.1085 | Gordonbush | 0.1969 | Strathbrora | 0.069949
Corriemoillie | 1.6405 | Griffin Wind | 9.5668 | Stronelairg | 1.4175
Coryton | 0.051513 | Hadyard Hill | 2.7292 | Strathy Wind | 2.0289
Cruachan | 1.8654 | Harestanes | 2.4741 | Wester Dod | 0.36885
Crystal Rig | 0.033342 | Hartlepool | 0.59202 | Whitelee | 0.10464
Culligran | 1.7089 | Hedon | 0.17842 | Whitelee Extension | 0.29091
Deanie | 2.8075 | Invergarry | 1.399 | Gills Bay | 2.4831
Dersalloch | 2.3751 | Kilgallioch | 1.0377 | Kype Muir | 1.4625
Didcot | 0.51526 | Kilmorack | 0.19473 | Middle Muir | 1.9544
Dinorwig | 2.3657 | Langage | 0.64856 | Dorenell | 2.0693
Millennium South | 0.92849 | Aberdeen Bay | 2.5708 | Killingholme | 0.70074
Middleton | 0.10978

## T10 A-Z
Table 10 - Onshore Local Circuit Tariffs | [5 empty] | Return to Index
Substation Name | (£/kW) | Substation Name | (£/kW) | Substation Name | (£/kW)
Achruach | 4.2329 | Dumnaglass | 1.8306 | Langage | 0.64856
Aberdeen Bay | 2.5708 | Dunhill | 1.4123 | Lochay | 0.36082
Aigas | 0.64487 | Dunlaw Extension | 1.4797 | Luichart | 0.56547
An Suidhe | -0.94107 | Edinbane | 6.7481 | Marchwood | 0.37631
Arecleoch | 2.0479 | Ewe Hill | 1.355 | Mark Hill | 0.86331
Baglan Bay | 0.75011 | Fallago | 0.19932 | Middle Muir | 1.9544
Beinneun Wind Farm | 1.4809 | Farr | 3.5155 | Middleton | 0.10978
Bhlaraidh Wind Farm | 0.64882 | Fernoch | 4.3371 | Millennium South | 0.92849
Black Hill | 1.5313 | Ffestiniogg | 0.24946 | Millennium Wind | 1.8008
Black Law | 1.7229 | Finlarig | 0.31572 | Moffat | 0.16941
BlackCraig Wind Farm | 6.2069 | Foyers | 0.74245 | Mossford | 0.44192
BlackLaw Extension | 3.6537 | Galawhistle | 1.4583 | Nant | -1.2113
Carrington | -0.032834 | Gills Bay | 2.4831 | Necton | -0.36216
Clyde (North) | 0.10813 | Glendoe | 1.8137 | Rhigos | 0.10037
Clyde (South) | 0.12505 | Glenglass | 2.9384 | Rocksavage | 0.017456
Corriegarth | 3.1085 | Gordonbush | 0.1969 | Saltend | 0.33621
Corriemoillie | 1.6405 | Griffin Wind | 9.5668 | South Humber Bank | 0.93423
Coryton | 0.051513 | Hadyard Hill | 2.7292 | Spalding | 0.27764
Cruachan | 1.8654 | Harestanes | 2.4741 | Strathbrora | 0.069949
Crystal Rig | 0.033342 | Hartlepool | 0.59202 | Strathy Wind | 2.0289
Culligran | 1.7089 | Hedon | 0.17842 | Stronelairg | 1.4175
Deanie | 2.8075 | Invergarry | 1.399 | Wester Dod | 0.36885
Dersalloch | 2.3751 | Kilgallioch | 1.0377 | Whitelee | 0.10464
Didcot | 0.51526 | Killingholme | 0.70074 | Whitelee Extension | 0.29091
Dinorwig | 2.3657 | Kilmorack | 0.19473
Dorenell | 2.0693 | Kype Muir | 1.4625

## T11
Table 11 - CMP203: Circuits subject to one-off charges |  |  |  | Return to Index
Node 1 | Node 2 | Actual Parameters | Amendment in Transport Model | Generator
Dyce 132kV | Aberdeen Bay 132kV | 9.5km of Cable | 9.5km of OHL | Aberdeen Bay
Crystal Rig 132kV | Wester Dod 132kV | 3.9km of Cable | 3.9km of OHL | Aikengall II
Wishaw 132kV | Blacklaw 132kV | 11.46km of Cable | 11.46km of OHL | Blacklaw
Farigaig 132kV | Corriegarth 132kV | 4km Cable | 4km OHL | Corriegarth
Elvanfoot 275kV | Clyde North 275kV | 6.2km of Cable | 6.2km of OHL | Clyde North
Elvanfoot 275kV | Clyde South 275kV | 7.17km of Cable | 7.17km of OHL | Clyde South
Farigaig 132kV | Dunmaglass 132kV | 4km Cable | 4km OHL | Dunmaglass
Coalburn 132kV | Galawhistle 132kV | 9.7km cable | 9.7km OHL | Galawhistle II
Moffat 132kV | Harestanes 132kV | 15.33km cable | 15.33km OHL | Harestanes
Coalburn 132kV | Kype Muir 132kV | 17km cable | 17km OHL | Kype Muir
Coalburn 132kV | Middle Muir 132kV | 13km cable | 13km OHL | Middle Muir
Melgarve 132kV | Stronelairg 132kV | 10km cable | 10km OHL | Stronelairg
East Kilbride South 275kV | Whitelee 275kV | 6km of Cable | 6km of OHL | Whitelee
East Kilbride South 275kV | Whitelee Extension 275kV | 16.68km of Cable | 16.68km of OHL | Whitelee Extension

## T12
Table 12 - Offshore Local Tariffs |  |  | Return to Index
Offshore Generator | Tariff Component (£/kW)
| Substation | Circuit | ETUoS
Barrow | 7.9751 | 41.7256 | 1.0361
Burbo Bank | Tariff will be published in November 2018
Greater Gabbard | 14.9523 | 34.359 | 0
Gunfleet | 17.2598 | 15.8458 | 2.9617
Gwynt Y Mor | 18.2095 | 17.9386 | 0
Humber Gateway | 14.4906 | 32.6957 | 0
Lincs | 14.9041 | 58.3529 | 0
London Array | 10.1456 | 34.5554 | 0
Ormonde | 24.6546 | 45.9293 | 0.36602
Robin Rigg East | -0.45608 | 30.2112 | 9.3639
Robin Rigg West | -0.45608 | 30.2112 | 9.3639
Sheringham Shoal | 23.8207 | 27.936 | 0.60725
Thanet | 18.1403 | 33.8019 | 0.81373
Walney 1 | 21.2781 | 42.3753 | 0
Walney 2 | 21.1234 | 42.7487 | 0
West of Duddon Sands | 8.2106 | 40.5145 | 0
Westermost Rough | 17.2889 | 29.2454 | 0

## T13
Table 13 - Contracted and Modelled TEC |  |  |  |  | Return to Index
(GW) | 2018/19 | 2019/20 Initial Forecast | 2019/20 April Forecast | 2019/20 June Forecast | 2019/20 Draft Tariffs | 2019/20 Final Tariffs
Contracted TEC | 79.0288 | 85.4646 | 85.9388 | 83.9
Modelled Best View TEC | 79.0288 | 77.6806 | 77.4969 | 77.7
Chargeable TEC | 71.9343 | 73.8336 | 71.7118 | 71.9

## T14
Table 14 - Interconnectors | [5 empty] | Return to Index
Interconnector | Site | Interconnected System | Generation Zone | Transport Model (Generation MW) Peak | Transport Model (Generation MW) Year Round | Charging Base (Generation MW)
IFA Interconnector | Sellindge 400kV | France | 24 | 0 | 2000 | 0
ElecLink | Sellindge 400kV | France | 24 | 0 | 1000 | 0
BritNed | Grain 400kV | Netherlands | 24 | 0 | 1200 | 0
Belgium Interconnector (Nemo) | Richborough 400kV | Belgium | 24 | 0 | 1000 | 0
East - West | Connah's Quay 400kV | Republic of Ireland | 16 | 0 | 505 | 0
Moyle | Auchencrosh 275kV | Northern Ireland | 10 | 0 | 80 | 0

## T15
Table 15 - Allowed Revenues | [5 empty] | Return to Index
£m Nominal Value | 2018/19 TNUoS Revenue | 2019/20 TNUoS Revenue
| 2018/19 (fixed forecast) | Initial Forecast | April Forecast | June Forecast | Nov Draft | Jan 2019 Final
National Grid
Price controlled revenue | 1653.918 | 1768.5197 | 1728.1224 | 1770.6014
Less income from connections | 44.0024 | 41.8826 | 44.0024 | 44.0024
Income from TNUoS | 1609.9156 | 1726.6371 | 1684.12 | 1726.599
Scottish Power Transmission
Price controlled revenue | 364.83 | 404.5082 | 404.5082 | 404.5082
Less income from connections | 14.8691 | 14.5321 | 14.5321 | 14.5321
Income from TNUoS | 349.9609 | 389.9761 | 389.9761 | 389.9761
SHE Transmission
Price controlled revenue | 369.818 | 352.8503 | 352.8503 | 352.8503
Less income from connections | 3.4071 | 3.4635 | 3.4635 | 3.4635
Income from TNUoS | 366.4109 | 349.3868 | 349.3868 | 349.3868
Offshore | 318.1438 | 466.6616 | 386.4788 | 387.4399
Network Innovation Competition | 32.6644 | 42.5 | 32.6644 | 32.6644
EDR
Interconnectors (Cap & Floor) | -6.8 | -6.8 | -6.8 | -6.8
Total to Collect from TNUoS | 2670.2955 | 2968.3617 | 2835.8261 | 2879.2662

## T16
Table 16 - Generation and Demand Revenue Proportions | [5 empty] | Return to Index
|  | 2019/20 Initial | 2019/20 April | 2019/20 June | 2019/20 Draft | 2019/20 Final
CAPEC | Limit on generation tariff (€/MWh) | 2.5 | 2.5 | 2.5
y | Error Margin | 21% | 21% | 21%
ER | Exchange Rate (€/£) | 1.09 | 1.13 | 1.1249
MAR | Total Revenue (£m) | 2968.3617 | 2835.8126 | 2879.2522
GO | Generation Output (TWh) | 243.1224 | 247.0349 | 229.8336
G | % of revenue from generation | 14.84% | 15.23% | 14.01%
D | % of revenue from demand | 85.16% | 84.77% | 85.99%
G.R | Revenue recovered from generation (£m) | 440.5199 | 431.7645 | 403.5118
D.R | Revenue recovered from demand (£m) | 2527.8418 | 2404.0481 | 2475.7404

## T17
Table 17 - Charging Bases |  |  |  | Return to Index
Charging Bases | 2019/20 April | 2019/20 June | 2019/20 Draft | 2019/20 Final
Generation (GW) | 71.7118 | 71.911
NHH Demand (4pm-7pm TWh) | 25.5121 | 25.5121
Net Charging
Total Average Net Triad (GW) | 43.5728 | 43.5728
HH Demand Average Net Triad (GW) | 10.2546 | 10.2546
Gross charging
Total Average Gross Triad (GW) | 51.3256 | 51.3256
HH Demand Average Gross Triad (GW) | 18.0075 | 18.0075
Embedded Generation Export (GW) | 7.7528 | 7.7528

## T18
Table 18 - Residual Calculation |  |  |  |  | Return to Index
| Component | 2019/20 April | 2019/20 June | 2019/20 Draft | 2019/20 Final
G | Proportion of revenue recovered from generation (%) | 15.23% | 14.01%
D | Proportion of revenue recovered from demand (%) | 84.77% | 85.99%
R | Total TNUoS revenue (£m) | 2835.8126 | 2879.2522
Generation Residual
RG | Generator residual tariff (£/kW) | -3.2912 | -3.6131
ZG | Revenue recovered from the locational element of generator tariffs (£m) | 330.7122 | 329.0995
O | Revenue recovered from offshore local tariffs (£m) | 298.7056 | 295.9537
LG | Revenue recovered from onshore local substation tariffs (£m) | 19.2476 | 19.2405
SG | Revenue recovered from onshore local circuit tariffs (£m) | 19.1197 | 19.0367
BG | Generator charging base (GW) | 71.7118 | 71.911
Gross Demand Residual
RD | Demand residual tariff (£/kW) | 50.2986 | 51.6971
ZD | Revenue recovered from the locational element of demand tariffs (£m) | -66.6856 | -66.7256
EE | Amount to be paid to Embedded Export Tariffs (£m) | 110.8734 | 110.9185
BD | Demand Gross charging base (GW) | 51.3256 | 51.3256

## T20
Table 20 - Demand Locational Tariffs | [5 empty] | Return to Index
Zone | 2019/20 April | 2019/20 April | 2019/20 June | 2019/20 June (£/kW) | Changes
| Peak (£/kW) | Year Round (£/kW) | Peak (£/kW) | Year Round (£/kW) | Peak (£/kW) | Year Round (£/kW)
1 | -2.0479 | -28.5137 | -2.0412 | -28.5386 | 0.0066619 | -0.024889
2 | -2.2403 | -20.6396 | -2.2447 | -20.6552 | -0.0044602 | -0.015602
3 | -3.5818 | -6.8241 | -3.5788 | -6.8261 | 0.0029901 | -0.0020401
4 | -1.1265 | -2.4497 | -1.1241 | -2.444 | 0.0023944 | 0.0057067
5 | -2.8423 | -0.44222 | -2.8392 | -0.43651 | 0.0031218 | 0.0057109
6 | -2.2899 | 0.29002 | -2.2596 | 0.27389 | 0.030377 | -0.01613
7 | -2.162 | 2.3157 | -2.1589 | 2.3229 | 0.0030743 | 0.0072056
8 | -1.4371 | 2.8909 | -1.4363 | 2.8977 | 0.00083685 | 0.0067935
9 | 1.3547 | 0.83775 | 1.3599 | 0.847 | 0.0051594 | 0.0092522
10 | -6.1391 | 4.5011 | -6.1443 | 4.4999 | -0.005193 | -0.0011901
11 | 4.204 | 0.7227 | 4.2138 | 0.73729 | 0.0097736 | 0.014591
12 | 5.6506 | 2.3986 | 5.6562 | 2.4088 | 0.0056045 | 0.010239
13 | 1.838 | 4.3316 | 1.8169 | 4.315 | -0.021101 | -0.016671
14 | -0.92175 | 5.4298 | -0.95592 | 5.3999 | -0.034171 | -0.029893

## T21
Table 21 - Breakdown of the Embedded Export Tariff | [10 empty] | Return to Index
Demand Zone |  | 2019/20 April |  |  | 2019/20 June |  |  | Changes
|  | Locational (£/kW) | AGIC (£/kW) | Phased Residual (£/kW) | Locational (£/kW) | AGIC (£/kW) | Phased Residual (£/kW) | Locational (£/kW) | AGIC (£/kW) | Phased Residual (£/kW)
1 | Northern Scotland | -30.5616 | 3.32 | 14.65 | -30.5798 | 3.3273 | 14.65 | -0.018227 | 0.007268 | 0
2 | Southern Scotland | -22.8799 | 3.32 | 14.65 | -22.8999 | 3.3273 | 14.65 | -0.020062 | 0.007268 | 0
3 | Northern | -10.4059 | 3.32 | 14.65 | -10.4049 | 3.3273 | 14.65 | 0.00095001 | 0.007268 | 0
4 | North West | -3.5762 | 3.32 | 14.65 | -3.5681 | 3.3273 | 14.65 | 0.0081011 | 0.007268 | 0
5 | Yorkshire | -3.2845 | 3.32 | 14.65 | -3.2757 | 3.3273 | 14.65 | 0.0088327 | 0.007268 | 0
6 | N Wales & Mersey | -1.9999 | 3.32 | 14.65 | -1.9857 | 3.3273 | 14.65 | 0.014247 | 0.007268 | 0
7 | East Midlands | 0.15375 | 3.32 | 14.65 | 0.16403 | 3.3273 | 14.65 | 0.01028 | 0.007268 | 0
8 | Midlands | 1.4538 | 3.32 | 14.65 | 1.4614 | 3.3273 | 14.65 | 0.0076304 | 0.007268 | 0
9 | Eastern | 2.1925 | 3.32 | 14.65 | 2.2069 | 3.3273 | 14.65 | 0.014412 | 0.007268 | 0
10 | South Wales | -1.638 | 3.32 | 14.65 | -1.6444 | 3.3273 | 14.65 | -0.0063831 | 0.007268 | 0
11 | South East | 4.9267 | 3.32 | 14.65 | 4.9511 | 3.3273 | 14.65 | 0.024365 | 0.007268 | 0
12 | London | 8.0492 | 3.32 | 14.65 | 8.065 | 3.3273 | 14.65 | 0.015844 | 0.007268 | 0
13 | Southern | 6.1697 | 3.32 | 14.65 | 6.1319 | 3.3273 | 14.65 | -0.037772 | 0.007268 | 0
14 | South Western | 4.508 | 3.32 | 14.65 | 4.444 | 3.3273 | 14.65 | -0.064065 | 0.007268 | 0

## T22
Table 22 - Demand Profiles | [6 empty] | Return to Index
Zone | Zone Name | 2019/20 April | 2019/20 April | 2019/20 April | 2019/20 April | 2019/20 April | 2019/20 June | 2019/20 June | 2019/20 June | 2019/20 June | 2019/20 June
|  | Locational Model Demand (MW) | GROSS Tariff model Peak Demand (MW) | GROSS Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh) | Tariff model Embedded Export (MW) | Locational Model Demand (MW) | GROSS Tariff model Peak Demand (MW) | GROSS Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh) | Tariff model Embedded Export (MW)
1 | Northern Scotland | 499.4471 | 1483.1582 | 427.581 | 0.78418 | 958.0335 | 499.4471 | 1483.1582 | 427.581 | 0.78418 | 958.0335
2 | Southern Scotland | 2695.2802 | 3444.3513 | 1125.6193 | 1.7712 | 678.4521 | 2695.2802 | 3444.3513 | 1125.6193 | 1.7712 | 678.4521
3 | Northern | 2702.3019 | 2575.9529 | 902.0794 | 1.3177 | 438.6492 | 2702.3019 | 2575.9529 | 902.0794 | 1.3177 | 438.6492
4 | North West | 3067.4972 | 4037.4047 | 1413.3539 | 2.0238 | 410.12 | 3067.4972 | 4037.4047 | 1413.3539 | 2.0238 | 410.12
5 | Yorkshire | 4384.081 | 3818.4647 | 1495.2763 | 1.8253 | 807.5337 | 4384.081 | 3818.4647 | 1495.2763 | 1.8253 | 807.5337
6 | N Wales & Mersey | 2557.7446 | 2627.7808 | 991.0024 | 1.2983 | 550.4392 | 2557.7446 | 2627.7808 | 991.0024 | 1.2983 | 550.4392
7 | East Midlands | 5375.75 | 4651.1254 | 1717.461 | 2.2394 | 639.1934 | 5375.75 | 4651.1254 | 1717.461 | 2.2394 | 639.1934
8 | Midlands | 4424.72 | 4251.4589 | 1388.5717 | 2.1714 | 335.092 | 4424.72 | 4251.4589 | 1388.5717 | 2.1714 | 335.092
9 | Eastern | 6238.2138 | 6447.1848 | 1931.3322 | 3.2377 | 805.6925 | 6238.2138 | 6447.1848 | 1931.3322 | 3.2377 | 805.6925
10 | South Wales | 1673.9196 | 1821.8666 | 778.9007 | 0.88419 | 509.7006 | 1673.9196 | 1821.8666 | 778.9007 | 0.88419 | 509.7006
11 | South East | 3870.8045 | 3906.2703 | 1059.9056 | 2.0083 | 410.9236 | 3870.8045 | 3906.2703 | 1059.9056 | 2.0083 | 410.9236
12 | London | 5599.2426 | 4186.8787 | 2202.5262 | 1.871 | 170.831 | 5599.2426 | 4186.8787 | 2202.5262 | 1.871 | 170.831
13 | Southern | 6565.893 | 5476.488 | 1933.2113 | 2.6778 | 692.6739 | 6565.893 | 5476.488 | 1933.2113 | 2.6778 | 692.6739
14 | South Western | 2210.0784 | 2597.2446 | 640.6294 | 1.4017 | 345.4733 | 2210.0784 | 2597.2446 | 640.6294 | 1.4017 | 345.4733
Total |  | 51864.974 | 51325.6299 | 18007.4505 | 25.5121 | 7752.808 | 51864.974 | 51325.6299 | 18007.4505 | 25.5121 | 7752.808

## T23
Table 23 - Annual Load Factors | [10 empty] | Return to Index
Power Station | Technology | Yearly Load Factor Source |  |  |  |  | Yearly Load Factor Value |  |  |  |  | Specific ALF
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2012 | 2013 | 2014 | 2015 | 2016
ABERTHAW | Coal | Actual | Actual | Actual | Actual | Actual | 74.01% | 65.54% | 59% | 54.26% | 50.83% | 59.6%
ACHRUACH | Onshore_Wind | Generic | Generic | Generic | Partial | Actual | 0% | 0% | 0% | 33.65% | 36.71% | 34.9%
AN SUIDHE WIND FARM | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 31.64% | 41.58% | 36.94% | 35.49% | 34.09% | 35.51%
ARECLEOCH | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 32.48% | 33.83% | 29.73% | 36.86% | 19.72% | 32.01%
BAGLAN BAY | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 27.58% | 16.41% | 37.92% | 29.12% | 55.2% | 31.54%
BARKING | CCGT_CHP | Actual | Actual | Partial | Generic | Generic | 2.338% | 1.88% | 14.19% | 0% | 0% | 6.137%
BARROW OFFSHORE WIND LTD | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 42.88% | 54.11% | 47.02% | 47.18% | 44.26% | 46.15%
BARRY | CCGT_CHP | Actual | Actual | Actual | Actual | Partial | 0.6999% | 1.299% | 0.4003% | 2.173% | 25.43% | 1.391%
BEAULY CASCADE | Hydro | Actual | Actual | Actual | Actual | Actual | 25.45% | 35.67% | 37.12% | 35.01% | 30.49% | 33.72%
BEINNEUN | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 30.96% | 33.21%
BHLARAIDH | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 33.43% | 34.04%
BLACK LAW | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 22.07% | 31.96% | 26.79% | 26.9% | 23.46% | 25.72%
BLACKLAW EXTENSION | Onshore_Wind | Generic | Generic | Generic | Partial | Actual | 0% | 0% | 0% | 33.46% | 13.11% | 26.97%
BRIMSDOWN | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 21.88% | 18.76% | 11.12% | 16.45% | 45.06% | 19.03%
BURBO BANK | Offshore_Wind | Generic | Generic | Generic | Actual | Actual | 0% | 0% | 0% | 16.78% | 25.02% | 30.44%
CARRAIG GHEAL | Onshore_Wind | Partial | Actual | Actual | Actual | Actual | 29.81% | 45.28% | 48.93% | 45.63% | 40.42% | 46.61%
CARRINGTON | CCGT_CHP | Generic | Generic | Generic | Partial | Actual | 0% | 0% | 0% | 38.73% | 58.01% | 46.65%
CLUNIE SCHEME | Hydro | Actual | Actual | Actual | Actual | Actual | 33.46% | 45.33% | 43.25% | 47.97% | 32.83% | 40.68%
CLYDE (NORTH) | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 28.53% | 42.66% | 36.89% | 41.41% | 26.89% | 35.61%
CLYDE (SOUTH) | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 31.61% | 39.89% | 29.41% | 39.96% | 34.88% | 35.46%
CONNAHS QUAY | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 18.51% | 12.82% | 18.37% | 28.27% | 37.46% | 21.72%
CONON CASCADE | Hydro | Actual | Actual | Actual | Actual | Actual | 47.53% | 54.28% | 55.53% | 58.99% | 48.68% | 52.83%
CORRIEGARTH | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 22.56% | 30.41%
CORRIEMOILLIE | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 32.23% | 33.64%
CORYTON | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 15.69% | 9.785% | 17.51% | 26.4% | 63.04% | 19.87%
COTTAM | Coal | Actual | Actual | Actual | Actual | Actual | 65.07% | 67.4% | 51.44% | 34.42% | 14.94% | 50.31%
COTTAM DEVELOPMENT CENTRE | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 13.74% | 16.02% | 31.31% | 28.24% | 67.25% | 25.19%
COUR | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 38.32% | 35.67%
COWES | Gas_Oil | Actual | Actual | Actual | Actual | Actual | 0.1743% | 0.0956% | 0.3135% | 0.4912% | 0.5319% | 0.3264%
CRUACHAN | Pumped_Storage | Actual | Actual | Actual | Actual | Actual | 8.428% | 9.697% | 9.052% | 8.867% | 7.191% | 8.782%
CRYSTAL RIG II | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 40.68% | 50.25% | 47.6% | 48.38% | 40.27% | 45.55%
CRYSTAL RIG III | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 39.95% | 36.21%
DAMHEAD CREEK | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 45.06% | 77.18% | 67.46% | 64.9% | 68.11% | 66.82%
DEESIDE | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 19.76% | 17.3% | 13.9% | 17.46% | 27.11% | 18.17%
DERSALLOCH | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 33.77% | 34.15%
DIDCOT B | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 49.01% | 18.66% | 25.53% | 41.14% | 50.14% | 38.56%
DIDCOT GTS | Gas_Oil | Actual | Actual | Actual | Actual | Actual | 0.072% | 0.0902% | 0.2843% | 0.4861% | 0.0452% | 0.1488%
DINORWIG | Pumped_Storage | Actual | Actual | Actual | Actual | Actual | 15.1% | 15.09% | 15.07% | 14.64% | 15.96% | 15.08%
DRAX | Coal | Actual | Actual | Actual | Actual | Actual | 82.48% | 80.52% | 82.21% | 76.2% | 62.27% | 79.64%
DUDGEON | Offshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 42.48% | 47.16%
DUNGENESS B | Nuclear | Actual | Actual | Actual | Actual | Actual | 59.83% | 61.01% | 54.69% | 70.76% | 79.34% | 63.87%
DUNLAW EXTENSION | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 32.38% | 34.82% | 30.08% | 29.12% | 26.55% | 30.53%
DUNMAGLASS | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 38.97% | 35.88%
EDINBANE WIND | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 29.39% | 39.48% | 31.25% | 35.59% | 32.5% | 33.11%
EGGBOROUGH | Coal | Actual | Actual | Actual | Actual | Partial | 72.69% | 72.18% | 45.74% | 27.02% | 39.77% | 63.54%
ERROCHTY | Hydro | Actual | Actual | Actual | Actual | Actual | 14.59% | 28.26% | 25.36% | 28.15% | 16.18% | 23.23%
EWE HILL | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 33.33% | 34%
FALLAGO | Onshore_Wind | Partial | Actual | Actual | Actual | Actual | 32.99% | 54.87% | 44.73% | 55.8% | 43.22% | 51.8%
FARR WINDFARM TOMATIN | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 34.01% | 44.72% | 38.57% | 41% | 34.18% | 37.91%
FASNAKYLE G1 & G3 | Hydro | Actual | Actual | Actual | Actual | Actual | 22.12% | 35.37% | 57.48% | 53.16% | 30.98% | 39.83%
FAWLEY CHP | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 61.14% | 63.36% | 72.85% | 57.7% | 63.2% | 62.57%
FFESTINIOGG | Pumped_Storage | Actual | Actual | Actual | Actual | Actual | 2.929% | 5.463% | 4.325% | 3.411% | 5.675% | 4.4%
FIDDLERS FERRY | Coal | Actual | Actual | Actual | Actual | Actual | 61.64% | 49.04% | 45.24% | 27.46% | 8.248% | 40.58%
FINLARIG | Hydro | Actual | Actual | Actual | Actual | Actual | 40.3% | 59.91% | 59.41% | 65.13% | 49.64% | 56.32%
FOYERS | Pumped_Storage | Actual | Actual | Actual | Actual | Actual | 13.48% | 14.71% | 12.3% | 15.43% | 11.3% | 13.5%
FREASDAIL | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 32.56% | 33.75%
GALAWHISTLE | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 34.98% | 34.55%
GARRY CASCADE | Hydro | Actual | Actual | Actual | Actual | Actual | 48.6% | 55.93% | 64.38% | 60.28% | 61.05% | 59.09%
GLANDFORD BRIGG | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 0.3336% | 1.567% | 0.5401% | 1.819% | 2.768% | 1.309%
GLEN APP | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 25.14% | 31.27%
GLENDOE | Hydro | Actual | Actual | Actual | Actual | Actual | 17.34% | 36.38% | 32.35% | 34.85% | 23.86% | 30.35%
GLENMORISTON | Hydro | Actual | Actual | Actual | Actual | Actual | 36.3% | 44.46% | 48.75% | 50.69% | 34.67% | 43.17%
GORDONBUSH | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 37.89% | 46.56% | 47.8% | 47.72% | 50.41% | 47.36%
GRAIN | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 25.46% | 41.38% | 44% | 39.79% | 53.82% | 41.73%
GRANGEMOUTH | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 52.86% | 55.9% | 62.62% | 59.83% | 51.46% | 56.2%
GREAT YARMOUTH | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 19.03% | 20.74% | 18.66% | 59.9% | 63.51% | 33.22%
GREATER GABBARD OFFSHORE WIND FARM | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 40.18% | 48.3% | 42.13% | 50.25% | 43.11% | 44.52%
GRIFFIN WIND | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 17.99% | 31.96% | 31.32% | 31.03% | 25.82% | 29.39%
GUNFLEET SANDS I | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 50.15% | 56.65% | 47.01% | 50.47% | 45.79% | 49.21%
GUNFLEET SANDS II | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 45.01% | 52.24% | 44.72% | 49.05% | 43.99% | 46.26%
GWYNT Y MOR | Offshore_Wind | Partial | Actual | Actual | Actual | Actual | 18.85% | 8.004% | 61.62% | 63.13% | 44.83% | 56.53%
HADYARD HILL | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 27.69% | 31.95% | 27.76% | 36.65% | 31.44% | 30.38%
HARESTANES | Onshore_Wind | Generic | Partial | Actual | Actual | Actual | 0% | 22.24% | 28.64% | 27.81% | 22.55% | 26.33%
HARTLEPOOL | Nuclear | Actual | Actual | Actual | Actual | Actual | 80.26% | 73.76% | 56.28% | 53.87% | 78.04% | 69.36%
HEYSHAM | Nuclear | Actual | Actual | Actual | Actual | Actual | 83.38% | 73.36% | 68.83% | 72.73% | 79.62% | 75.24%
HINKLEY POINT B | Nuclear | Actual | Actual | Actual | Actual | Actual | 61.76% | 68.87% | 70.14% | 67.64% | 71.23% | 68.88%
HUMBER GATEWAY OFFSHORE WIND FARM | Offshore_Wind | Generic | Generic | Generic | Actual | Actual | 0% | 0% | 0% | 62.96% | 59.72% | 57.4%
HUNTERSTON | Nuclear | Actual | Actual | Actual | Actual | Actual | 73.6% | 84.8% | 79.14% | 82.18% | 83.29% | 81.54%
IMMINGHAM | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 50.18% | 37.82% | 56.83% | 69.47% | 71.95% | 58.83%
INDIAN QUEENS | Gas_Oil | Actual | Actual | Actual | Actual | Actual | 0.3423% | 0.2321% | 0.0876% | 0.0723% | 0.0847% | 0.1348%
KEADBY | CCGT_CHP | Actual | Actual | Generic | Partial | Actual | 4.612% | 0.0001% | 0% | 35.19% | 28.61% | 11.07%
KILBRAUR | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 45.23% | 51.38% | 54.35% | 50.38% | 46.53% | 49.43%
KILGALLIOCH | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 25.27% | 31.32%
KILLIN CASCADE | Hydro | Actual | Actual | Actual | Actual | Actual | 32.34% | 45.54% | 44.82% | 53.23% | 27.5% | 40.9%
KILLINGHOLME (NP) | CCGT_CHP | Actual | Actual | Actual | Generic | Generic | 10.66% | 7.422% | 11.62% | 0% | 0% | 9.899%
KILLINGHOLME (POWERGEN) | Gas_Oil | Generic | Generic | Generic | Generic | Generic | 0% | 0% | 0% | 0% | 0% | 0%
KINGS LYNN A | CCGT_CHP | Actual | Actual | Actual | Generic | Generic | 0.0003% | 0% | 0% | 0% | 0% | 0.0001%
LANGAGE | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 41.91% | 40.87% | 34.86% | 16.53% | 44.54% | 39.22%
LINCS WIND FARM | Offshore_Wind | Partial | Actual | Actual | Actual | Actual | 20.32% | 46.6% | 43.82% | 49.13% | 44.52% | 46.75%
LITTLE BARFORD | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 16.38% | 33.63% | 49.66% | 39.98% | 64.86% | 41.09%
LOCHLUICHART | Onshore_Wind | Generic | Partial | Actual | Actual | Actual | 0% | 24.94% | 20.21% | 29.27% | 31.69% | 27.06%
LONDON ARRAY | Offshore_Wind | Partial | Actual | Actual | Actual | Actual | 38.95% | 51.27% | 64.09% | 66.87% | 53.62% | 61.53%
LYNEMOUTH | Coal | Generic | Generic | Generic | Partial | Generic | 0% | 0% | 0% | 68.02% | 0% | 58.69%
MARCHWOOD | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 43.35% | 48.68% | 66.4% | 55.09% | 75.42% | 56.72%
MARK HILL | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 30.17% | 30.29% | 26.79% | 34.02% | 21.97% | 29.08%
MEDWAY | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 1.072% | 14.55% | 28.1% | 34.18% | 35.15% | 25.61%
MILLENNIUM | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 42.13% | 52.66% | 53.26% | 48.4% | 44.98% | 48.68%
NANT | Hydro | Actual | Actual | Actual | Actual | Actual | 20.9% | 35.59% | 36.4% | 37.38% | 30.64% | 34.21%
ORMONDE | Offshore_Wind | Partial | Actual | Actual | Actual | Actual | 48.84% | 49.66% | 42.87% | 47.2% | 41.22% | 46.58%
PEMBROKE | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 61.54% | 60.39% | 67.53% | 64.56% | 77.65% | 64.55%
PEN Y CYMOEDD | Onshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 26.94% | 31.87%
PETERBOROUGH | CCGT_CHP | Actual | Actual | Actual | Partial | Actual | 0.9506% | 1.831% | 1.093% | 4.103% | 1.791% | 1.572%
PETERHEAD | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 31.38% | 41.88% | 0.4858% | 23.38% | 42.23% | 32.21%
RACE BANK | Offshore_Wind | Generic | Generic | Generic | Generic | Partial | 0% | 0% | 0% | 0% | 45.31% | 48.11%
RATCLIFFE-ON-SOAR | Coal | Actual | Actual | Actual | Actual | Actual | 66.75% | 71.74% | 56.18% | 19.68% | 15.47% | 47.53%
ROBIN RIGG EAST | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 37.42% | 46.76% | 55.32% | 51.97% | 50.51% | 49.75%
ROBIN RIGG WEST | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 38.23% | 48.06% | 53.41% | 56.09% | 51.54% | 51.01%
ROCKSAVAGE | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 41.48% | 2.615% | 4.425% | 19.81% | 58.68% | 21.9%
RYE HOUSE | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 10.72% | 7.47% | 5.37% | 7.791% | 15.65% | 8.66%
SALTEND | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 81.58% | 69.01% | 67.95% | 55.62% | 77.4% | 71.45%
SEABANK | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 15.23% | 18.28% | 25.7% | 27.21% | 41.68% | 23.73%
SELLAFIELD | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 14.05% | 25.02% | 18.97% | 28.68% | 19.86% | 21.28%
SEVERN POWER | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 27.8% | 32.42% | 24.64% | 18.32% | 64.42% | 28.28%
SHERINGHAM SHOAL | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 36.64% | 49.35% | 46.23% | 53.62% | 46.97% | 47.52%
SHOREHAM | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 0% | 20.75% | 10.22% | 48.95% | 68.99% | 26.64%
SIZEWELL B | Nuclear | Actual | Actual | Actual | Actual | Actual | 96.73% | 82.51% | 84.79% | 98.78% | 81.64% | 88.01%
SLOY G2 & G3 | Hydro | Actual | Actual | Actual | Actual | Actual | 9.125% | 14.35% | 15.59% | 13.94% | 8.178% | 12.47%
SOUTH HUMBER BANK | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 27.98% | 24.34% | 34.47% | 48.68% | 55.34% | 37.04%
SPALDING | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 34.7% | 33.48% | 39.31% | 47.94% | 60.97% | 40.65%
STAYTHORPE | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 54.41% | 37.62% | 56.61% | 69.44% | 65.78% | 58.94%
STRATHY NORTH & SOUTH | Onshore_Wind | Generic | Generic | Generic | Partial | Actual | 0% | 0% | 0% | 49.63% | 36.2% | 40.06%
SUTTON BRIDGE | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 20.17% | 9.412% | 17.2% | 13.2% | 38.02% | 16.86%
TAYLORS LANE | Gas_Oil | Actual | Actual | Actual | Actual | Actual | 0.2037% | 0.0483% | 0.064% | 0.1708% | 0.8047% | 0.1462%
THANET OFFSHORE WIND FARM | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 41.11% | 39.75% | 35.59% | 41.34% | 33.71% | 38.82%
TODDLEBURN | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 32.72% | 39.54% | 33.72% | 35.08% | 31.34% | 33.84%
TORNESS | Nuclear | Actual | Actual | Actual | Actual | Actual | 84.87% | 86.47% | 91.49% | 85.77% | 97.99% | 87.91%
USKMOUTH | Coal | Actual | Actual | Partial | Actual | Actual | 45.19% | 38.99% | 46.94% | 25.52% | 24.33% | 36.57%
WALNEY I | Offshore_Wind | Actual | Actual | Actual | Actual | Actual | 44.28% | 57.7% | 52.06% | 50.75% | 47.46% | 50.09%
WALNEY II | Offshore_Wind | Partial | Actual | Actual | Actual | Actual | 54.79% | 61.92% | 58.24% | 35.8% | 54.97% | 58.38%
WEST BURTON | Coal | Actual | Actual | Actual | Actual | Actual | 70.59% | 68.92% | 61.54% | 32.73% | 10.11% | 54.4%
WEST BURTON B | CCGT_CHP | Partial | Actual | Actual | Actual | Actual | 21.33% | 30.3% | 46.84% | 59.35% | 54.29% | 53.49%
WEST OF DUDDON SANDS OFFSHORE WIND FARM | Offshore_Wind | Generic | Partial | Actual | Actual | Actual | 0% | 40.44% | 40.05% | 48.75% | 48.77% | 45.86%
WESTERMOST ROUGH | Offshore_Wind | Generic | Generic | Partial | Actual | Actual | 0% | 0% | 26.29% | 54.8% | 58.11% | 46.4%
WHITELEE | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 28.23% | 35.11% | 29.81% | 31.88% | 27.29% | 29.97%
WHITELEE EXTENSION | Onshore_Wind | Actual | Actual | Actual | Actual | Actual | 12.41% | 27.01% | 27.78% | 26.77% | 23.53% | 25.77%
WILTON | CCGT_CHP | Actual | Actual | Actual | Actual | Actual | 3.426% | 4.494% | 21.59% | 16.14% | 14.41% | 11.68%

## T24
Table 24 - Generic Annual Load Factors |  | Return to Index
Technology | Generic ALF
Gas_Oil | 0.189%
Pumped_Storage | 10.44%
Tidal | 18.9%
Biomass | 26.88%
Wave | 31%
Onshore_Wind | 34.34%
CCGT_CHP | 43.21%
Hydro | 41.37%
Offshore_Wind | 49.51%
Coal | 54.02%
Nuclear | 76.4%

## T25
Table 25 - Generation Contracted TEC Changes |  |  |  | Return to Index
Power Station | Node | MW Change | Generation Zone
Blacklaw Extension | -9 | BLKX10 | 11
Cowes | 140 | FAWL40 | 26
Didcot B | -100 | DIDC40 | 25
Liberty Steel Dalzell | 18 | WISH10 | 11
Morlais | 120 | WYLF40 | 19
Neart Na Gaoithe Offshore Wind Farm | -450 | CRYR40 | 11
Beinn an Tuirc 3 | -50 | CAAD1Q | 7
Sizewell C | -1670 | SIZE40 | 18

## T26
Table 26 - Indicative National Grid Revenue Forecast | [7 empty] | Return to Index
Description | [7 empty] | Notes
Regulatory Year |  | Licence Term | 2018/19 (fixed forecast) | Initial Forecast | April Forecast | June Forecast | Nov Draft
Actual RPI | [7 empty] | April to March average
RPI Actual |  | RPIAt | [5 empty] | Office of National Statistics
Assumed Interest Rate |  | It | 0.705% | 0.5625% | 1.16% | 1.16% |  | Bank of England Base Rate
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 1587.627 | 1585.228 | 1585.228 | 1585.228 |  | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | -310.2408 | -334 | -334 | -334 |  | Forecast
RPI True Up | A3 | TRUt | -6.0846 | 3.2656 | 3.2656 | 3.2656 |  | Forecast
Prior Calendar Year RPI Forecast |  | GRPIFc-1 | 3.6% | 3.5% | 3.5% | 3.5% |  | HM Treasury Forecast
Current Calendar Year RPI Forecast |  | GRPIFc | 3.4% | 3% | 3% | 3% |  | HM Treasury Forecast
Next Calendar Year RPI forecast |  | GRPIFc+1 | 3.1% | 3% | 3% | 3% |  | HM Treasury Forecast
RPI Forecast | A4 | RPIFt | 1.314 | 1.357 | 1.357 | 1.357 |  | Using HM Treasury Forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 1670.4903 | 1702.3479 | 1702.3479 | 1702.3479
Pass-Through Business Rates | B1 | RBt | 1.563 | 35.1253 | 0.00038305 | 0.00038305 |  | Forecast
Temporary Physical Disconnection | B2 | TPDt | 0.70843 | 0 | 0 | 0 |  | Forecast
Licence Fee | B3 | LFt | -0.37664 | 4.5405 | 0 | 0 |  | Forecast
Inter TSO Compensation | B4 | ITCt | 1.3448 | 0.76609 | 0 | 0 |  | Forecast
Termination of Bilateral Connection Agreements | B5 | TERMt | 0 | 0 | 0 | 0 |  | Forecast
SP Transmission Pass-Through | B6 | TSPt | 349.9609 | 389.9761 | 389.9621 | 389.9621 |  | Forecast
SHE Transmission Pass-Through | B7 | TSHt | 366.411 | 349.3868 | 349.3868 | 349.3868 |  | Forecast
Offshore Transmission Pass-Through | B8 | TOFTOt | 318.1438 | 459.8616 | 386.4788 | 387.4399 |  | Forecast
Embedded Offshore Pass-Through | B9 | OFETt | 0.54982 | 0.56739 | 0.56781 | 0.56781 |  | Forecast
Interconnectors Cap&Floor Revenue Adjustment | B10 | TICFt | -6.8 |  | -6.8 | -6.8 |  | Forecast
Pass-Through Items [B=B1+B2+B3+B4+B5+B6+B7+B8+B9+B10] | B | PTt | 1031.5051 | 1240.2239 | 1119.5959 | 1120.557
Reliability Incentive Adjustment | C1 | RIt | 4.1358 | 4.2415 | 4.2415 | 4.2415 |  | Forecast
Stakeholder Satisfaction Adjustment | C2 | SSOt | 9.2764 | 8.5833 | 8.617 | 8.617 |  | Forecast
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 1.4341 | 1.623 | 1.623 | 1.623 |  | Forecast
Outputs Incentive Revenue [C=C1+C2+C3+C4] | C | OIPt | 14.8463 | 14.4478 | 14.4815 | 14.4815
Network Innovation Allowance | D | NIAt | 10.5241 | 10.7248 | 10.7248 | 10.7248 |  | Forecast
Network Innovation Competition | E | NICFt | 32.6644 | 40.5 | 32.6644 | 32.6644 |  | Forecast
Future Environmental Discretionary Rewards | F | EDRt | 0 | 2 | 0 | 0 |  | Forecast
Transmission Investment for Renewable Generation | G | TIRGt | 0 | 0 | 0 | 0 |  | Forecast
Scottish Site Specific Adjustment | H | DISt | 6.648 | 0 | 0 | 0 |  | Forecast
Scottish Terminations Adjustment | I | TSt | 3.071 | 0 | 0 | 0 |  | Forecast
Correction Factor | K | -Kt | -55.4511 | 0 | 0 | 42.4966 |  | Calculated by Licensee
Maximum Revenue [M= A+B+C+D+E+F+G+H+I+K] | M | TOt | 2714.298 | 3010.2443 | 2879.8145 | 2923.2722
Pre-vesting connection charges | P |  | 44.0024 | 41.8826 | 44.0024 | 44.0024 |  | Forecast
TNUoS Collected Revenue [T=M-B5-P] | T |  | 2670.2956 | 2968.3617 | 2835.8121 | 2879.2698
Notes:

## T27
Table 27 - Offshore Revenues | [6 empty] | Return to Index
Offshore Transmission Revenue Forecast (£m) | 2018-04-23
Notes
Regulatory Year | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20
Barrow | 5.4759 | 5.6051 | 5.6563 | 5.8725 | 6.2501 | 6.1695 | Current revenues plus indexation
Gunfleet | 6.8532 | 7.0145 | 7.0806 | 7.4324 | 7.8018 | 7.7205 | Current revenues plus indexation
Walney 1 | 12.4911 | 12.7864 | 12.9018 | 13.1361 | 13.6072 | 14.0691 | Current revenues plus indexation
Robin Rigg | 7.7095 | 7.8914 | 7.9933 | 8.3673 | 8.7489 | 8.6886 | Current revenues plus indexation
Walney 2 | 12.927 | 13.2322 | 12.5159 | 12.2993 | 16.3258 | 14.5648 | Current revenues plus indexation
Sheringham Shoal | 18.9241 | 19.4989 | 19.7277 | 20.0253 | 20.7428 | 21.4478 | Current revenues plus indexation
Ormonde | 11.5705 | 11.8431 | 11.9522 | 12.156 | 12.5937 | 13.0222 | Current revenues plus indexation
Greater Gabbard | 25.9995 | 26.6193 | 26.8714 | 27.3092 | 28.3876 | 29.3198 | Current revenues plus indexation
London Array | 37.573 | 39.2121 | 39.4987 | 39.5189 | 41.7726 | 41.353 | Current revenues plus indexation
Thanet | 78.8567 | 17.5171 | 15.6998 | 19.5122 | 18.6232 | 19.1786 | Current revenues plus indexation
Lincs |  | 25.5634 | 26.687 | 27.1881 | 28.1694 | 27.7174 | Current revenues plus indexation
Gwynt y mor |  | 26.2836 | 23.6461 | 29.3429 | 32.7308 | 28.9931 | Current revenues plus indexation
West of Duddon Sands |  | 35.29 | 21.2739 | 22.0454 | 22.5727 | 23.2894 | Current revenues plus indexation
Humber Gateway |  |  | 29.2845 | 9.7499 | 12.1454 | 12.0473 | Current revenues plus indexation
Westermost Rough | 2017/18: 11.5767; 2018/19: 13.1973; 2019/20: 13.4829 | Current revenues plus indexation
Burbo Bank | 2018/19: 34.2759; 2019/20: 57.4291 | National Grid Forecast
Dudgeon | [6 empty] | National Grid Forecast
Race Bank | [6 empty] | National Grid Forecast
Forecast to asset transfer to OFTO in 2019/20 | 2019/20: 48.9467 | National Grid Forecast
Offshore Transmission Pass-Through (B7) | 218.3804 | 248.357 | 260.7893 | 265.5323 | 317.945 | 387.4399
Notes:
Figures for historic years represent National Grid's forecast of OFTO revenues at the time final tariffs were calculated for each charging year rather than our current best view.
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of OFTO Maximum Revenue