Electricity Balancing System Working Group Meeting 1

Proposed discussion items

Grid Code Balancing Code data

| Ref | Description of Change | Origin of change |
| --- | --- | --- |
| a | Increase the maximum number of Run-up and Run-down Rates to ten | Consultation 1: InterGen Consultation 2: Centrica, EdF, E.ON, SSE, SP, Seabank |
| b | Reduce the minimum value of Run-up and Run-down Rates to 0.02MW/min | Consultation 2: Centrica, EdF, SSE, SP, Seabank |
| c | Run-down rate(s) (Special Actions) for use in the formulation of Emergency Instructions | GCRP 17/2/11 |
| d | Time-varying Stable Export and Import Limits (SEL/SIL) | Consultation 2: Centrica, EdF, E.ON, FHC, RWE, SSE, SP |
| e | Time-varying / future submission of Dynamic Parameters | Consultation 2: EdF, E.ON, RWE |
| f | Remove requirement under BC1.4.2(e) to submit Dynamic Parameters (Day Ahead). Maintain capability via current interfaces for this data to be submitted so as to not force IT changes on market participants. | National Grid |
| g | Remove upper limits on those Dynamic Parameters expressed in units of time | Consultation 2: EdF |
| h | Other Relevant Data i.e. Station Synchronising Interval, Station De-Synchronising Interval, minimum notice required to cancel a Synchronisation & Two Shifting Limit | GRCP 31/3/11 (TSL) |
| i | Multi-shaft BMU modelling | Consultation 1: RWE, InterGen, SSE Consultation 2: Centrica, E.ON, SSE, Seabank |
| j | Instructions to change Target Frequency | Consultation 1: E.ON |
| k | Submission of availability of Frequency Response | Consultation 1: E.ON |
| l | Simultaneous Tap Instructions | GCRP 17/2/11: SSE |
| m | Submission of revised MVAr capability | Consultation 1: E.ON |

Grid Code other data

| Ref | Description of Change | Origin of change |
| --- | --- | --- |
| n | System Warnings etc. via EBS | Consultation 2: FHC |

Ancillary Services / CUSC data

| Ref | Description of Change | Origin of change |
| --- | --- | --- |
| o | Move from faxes to electronic submissions for STOR data | Consultation 2: E.ON |
| p | Move from faxes to electronic submissions for Black Start availability | Consultation 2: E.ON |
| q | Maximum Generation data | National Grid |