# Grid Code Industry Consultation Response Proforma

GC0068 Grid Code New & Revised Unit Data & Instructions

Industry parties are invited to respond to this consultation expressing their views and supplying the rationale for those views, particularly in respect of any specific questions detailed below.

Please send your responses by 3 December 2013 to Grid.Code@nationalgrid.com.  Please note that any responses received after the deadline or sent to a different email address may not receive due consideration.

These responses will be included in the Report to the Authority which is drafted by National Grid and submitted to the Authority for a decision.

| Respondent: | Please insert your name and contact details (phone number or email address) |
| --- | --- |
| Company Name: | Please insert Company Name |
| Industry Consultation Questions: |  |
| Should you disagree with any of the proposed changes please provide reasoning and alternative solutions. |  |
| 1. Do you support introducing definitions for existing terms of Automatic Logging Device and Electronic Data Communication Facilities and associated sub-terms? |  |
| 2. Do you support the removal of Day Ahead Dynamic Parameters from the Grid Code? |  |
| 3. Are you in favour of moving the definition of Dynamic Parameters from BC1 to BC2? |  |
| 4. Do you support the proposed approach of maintaining parallel sections of text pertaining to existing and new industry interfaces? |  |
| 5. Are you in favour of increasing the maximum number of Run-Up and Run-Down rates from 3 to 10 and reducing the minimum rate from 0.2MW/min to 0.02MW/min? |  |
| 6. Are you in favour of introducing time-varying MW profiles for Stable Export and Stable Import Limits? |  |
| 7. Do you agree with the amendments to the description of Tap Changes in BC2.A.2.7 (Reactive Power)? |  |
| 8. Do you agree with the proposals to detail the arrangements that shall apply when deviating from zero? |  |
| 9. Does changing the column heading from Lead and Lag to Minimum and Maximum and indicating lag capability by a positive sign and lead by a negative sign remove ambiguity e.g. when the unit or module has no capability in the lagging range? |  |
| 10. Do you agree with removing the section on generating unit step-up transformer tap restrictions and instead incorporating any factors in the minimum and maximum MVAr capability data? |  |
| 11. For the fax form that applies to Generating Units excluding Power Park Modules and DC Converters, do you agree with removing the optional section on capability at the commercial boundary? |  |
| 12. On the fax form for Power Park Modules and DC Converters, do you agree with replacing all the various alternatives for the location at which the reactive power capability is specified with the Commercial Boundary? |  |
| 13. Do you have any drafting comments on the changes to the Reactive Capability fax forms? |  |
| 14. Do you agree that the frequency sensitive mode fax form should support submissions of availability on a per contract mode basis, in addition to all contract modes? |  |
| 15. Do you have any drafting comments on the changes to the Frequency Sensitive Mode fax form? |  |
| 16. Do you support the proposed implementation approach? |  |
| 17. Do you agree with the proposed timescales for implementation of the Grid Code changes? |  |
| 18. Do you support the changes described in this consultation? |  |
| 19. Do you have any drafting comments on the legal text? |  |
| 20. Do you believe that GC0068 better facilitates the applicable Grid Code objectives (i), (ii) and (iii)? | For reference the applicable Grid Code objectives are: (i) to permit the development, maintenance and operation of an efficient, coordinated and economical system for the transmission of electricity; (ii) to facilitate competition in the generation and supply of electricity (and without limiting the foregoing, to facilitate the national electricity transmission system being made available to persons authorised to supply or generate electricity on terms which neither prevent nor restrict competition in the supply or generation of electricity); (iii) subject to sub-paragraphs (i) and (ii), to promote the security and efficiency of the electricity generation, transmission and distribution systems in the national electricity transmission system operator area taken as a whole; and (iv) to efficiently discharge the obligations imposed upon the licencee by this licence and to comply with the Electricity Regulation and any relevant legally binding decisions of the European Commission and/or the Agency. |
| Question Related to Informal Consultation on changes to Associated Grid Code Document ‘Data Validation, Consistency & Defaulting Rules’ |  |
| Do you agree with the proposed changes detailed in the ‘Consultation on Changes to “Data Validation, Consistency and Defaulting Rules” Document’? |  |