|  |  |
| --- | --- |
| **Alternative Request Proposal Form** | At what stage is this document in the process? |
| Modification potential alternative submitted to: *(complete modification number this alternative is being submitted to)*  GC0107/0113:  Mod Title: The open, transparent, non-discriminatory and timely publication of the generic and/ or Power Generating Module specific values required to be specified by the relevant TSO(s) and / or relevant system operator et al., in accordance with the Requirements for Generators (GC107) and Demand Connection Conditions (GC113) | 01  Proposed Alternative  02  Proposed Workgroup  Alternative |
| **Purpose of Alternative:** This alternative is to limit the application of the modification to CUSC parties. Analysis undertaken in the workgroup (for generation) has shown that for DNO connected customers (without CUSC or other NGESO bilateral contracts) the range of such parameters is limited and of uncertain (and likely low value) to stakeholder in general. | |
| ***Date submitted to Code Administrator: 27 June 2019***  ***You are: A Workgroup member***  ***Workgroup vote outcome: Formal alternative/not alternative***  *(Should your potential alternative become a formal alternative it will be allocated a reference)* | |

***Guidance on the use of this Template:*** *Please complete all sections unless specifically marked for the* ***Code Administrator.*** *Green italic text is provided as guidance and should be removed before submission. Contact us:* ***The Code Administrator is available to help and support the drafting of any Alternative modifications, including guidance on completion of this template and the wider modification process. If you require any advice on how to fill in this form please contact the Panel Secretary e-mail:*** [grid.code@nationalgrid.com](mailto:grid.code@nationalgrid.com)

|  |  |
| --- | --- |
| Contents  1 Alternative proposed solution for workgroup review 2  2 Difference between this proposal and Original 2  3 Justification for alternative proposal against Grid Code objectives 3  4 Impacts and Other Considerations 4  5 Implementation 4  6 Legal Text 4 | **Any questions?** |
| Contact:  **Code Administrator** |
| **Description: Description: email_us_go_onlineemail address** |
| **Description: Description: call_ustelephone** |
| **Alternative Proposer(s):**  **Mike Kay** |
| **Description: Description: email_us_go_onlinemikekay@p2analysis.co.uk** |
| **Description: Description: call_us telephone** |
|
|
|
|
|
|

# Alternative proposed solution for workgroup review

***Mandatory for the Alternative Proposer to complete*** *Please outline your proposed alternative to the modification defect outlined within the Original Proposal*

The original proposal envisages that it will be applied to all generation in GB. At the time the modification was formulated, NG and the DNOs had not published the revised Grid Code and G99. Now that G99 has been published, all the data that stakeholders need is contained therein. The active DER Technical Forum meetings that the ENA is running is proving to be an effective way for stakeholders to understand the range etc of values in G99.

Also for distribution connected customers there are very few site specific values to be agreed that do not already fall within the ranges established in the D Code, and G99. The administration overhead in tracking these and determining if they need to be published etc is not trivial; the value in publishing any non-standard values etc has not been sufficiently demonstrated to justify the administration.

# Difference between this proposal and Original

***Mandatory for the Alternative Proposer to complete.*** *Please provide as much information as possible as to why this proposed solution is different to the Original solution proposed*

This alternative would restrict the application of the modification to those parties with a CUSC contract or other NGESO bilateral contracts.

# Justification for alternative proposal against Grid Code objectives

***Mandatory for the Alternative Proposer to complete.*** Please delete the Grid Code Objectives that are not applicable.

|  |  |
| --- | --- |
| Impact of the modification on the Applicable Grid Code Objectives: | |
| Relevant Objective | Identified impact |
| (a) To permit the development, maintenance and operation of an efficient, coordinated and economical system for the transmission of electricity | Neutral |
| (b) Facilitating effective competition in the generation and supply of electricity (and without limiting the foregoing, to facilitate the national electricity transmission system being made available to persons authorised to supply or generate electricity on terms which neither prevent nor restrict competition in the supply or generation of electricity); | Neutral |
| (c) Subject to sub-paragraphs (i) and (ii), to promote the security and efficiency of the electricity generation, transmission and distribution systems in the national electricity transmission system operator area taken as a whole; | Neutral |
| (d) To efficiently discharge the obligations imposed upon the licensee by this license and to comply with the Electricity Regulation and any relevant legally binding decisions of the European Commission and/or the Agency; and | Positive |
| (e) To promote efficiency in the implementation and administration of the Grid Code arrangements | Positive |

This alternative would exclude distribution connected parties (those without a CUSC or other NG ESO bilateral contract) from the scope of the modification.

# Impacts and Other Considerations

There are no impacts on other codes or parties envisaged in this alternative.

Implementation

This alternative would be implemented in an identical manner to the original, save there would be obligation on DNOs.

# Legal Text

In this version OC3 text is the same as WAGCM1, but the template does not include information relating to Distribution connected generation.

**OPERATING CODE NO. 3**

**(OC3)**

**POWER GENERATING MODULES – GENERIC AND SPECIFIC VALUES**

**CONTENTS**

(This contents page does not form part of the Grid Code)

OC3.1 INTRODUCTION

OC3.1.1 Operating Code No.3 ("OC3") is concerned with those settings or requirements that are either set within the Grid Code or can be defined bilaterally within a connection agreement and which stem from the requirements written into the Grid Code to comply with **European Regulation (EU) 2016/631** ‘Requirements for Generators’.

OC3.1.2 **The Company** is required to record such settings or requirements as they are made and c maintain a publicly accessible register of these.

OC3.2 OBJECTIVE

The objectives of OC3 are:

1. to enable the collection of data on bilaterally agreed settings and requirements made in connection agreements; and
2. to set out the mechanisms for the public accessibility and maintenance of such data.

OC3.3 SCOPE

OC3 applies to **The Company**

OC3.4 RECORDING AND COMMUNICATION OF DEFINED OR BILATERALLY AGREED SETTINGS

OC3.4.1 **The Company** shall maintain on its website a fully completed and publicly accessible report of settings and requirements of general application derived from **European Regulation (EU) 2016/631** ‘Requirements for Generators’ together with any of these settings or requirements as set specifically for a **Power Station** and agreed bilaterally with **The Company**, and will update this as described in OC3.4.2 to OC3.4.5.

OC3.4.2 In respect of any bilateral agreement for connection entered into, or substantially modified (as the case may be), and in relation an **EU Code** **User** relating to the connection of any Types A, B, C or D **Power Generating Module** after 27 April 2019 to the **System**, **The Company** will record those settings or requirements set out in OC3 Schedule 1 concerning the specification or performance of such **Main Plant and Apparatus**, contained in the body or appendices of such a bilateral agreement.

OC3.4.3 **The Company** will assess each of the settings or requirements in OC3 Schedule 1 for each of the bilateral agreements within the scope of OC3.4.2 and, where there are four or more equal settings or requirements, update the relevant part of OC3 Schedule 1. The relevant part of OC3 Schedule 1 updated by **The Company** should be submitted to **The Company** in the timescales set out in OC3.4.4. Where there are less than four equal settings or requirements, **The Company** should retain such data for submission to the **Authority** upon its request, and so that it can be used in future assessments of the number of equal settings or requirements.

OC3.4.4 Following the initial publication of the report described in OC3.4.1, which shall be within 3 months of [the implementation date], where any settings or requirements are to be added or updated in accordance with OC3.4 by **The Company** shall update these settings or requirements, and submit these upon request to the **Authority**, within no more than 5 business days of a new or substantially modified bilateral agreement, falling within the scope of OC3, being entered into.