## Market Suspension Rules
ADDITIONAL MAPPING PROVIDED FOR ARTICLE 35(1) AND 36(4) OF THE EMERGENCY AND RESTORATION EU CODE
A.35(1) - A TSO may temporarily suspend one or more market activities laid down in paragraph 2 where:
|  |  | (a) the transmission system of the TSO is in blackout state | (b) The TSO has exhausted all options provided by the market and the continuation of market activities under the emergency state would deteriorate one or more of the conditions referred to in Article 18(3) | (c) The continuation of market activities would decrease significantly the effectiveness of the restoration process to the normal or alert state, or; | (d) Tools and communication means necessary for the TSOs to facilitate market activities are not available.
| A.36(4) - When developing the rules for suspension and restoration of market activities, each TSO shall convert the situations referred to in Article 35(1) into objectively defined parameters taking into account the following factors: | (a) the percentage of load disconnection in the LFC area of the TSO corresponding to: (i) the inability of a significant share of balancing responsible parties to maintain their balance; or (ii) the necessity for the TSO not to fllow the usual balancing processes to perform an efficient re-energisation | Assumed all in the event of Total Shutdown or where more than 50% of National Demand has been lost. In the case of a Partial Shutdown - all or more than 50% of demand has been lost in the islanded part of the network. Rules for Total Blackout apply. | OC7.4.8.4 - System Warnings Emergency Instructions issued under BC2.9 OC6.5 - Implementaiton of Demand Control of upto 20% OC6.7 - Implemetentation of Emergecny Manual disconneciton over a 5 - 30 minute period The requirements of SOGL Article 18(3) are defined in Section 2.1.1 of the System Defence Plan*.- See Note 1 below. Note also the parameters required under the SQSS New parameters for Article 35.1.b are required for emergency state as proposed in intermediate methodology. | BSC G3.1.5 OC9.4.6 BC2.9 | BC2.9.7 Processes to be adopted during Unplanned outages of Electronic Data Communication Facilities BSC Section Q1/Q8, P5 for non black-start related BM outages New BSC rules required for suspending TERRE bids
|  | (b) the percentage of generation disconnection in the LFC area of the TSO corresponding to the inability of a significant share of balancing responsible parties to maintain their balance | OC9.4, BSC G3.1.3 System is in a Blackout State or Partial Blackout State. This would be a condition where more than 50% of Demand has been lost. Rules for Total Blackout apply. | OC7.4.8.4 - System Warnings Emergency Instructions issued under BC2.9 OC6.5 - Implementaiton of Demand Control of upto 20% OC6.7 - Implemetentation of Emergecny Manual disconneciton over a 5 - 30 minute period The requirements of SOGL Article 18(3) are defined in Section 2.1.1 of the System Defence Plan*.- See Note 1 below. Note also the parameters required under the SQSS New parameters for Article 35.1.b are required for emergency state as proposed in intermediate methodology. | BSC G3.1.5 OC9.4.6 BC2.9 | BC2.9.7 Processes to be adopted during Unplanned outages of Electronic Data Communication Facilities BSC Section Q1/Q8, P5 for non black-start related BM outages. New BSC rules required for suspending TERRE bids
|  | (c) the share and geographic distribution of unavailable transmission system elements corresponding to: (i) the desynchronisation of a significant part of the LFC area rendering the usual balancing processes counterproductive; or (ii) the reduction to zero of cross zonal capacity on a bidding zone border(s) | Assumed all - Total Shutdown where more than 50% of Demand has been lost or a Partial System Shutdown where an isolated section of the Transmission System has shutdown in which case more than 50% demand has been lost in that isolated area. Rules for Total Blackout apply. | OC7.4.8.4 - System Warnings Emergency Instructions issued under BC2.9 OC6.5 - Implementaiton of Demand Control of upto 20% OC6.7 - Implemetentation of Emergecny Manual disconneciton over a 5 - 30 minute period The requirements of SOGL Article 18(3) are defined in Section 2.1.1 of the System Defence Plan*.- See Note 1 below. Note also the paramters required under the SQSS New parameters for Article 35.1.b are required for emergency state as proposed in intermediate methodology. | BSC G3.1.5 OC9.4.6 BC2.9 | BC2.9.7 Processes to be adopted during Unplanned outages of Electronic Data Communication Facilities BSC Section Q1/Q8, P5 for non black-start related BM outages New BSC rules required for suspending TERRE bids
|  | (d) the inability of the following entities to execute market activities for reason(s) outside their control: (i) balance responsible parties (ii) balancing service providers (iii) NEMOs and other entities executing market functions pursuant to Reg 2015/1222 (iv) transmission connected DSOs | Assumed all - Total Shutdown where more than 50% of Demand has been lost or a Partial System Shutdown where an isolated section of the Transmission System has shutdown in which case more than 50% demand has been lost in that isolated area. Rules for Total Blackout apply. | The Market has been suspended | The market has been suspended | Failure of Electonic Data Communicaiton Facilities as per BC2.9.7 BSC Section Q1/Q8, P5 for non black-start related BM outages New BSC rules required for suspending TERRE bids
|  | (e) the absence of properly functioning tools and communication means necessary to perform: (i) the single day-ahead of intraday coupling or any explicity capacity allocation mechanism (ii) the frequency restoration process (iii) the reserve replacement process (iv) the provision by balance responsible party of a balanced position in day ahead and the provision of change of its position (v) the provision of schedules referred to in Art.111(1) and (2) of Reg 2017/1485 | Assumed all - Total Shutdown where more than 50% of Demand has been lost or a Partial System Shutdown where an isolated section of the Transmission System has shutdown in which case more than 50% demand has been lost in that isolated area. Rules for Total Blackout apply. | Failure of Electonic Data Communicaiton Facilities | Failure of Electonic Data Communicaiton Facilities | Failure of Electonic Data Communicaiton Facilities as per BC2.9.7 BSC Section Q1/Q8, P5 for non black-start related BM outages New BSC rules required for suspending TERRE bids
| A.36(5) - The rules for suspension and restoration of market activities shall define a time delay to be respected for each parameter defined pursuant to paragraph 4, prior to starting the procedure for suspension of market activities. |  | Instantaneous - Total or Partial Shutdown | The Market Suspension Threshold has been met in accordacne wth G3.1.5 of the BSC | BSC G3.1.5 | Failure of Electonic Data Communicaiton Facilities as per BC2.9.7 BSC Section Q1/Q8, P5 for non black-start related BM outages New BSC rules required for suspending TERRE bids
|  | Note 1 - This System Defence Plan contains procedures and automatic actions available to the NGESO to prevent the occurrence of an Emergency or manage the System when it is in an Emergency state. Under, SOGL Article 18(3), a Transmission System shall be in an Emergency State when operational security analysis requires activation of one of the following measures:-:- |  | If after issuing system warnings and emergency instructions the system does not change from emergency state to normal state the TSO may temporarily suspend market activities. NGESO does not intend on suspending the market until the market suspension threshold is reached or a total shutdown is declared in accordance with setion G3 of the BSC and OC9 of the Grid Code. |  | If managing the the loss of tools and communication means necessary for NGESO to facilitate the market activities in accordance with BC2.9.7 cause the system to move from normal state to emergency state, NGESO will determine whether to temporarily suspend market activities. NGESO does not intend on suspending the market until the market suspension threshold is reached or a total shutdown is declared in accordance with setion G3 of the BSC and OC9 of the Grid Code.
The reserve capacity in the GB Synchronous Area is reduced by more than 20% for longer than 30 minutes and there is no mechanism to recover the deficit in reserve capacity; or
A situation when Unacceptable Frequency Conditions as defined under the National Electricity Transmission System Security and Quality of Supply Standard (NETS SQSS) have occurred; or
An event which leads to a violation of the security limits even with remedial actions.