## Interconnector Reg at 09-07-24
Project Name | Customer Name | Connection Site | Stage | MW Import - Current | MW Export - Current | MW Import - Increase / Decrease | MW Export - Increase / Decrease | MW Import - Total | MW Export - Total | MW Effective From | Project Status | HOST TO | Project Number
Aminth | AMINTH ENERGY LTD | Mablethorpe 400kV Substation |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2031-11-30 | Scoping | NGET | PRO-000980
Aquind Interconnector | AQUIND LIMITED | Lovedean 400kV Substation |  | 0 | 0 | 2000 | 2075 | 2000 | 2075 | 2027-06-30 | Awaiting Consents | NGET | PRO-000285
Auchencrosh (interconnector CCT) | MOYLE INTERCONNECTOR LIMITED* | Auchencrosh 275kV Substation | 1 | 270 | 500 | 205 | 0 | 475 | 500 | 2022-04-01 | Built | SPT | PRO-001292-1
Auchencrosh (interconnector CCT) | MOYLE INTERCONNECTOR LIMITED* | Auchencrosh 275kV Substation | 2 | 475 | 500 | 25 | 0 | 500 | 500 | 2022-08-01 | Built | SPT | PRO-001292-2
Britned | BRITNED DEVELOPMENT LIMITED | Grain 400kV Substation |  | 1200 | 1200 | 0 | 0 | 1200 | 1200 |  | Built | NGET | PRO-000280
Continental Link | NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Creyke Beck 400kV Substation |  | 0 | 0 | 1800 | 1800 | 1800 | 1800 | 2027-09-01 | Scoping | NGET | PRO-000977
Cronos | CRONOS ENERGY LTD | Kemsley 400kV Substation |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2029-10-31 | Scoping | NGET | PRO-000984
East West Interconnector | EIRGRID INTERCONNECTOR DESIGNATED ACTIVITY COMPANY | Deeside 400kV Substation |  | 505 | 585 | 0 | 0 | 505 | 585 |  | Built | NGET | PRO-000284
ElecLink | ELECLINK LIMITED | Sellindge 400kV Substation |  | 1000 | 1050 | 0 | 0 | 1000 | 1050 |  | Built | NGET | PRO-000286
FAB Link Interconnector | FAB LINK LIMITED | Exeter 400kV Substation |  | 0 | 0 | 1250 | 1310 | 1250 | 1310 | 2027-10-01 | Awaiting Consents | NGET | PRO-000281
Greenlink | GREENLINK INTERCONNECTOR LIMITED | Pembroke 400kV Substation |  | 0 | 0 | 504 | 524 | 504 | 524 | 2024-06-01 | Consents Approved | NGET | PRO-000279
Gridlink Interconnector | GRIDLINK INTERCONNECTOR LIMITED | Kingsnorth 400kV Substation |  | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 2029-03-31 | Scoping | NGET | PRO-000287
IFA Interconnector | NATIONAL GRID INTERCONNECTORS LIMITED | Sellindge 400kV Substation |  | 1988 | 1988 | 0 | 0 | 1988 | 1988 |  | Built | NGET | PRO-000282
IFA2 Interconnector | NATIONAL GRID IFA 2 LIMITED | Chilling 400kV Substation |  | 1100 | 1150 | 0 | 0 | 1100 | 1150 |  | Built | NGET | PRO-000283
Isle of Man Interconnector | MANX UTILITIES | Bispham 132kV Substation |  | 74 | 74 | 0 | 0 | 74 | 74 |  | Built | NGET | PRO-001291
Kulizumboo Interconnector | KULIZUMBOO LIMITED | Canterbury North 400kV Substation |  | 0 | 0 | 700 | 700 | 700 | 700 | 2027-10-31 | Scoping | NGET | PRO-001290
LionLink (EuroLink) | NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Friston 400kV Substation |  | 0 | 0 | 1600 | 1600 | 1600 | 1600 | 2024-10-30 | Scoping | NGET | PRO-000983
LIRIC Interconnector | TI LIRIC Limited | Kilmarnock South GSP |  | 0 | 0 | 730 | 700 | 730 | 700 | 2028-10-01 | Scoping | SPT | PRO-001454
Low Carbon Link | LOW CARBON SOLAR PARK 39 LIMITED | Pembroke GSP |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2037-10-31 | Scoping | NGET | PRO-004262
MARES | MARESCONNECT LIMITED | Bodelwyddan 400kV Substation |  | 0 | 0 | 750 | 750 | 750 | 750 | 2028-11-30 | Awaiting Consents | NGET | PRO-000978
Nautilus | NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Leiston 400kV Substation |  | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 2027-09-30 | Scoping | NGET | PRO-000982
Nemo Link | NEMO LINK LIMITED | Richborough 400kV Substation |  | 1020 | 1046 | 0 | 0 | 1020 | 1046 |  | Built | NGET | PRO-000974
NeuConnect Interconnector | NEUCONNECT BRITAIN LTD | Grain West 400kV Substation |  | 0 | 0 | 1400 | 1470 | 1400 | 1470 | 2026-08-01 | Under Construction/Commissioning | NGET | PRO-001288
NorthConnect | NORTHCONNECT LIMITED | Peterhead GSP |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2027-06-30 | Scoping | SHET | PRO-001285
NS Link | NATIONAL GRID NORTH SEA LINK LIMITED | Blyth GSP |  | 1400 | 1480 | 0 | 0 | 1400 | 1480 |  | Built | NGET | PRO-000975
SENECA | FRONTIER POWER INTERNATIONAL LIMITED | Mablethorpe 400kV Substation |  | 0 | 0 | 1200 | 1254 | 1200 | 1254 | 2031-11-30 | Scoping | NGET | PRO-000981
Southernlink | NATIONAL GRID INTERCONNECTOR HOLDINGS LIMITED | Grain 400kV Substation |  | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 2029-10-31 | Scoping | NGET | PRO-000976
Tarchon | TARCHON ENERGY LIMITED | East Anglia Connection Node 400kV Substation |  | 0 | 0 | 1400 | 1400 | 1400 | 1400 | 2030-10-31 | Scoping | NGET | PRO-001289
The Superconnection | ASC ENERGY LIMITED | Creyke Beck 400kV Substation |  | 0 | 0 | 1000 | 1000 | 1000 | 1000 | 2027-09-01 | Scoping | NGET | PRO-001284
Viking Link Denmark Interconnector | NATIONAL GRID VIKING LINK LIMITED | Bicker Fen 400kV Substation |  | 0 | 0 | 1500 | 1500 | 1500 | 1500 | 2023-09-30 | Consents Approved | NGET | PRO-000288
*Note: The MW Total MW Import figures represent firm TEC. Moyle holds a total of 500MW TEC which is subject to operational restrictions.
CUSC Definition paragraph 9.4
9.4 EXPORT OF POWER FROM THE INTERCONNECTOR CONNECTION SITE
* MW Import | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement and the Grid Code and any Operating Agreement, The Company shall accept into the National Electricity Transmission System at the Connection Site of an Interconnector power up to the Transmission Entry Capacity and (if any) STTEC and\or LDTEC and\or any Temporary Received TEC less any Temporary Donated TEC for the relevant Period as specified in Appendix C to the relevant Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice.
CUSC Definition paragraph 9.5
9.5 IMPORT OF POWER TO THE INTERCONNECTOR CONNECTION SITE
* MW Export | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement, the Grid Code and any Operating Agreement, The Company shall transport a supply of power to a Connection Site of an Interconnector through the National Electricity Transmission System up to the amount specified in the Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice by The Company.