## Q&A for Webinar 28 June 2023
Question text | Answer
Why not procure more DC, DR and DM rather than require MFR? | DC is not relevant as it is a post-fault service. DR is relevant as it is pre-fault but the need that we are buying for is for these uncertain conditions in real time which are not known about at day ahead – the realtime response also enables us to stay within the policy and replace any response which has declared itself unavailable or shortfalls in day ahead procurement and this will include the future of the MFR service. We will make sure that our BR and BRfR designs align with this strategy as it develops. Fortunately, as the capability already exists in our proposed procurement platform we can build this concept into the BR service and phase it out quickly if required.
How will the Balancing Reserve for response volume be calculated? It needs to be a calculation rather than NG being able to change it to ensure no gaming | We don’t have a methodology yet for calculating Reserve for Response volume as this is still working progress. You are correct, this will be through a calculation which will be finalised after the service design has been nailed down.
If you will still take better prices from the non MFR auction pot why bother splitting the requirements? | We are still working through the details of how this co-optimised auction might work but our initial expectations is that there will be a separate clearing price for Balancing Reserve and Balancing Reserve for Response.
Apologies if you come onto this but how do we know Bulk Dispatch will solve the original problems that led to 50MW minimum? This hasn't been explained for BR. | As shown in the slide 20 regarding auction development and dispatch capability. Enhancements for ENCC tools are being done as part of IT development to ensure that the smaller units will be able to participate in this service.
By requiring assets to be above SEL means you have very few assets that can participate as they don't know if they will be running when the auction occurs | Thank you for your feedback.
Would there be separate clearing prices for the two BR pots? It would seem MFR parties could drive prices up if there was a shortage in only one of the pots | We are still working through the details of how this co-optimised auction might work but our initial expectations is that there will be a separate clearing price for Balancing Reserve and Balancing Reserve for Response.
Will the volume of Balancing Reserve for response service shift to DR once you have real-time capability? And when would this happen? 2024 or later? | We are developing a strategy for the future of closer to real time response procurement and will ensure that the Balancing Reserve service aligns with this strategy. We do not have a date at the moment, more information will be shared later.
Auction time is not convenient. Most participants will be involved in the GB hourly wholesale auction process post OTC Trading at between 08:45 - 09:00. Also participants will not know if they are onload i.e above SEL until the wholesale auction clears. | Thank you for your feedback. Would be earlier time would be more convenient for you? We are aiming to run our actions before DA Wholesale auctions to achieve the most benefits.
Recent experience shows that ESO does not have enough operational analysis resource to detect "deliberate non-delivery" of services. How will BR be different? | We are committed to develop performance monitoring which will be pick any service terms rules broken by providers and we will be working to improve the performance monitoring as we go on with the reserve products. We also have a Market Monitoring team that has been working to detect those deliberate non deliveries.
Are you concerned that the level of penalty will be priced in and increase the costs of the BR service(s)? | As with our other services, we do not expect providers to factor this penalty into their pricing. The penalty is only intended to capture planned deviations in output (as opposed to trips or other unplanned outages). Clause 14 in Version 1 of service terms include additional information on this point. It weill only be applied when the units full contracted capacity is unavailable due to commercial reasons as is the case with our other services.
Requiring assets to be at SEL, increases the availability cost massively as it needs to cover the cost of running at SEL | We have a strong system requirement for system flexibility from control room. BR is buying headroom, so we expected units to be operating at SEL already. If the unit is flexible enough and start ramping within 2 minutes, then they can participate in BR market and be dispatch in 1MW.
When will you move from 50MW? | We are already committed that we are moving away from 50MW to 1MW as we go live in February 2024.
A lot of time was wasted by participants last time as the proposal was rejected. How confident are you OFGEM will approve? | So firstly I am sorry you feel that a lot of time was wasted by participants last time. I actually feel that the industry worked towards a really robust service so that we could bank a lot of consumer benefits and we are continuing to do so. We continue to engage with the Market at Ofgem in a very regular fashion and we believe that Ofgem is understanding the need and reason why we want to do this and is trying to drive the service design and the need towards maximum consumer benefit. The decision is eventually for Ofgem, but we believe this time we are going on the right path and willl be able to get there.
Will you be putting the cost of BR in your reserve or response pot? Still seems odd to need to subsidise MFR with an entirely new reserve service. | We are still working through the details of how this co-optimised auction might work but our initial expectations is that there will be a separate clearing price for Balancing Reserve and Balancing Reserve for Response.
The EAC go live being pushed back is interesting, would you be confident to have it ready for the Balancing market in feb if its only gone live in November? | We are working across projects and have cause to believe that there is limited impact of the slight delay in EAC for any timelines on the auction go live for BR. We have had detailed discussions with our vendors and are confident that we will be able to go live on time for the new BR date
Forcing granular dispatch will exclude some assets/demand side where a high SEL is needed, some assets might be take the full 10mw or get nothing for example | If the unit is flexible enough and start ramping within 2 minutes, then they can participate in BR market and be dispatch in 1MW. We expect dispatch behaviour will remain as today, and this requirement will ensure we are not forced to overcorrect frequency because we cannot instruct the right amount of MW
Apologies if I missed this, did you say LCP Delta will update its CBA to show the savings associated with the later go live date and new proposed service terms? | Yes
Thermal generators needing to run at at least SEL is not dissimilar from batteries having to make sure we enter the window at appropriate SOE (State of Energy). It seems fair. | Thanks for your feedback.
Thermal running at SEL is completely different from batteries. If batteries are not used= zero cost. Thermal running and not used =high cost | If the unit is flexible enough to start ramping within 2 minutes, then they can participate in the BR market and be dispatched in 1MW.

## Q&A from previous BR Design
Topic | Question | Answer
Technical Design | Why is there a limit of 50MW what is the operational reason for this? | Our reserve requirement varies between 500MW and 3GW and currently we dispatch reserve manually. There are certain operational scenarios (such as when renewable output generation is changing quickly) where we need to make multiple reserve instructions quickly. If we allowed a smaller contract size, there would be insufficient time to issue the number of instructions needed for security reasons. At an expected maximum requirement of 3000MW, 50 MW translates to 60 instructions for full activation. Spread across typically 2 balancing desks this translates to 1 instruction every 10 seconds to achieve full balancing reserve activation within 5 minutes, which will be extremely challenging if required showing we have already sought to minimise this within our current operating environment. There is also a resilience effect, as the contingency method of instructing during either an IT of Comms failure in the BM is by telephone, which is a slower method where minimising the number of instructions becomes even more important. The minimum contract size requirement will be reviewed and updated as our BM system is developing and further information will be shared through the Balancing Programme. While there are smaller units in the BM that are regularly used as part of normal operation, this is done with planning and in context of the current operational conditions as set out in the Balancing Principles Statement.
Technical Design | Why don't you allow smaller assets to participate and then cluster them to allow operators to activate them by bunch ?
Technical Design | Is the minimum 50MW limit for bids per BM unit, or per BM provider in aggregate?
Technical Design | So this is a product for power stations only with 50mw plus?
Technical Design | BMU don't have to be able to provide 50MW Bids/offers; BMU can be 1MW in size ! via a VLP for example....
Technical Design | How is being a "Large Power Station" anything to do with providing the service you need? This doesn't seem at all technologically neutral. | Large Power Stations are a grid code defined term based on size and location of an asset, not based on the technology. The grid code mandates many requirements for these units which are of use for Balancing Reserve, and while developing this service quickly it was felt that requiring this would be the quickest and least risk option. It also aligns with the Grid code defined term for Operating Reserve, which aligns closely with the Balancing Reserve service. However based on the feedback in the session, we have updated our proposal to not require being a large generator, but instead explicitly call out requirements for Control Telephony (as definined in the grid code) and Mandatory Frequency Response, and refer some other requirements such as metering to the relevant parts of the grid code. We have accepted the risk that this may mean units providing BR may not be able to provide reactive power for example as a large generator would.
Technical Design | A large power station is 100MW in E&W, 30 MW in south Scotland and 10 MW in north Scotland. Is this what NGESO intend?
Technical Design | Everything mentioned as to why its large power stations is also a requirement for all BMUs. Please explain the reason as to why its large power stations only
Technical Design | why you have ruled out a large proportion of the market with your MW limit and ramp rates? All BMU units have to have telephone dispatch so this is not a reason to keep it as a large power station. Everything you referenced there is for all BMUs?
Technical Design | How does this fit in with ESO objective of being open to all? | One of the ESO ambitions is driving competition for the net benefit of consumers. Current market conditions mean there is less competition in the Balancing Mechanism with how we are buying reserve than there has been in the past, leaving the ESO as a distressed buyer after the wholesale market has cleared. This Day 1 service will create competition to provide benefits to consumers. It will evolve so we can start seeing the benefits as soon as possible.
Technical Design | The minimum contract size of 50MW still excludes significant capacity already active in the BM and the majority of flexible MW. | All aspects of the service design will be reviewed following go live to inform any improvements to a day 2 implementation of this product. This includes reviewing how we can further widen participation to maximise participation, including where those are enabled by developments to codes and balancing systems.
Technical Design | Does control telephony mean green phone or are other forms like 24/7 mobile contact acceptable? | Control telephony is defined in the Grid Code and is a dedicated phone line which is operable in both normal and emergency operating conditions. This means that the method of communication is resilient if BM systems go down or there is disruption on the wider network. The green phone is an acceptable form of control telephony.
Technical Design | As the product design discriminates against small resources for reasons of expediency, will you commit to cancelling or opening it by next winter? | All aspects of the service design will be reviewed following go live to inform any improvements for day 2 implementation of this product. This includes reviewing how we can further widen participation to maximise participation
Technical Design | MFR Arming Instructions - same as existing instructions? | Yes. During uncertainty in real-time control room can increase response above what was contracted at day ahead as currently used in Balancing Mechanism. Our reserve requirement varies between 500MW and 3GW and currently we dispatch reserve manually. There are certain operational scenarios (such as when renewable output generation is changing quickly) where we need to make multiple reserve instructions quickly. If we allowed a smaller contract size, there would be insufficient time to issue the number of instructions needed for security reasons. At an expected maximum requirement of 3000MW, 50 MW translates to 60 instructions for full activation. Spread across typically 2 balancing desks this translates to 1 instruction every 10 seconds to achieve full balancing reserve activation within 5 minutes, which will be extremely challenging if required showing we have already sought to minimise this within our current operating environment. There is also a resilience effect, as the contingency method of instructing during either an IT of Comms failure in the BM is by telephone, which is a slower method where minimising the number of instructions becomes even more important. The minimum contract size requirement will be reviewed and updated as our BM system is developing and further information will be shared through the Balancing Programme. While there are smaller units in the BM that are regularly used as part of normal operation, this is done with planning and in context of the current operational conditions as set out in the Balancing Principles Statement.
Technical Design | Would batteries (even collectively as a series of smaller units) not be able to offer a quicker and more effective reserve solution. | Batteries can ramp very quickly and will play an important part in future Quick Reserve, as well as Response markets (Dynamic containment, Dynamic Regulation and Dynamic Moderation are heavily populated by batteries). We value batteries and their characteristics but they are not the only technology type that can support frequency management and our aim across all services is to provide a collective suite of services based on the system need, and then to maximise the efficiency across all of those markets.
Technical Design | Why are you mentioning frequency response capability, given this is a reserve service, and you have a shiny new suite of frequency response products? | Our intention is to buy our full response requirements for both pre and post fault frequency needs through our new Day Ahead markets for DC, DM & DR. We set the procurement targets for the DC, DM & DR auctions with the information we have available at day ahead and our true needs in real time are not fully known. This means that even if we can fully meet our procurement target we will over or under procure in many situations as system conditions can change away from the Day Ahead forecasts used to set procurement targets. We sometimes fail to meet our procurement target through the Day Ahead markets due to price or volume constraints. Sometimes contracted providers have to declare themselves unavailable to provide the service in real time, leaving us with a shortfall. To manage all of these factors we need the ability to quickly access additional response capability and this is where the Mandatory Frequency Response (MFR) service comes in. The reason why MFR is relevant to the Balancing Reserve service is because we will access MFR on capable units which have headroom and/or footroom depending on the nature of the response capability required and we often need to access their response capability at very short notice. We secure additional headroom and footroom on MFR capable units which can place themselves in frequency sensitive mode, ready to deliver MFR, two minutes following an instruction; we call this additional headroom/footroom "reserve for response". The same drivers exist and suggest that procuring Balancing Reserve at day ahead could deliver significant savings on balancing costs and can also be applied to our reserve for response holding. Therefore, to drive value for consumers, we have chosen to include MFR capability as a requirement for participating in the BR market. We expect that given our other eligibility criteria of 50MW bid size and Large Power Stations for Day 1 all currently eligible units will be already able to provide MFR; so this eligibility criteria won't present a barrier to entry on its own. In the future, we will review barriers to entry to participation in the BR market and consider which course of action will deliver greatest value for consumers and send clear market signals.
Technical Design | Is this service open to all technologies e.g. renewables? | The service is open to all units that meet the eligibility criteria regardless of technology type. This includes larger renewables units, larger conventional power stations and any technology type of units that can meet the criteria. We do recognise that our eligibility criteria will exclude smaller units from participating in the service at this time.
Technical Design | Will assets participating in this service be participating in standard BOAs as normal? | Yes, the service will be utilised by usual Bid Offer Acceptances (BOAs).
Technical Design | Surely STOR can do this with more participants and a well understood and working structure. Why are you reinventing the wheel? | Balancing Reserve needs to be ready to be utilised within BOA timescales (2 minutes). Most STOR units are offline, take a lot longer to start ramping and are less flexible within balancing timescales. These characteristics work well for post fault energy replacement but are not effective for pre-fault / normal operation system balancing. We are looking for a different sort of flexibility to what most STOR units can provide.
Technical Design | Just to clear, are you saying plants contracted to provide BR, May be instructed to provide MFR in the contracted BR windows | Yes, that is correct. These units will have headroom or footroom as applicable to provide the service and capability and therefore we will seek to instruct some units (not all) to increase our response holdings if required.
Technical Design | Can a unit provide Positive and Negative Balancing Reserve simultaneously? | Yes if a unit can provide 50MW or more of headroom and 50MW or more of footroom in the same time, stacking positive and negative BR is allowed.
Technical Design | can a 25MW BESS that has a 50MW DELTA (import to export) be allowed to participate? | The 50MW bid size requirement is an addition to the requirement to be a Large Power Station and BM unit. Therefore, the unit needs to meet the 100MW capacity threshold if the unit is in England and Wales.
Technical Design | The updated requirements have not changed the discriminatory nature of the service. Smaller providers are being excluded due to NGESO system and process issues. | We are taking account of the different technical needs of the electricity system and the different technical capabilities of generation sources
Technical Design | How will BR impact current providers of MFR, will BR provision be prioritised above just units offering MFR? | BR may mean that there is less repositioning needed for units to be able to provide the desired MFR, however decisions on which units to be instructed to proviode MFR will remain a combination of economics and system security.
Technical Design | What impact would you expect the BR service to have on volumes procured in STOR? | The impact of this service on the Wholesale market, BM or other reserve market is currently being investigated and we will share progress on in the future.
Technical Design | When will you get the long promised IT capability to dispatch the smaller plant efficiently. This shortcoming is becoming very distortive. | Work is being done on enhancing IT capability to despatch smaller plants more efficiently as we also work on reducing the barriers to entry. We will keep you posted of the progress. September 23
Technical Design | Does the requirement for minimum 50MW confirm NG are still unable to automatically dispatch assets on merit in the BM and don't see this improving? | The ESO has a range of systems to dispatch assets, some of which include elements of automation. As shown in our Dispatch Transparency dataset, there are a variety of reasons why are not obliged to dispatch in merit order, but consider overall securoty and efficiency. The 50MW minimum is in place to enable full access to Balancing Reserve in reasonable timescales, and you can find the work we are doing on this through the Balancing Programme: www.nationalgrideso.com/industry-information/balancing-services/balancing-programme
Technical Design | Will the service (in its current form) be changed once the tools to allow smallers assets be used are in place? The minimum contract size would be reduced? | All aspects of the service design will be reviewed following go live to inform any improvements to a day 2 implementation of this product. This includes reviewing how we can further widen participation to maximise participation, including where those are enabled by developments to codes and balancing systems.
Technical Design | How is MFR different to other frequency services, other than procurement timescales, and where it comes from? I thought the plan was to phase out MFR? | Mandatory Frequency Response, also known as Frequency Sensitive mode is a grid code requirement for some generators, and is Primary, Secondary and high response. We buy similar response through the dynamic FFR market which we are phasing over to Dynamic Moderation and Dynamic Regulation. However we still need to have the ability to increase response holding in real time, as it would not be prudent to buy our maximum requirement all of the time.
Technical Design | Has any analysis been done (or is planned) to asses how the participation criteria may affect the costs of the service, vs. a wider criteria? | We have produced analysis how the participation criteria would affect volume and market liquidity - we expect there to be sufficient eligible capacity that further capacity would make a negligible impact on procurement costs.
Technical Design | How are control room constraints on BR different than all actions taken in BM? Does this not confirm control room difficulties in dealing w/ small MW assets? | There has been significant engagement with industry on the evolution of our balancing systems through the balancing programme, and we've been open about the challenges we've faced on that, and shared that our current aim for updating our multi dispatch capability is for September next year. The reason that this is different to general energy balancing is the time over which we can prepare to send the instructions. Where we have advanced notice we can plan to dispatch smaller units, where as balancing reserve needs to instructed rapidly in response to unforeseen changes.
Procurement Design | You said you can't do positive and negative at the same time. Why can't batteries do this? | It will be possible for a unit to offer both positive and negative balancing reserve from the same unit during the same window. The capacity that is dedicated towards provision of negative reserve (footroom) will be paid at the prevailing clearing price in the negative balancing reserve market and the capacity dedicated for positive balancing reserve (headroom) will be paid the prevailing clearing price in the positive balancing reserve market. We won't however allow MW to be sold twice for the same service window across the two directions of the service. This would be technically infeasible for a unit to deliver. Given the other eligibility criteria batteries may be too small to provide this service at first but there is nothing related to positive and negative provision that we see as a blocker.
Procurement Design | Suppose I am instructed to shut down via a bid acceptance in the BM, so I can no longer deliver the service. Do I still get paid my availability fee? | As this product allows stacking with BM and the Bid to 0MW or shut down would be sent by the Control Room, therefore there would not be any penalties if the units cannot deliver the contracted volume. Availability payments would be based on the difference between FPN and the relevant parameter of MEL/MIL/SEL/SIL and on whether BR BOAs were accurately followed. Any BOA to zero would have to comply with MZT parameters, so would not cause a conflict.
Procurement Design | If you can change your utilisation price up until gate closure how will this save money? | We do think there is a potential for saving from paying units for availability at the day ahead market instead of creating the footroom or headroom in the BM intraday. This is currently the reserve is created through repositioning - meaning that utilisation is paid even when there is no requirement to use reserve. Replacing this with a competitive market for availability should allow a much lower procurement cost.
Procurement Design | If the ESO is a distressed buyer, does a day ahead market help? Didn't you need to buy this service three years ago when we could build plant | Buying at day ahead allows NGESO to secure the needed capacity from any eligible asset, which gives much greater competition. This is because if the unit sells the capacity to us, they can either not sell into the wholesale market, or can buy out their position. This is not possible in real time, any pull back on units running creates an energy imbalance, and this results in needing to synchronise additional plant or trade. Due to the lack of liquidity in the BM at present, it is this situation that leads the ESO to have few options. Our current risk is that no BM position becomes firm until gate closure - and there are markets such as intraday interconnector auctions where capacity can be sold across interconnectors. This service allows us to have a firm access to reserve contracted at day ahead, so should increase certainty. If a contracted unit doesn't provide the MW of headroom (MEL - PN or PN - SIL) or footroom (PN - SEL or MIL - PN) that they're contracted for we will utilise our performance monitoring rules to remove availability payments. If we see this happening persistently there are further measures we can take with affected units. We believe that this will provide a strong incentive for contracted units to "turn up" and deliver the service that has been contracted for.
Procurement Design | Does contracting reserve at DA not increase risk as you don't know whether the assets will actual turn up?
Procurement Design | What are the advantages of contracting this at DA rather than in BM timescales? | The wholesale market tries to meet the demand and each party is incentivised to support this whole system balance through imbalance charging. The wholesale market has no incentive to meet our additional reserve requirement; this is left to the ESO and often undertaken in real time through the BM. This means that the marginal value of energy gets hidden from the wholesale market (or is at least severely diluted) until after the event, when imbalance is calculated, rather than ahead of time. This hides signals from the market for participants like price-sensitive demand users, and those who would run at a higher price. Buying reserve capacity ahead of time means that the purchase of our reserve requirements would be aligned with the wholesale market in a timescale that allows the market to re-balance their position before gate closure. This would move the scarcity in to a more transparent, liquid and competitive market with more participants and better information balance between the market participants. This would lead to more accurate, reflective scarcity signals ahead of time, and would mean that activities like deciding on the need to warm units to make them available would be resolved by the wholesale market, rather than the control room.
Procurement design | How will pricing and auctioning for the service work? Separate auction platform or via BODs? | An auction for unit availability will take place at day ahead of delivery, the payment mechanism we are proposing is a pay-as-clear auction. This auction will take place on a separate auction platform. Utilisation of the service is via BOAs, this will be managed through the BM.
Procurement Design | Is this expected to allow those with capacity rights on the interconnectors to participate in this service at the DAH stage as well? | Interconnectors are not dispatchable BM participants and cannot receive BOA instructions so they won't be able to participate in the service directly. Their position may be influenced by the ESO securing reserve before the interconnector flows are finalised.
Procurement design | If an asset is extended outside of the availability window, why wouldn't they increase their prices to match the BM prices? | Providers are allowed to bid whatever value they want, dispatch will happen in price order so they are incentivised to still bid at competitive prices.
Procurement Design | Would unit breakdown be covered by clause 14.1.1 of the Service Terms? | If there is a unit breakdown, the unit needs to declare themselves unavailable in the BM. If they have a contract to provide Balancing Reserve and now they cannot fulfill it they will lose the availability payment. We would need an explanation for why they didn't deliver, but not providing the service for a technical breakdown would not attract any penalty other than loss of availability payment.
Procurement design | Why pay as clear for availability payments? | We conducted some market analysis to determine whether a Pay-as-Clear (PAC) payment mechanism or a Pay-as-Bid (PAB) payment mechanism would be best suited for this service. There are three conditions that need to be met within the market to allow PAC to drive consumer value and contribute to optimally efficient market outcomes. Homogeneity - this condition requires that each MW of the service is equally good as another MW. By developing a standardised minimum ramp rate we won't be discriminating between units based on their speed of response and overall flexibility when it comes to our reserve holdings. Alongside this we aren't introducing any locational assessment so this means that the service can be considered to be homogeneous and therefore supports a PAC payment mechanism. Full Information - We will publish a similar suite of documents for the Balancing Reserve service as we do for our response services to both market participants and industry as a whole (potential future market participants). This helps to ensure that the market can effectively send price signals and supports a PAC payment mechanism. Competition - We identified the existing BM providers who are delivering the majority of our balancing reserve holdings at the moment through the BM and compared their potential volumes with our maximum requirements. We found that even accounting for plant unavailability this market could be reasonably expected to be highly liquid. We also derived the Herfindahl - Hirschmann Index, a popular measure of market concentration, and concluded that there was little risk of the market being dominated by one or two large providers. This provides strong supporting evidence that PAC is the appropriate payment mechanism for this market.
Procurement Design | For volume submitted in the auction, will the volume have to be curtailable? Clause 7.6 of the Procurement Rules seemed to suggest volume would have to be | Yes.
Procurement Design | You can do BM and DC so why not this and DC? | For the Day 1 release of the service it won’t be possible to split volume across the Balancing Reserve markets and response or STOR markets as we believe there is further work to do to look at interactions of performance monitoring across both services.
Procurement Design | Would an intra-day market for frequency response be an alternative, and more inclusive, alternative to MFR? | Thank you for this suggestion. We are currently planning for our next "releases" of the response reform programme. In the next few months we are hoping to have completed this review and will be ready to share more information on the topics being considered for release 2 (2023/24) and release 3 (2024/25). Currently intra-day markets are being considered within this review but we can't share any concrete plans at this time. Please sign up to our future of balancing services newsletter to keep up to date with our plans through dedicated response reform webinars.
Procurement Design | Say we are providing positive reserve. If the MEL drops, if we don't PN down the unit to maintain the reserve do we only lose the availability payment? | Yes, it will break the conditions as you cannot deliver the contracted capacity which was contracted at Day Ahead.
Procurement Design | What does this mean for BESS - could an asset that is tested for DFFR tick the box for having MFR ? | Our requirement from Balancing Reserve providers is that the Electricity Control Centre can draw from the pool of well positioned BR providers to increase response holdings at short notice. This mimics current operational practices. This wouldn't be possible for units with tested Dynamic FFR capability as we need the mechanism to instruct the unit in real time to go into frequency sensitive mode and deliver response proportionally to the system frequency and then pay the unit for the service they have provided. The only real time response mechanism currently available to us is Mandatory Frequency Response (MFR). However given DFFR is a way of accessing Primary, Secondary, High (albeit through the FFR month long contracts) then the unit clearly has capability it would need to provide MFR. It will be possible for a unit which doesn't currently have a Mandatory Services Agreement (MSA) to contact their account manager or a member of the ancillary services contracts team at the ESO and arrange to have an MSA drawn up. The DFFR tested values could be used within the response capability tables for MFR capability although additional values may be needed depending on the number of deload points referenced within the table. MSAs typically contain MFR and ORPS capability although a "response only" MSA could be drawn up for parties who want to prove real time response capability in order to become eligible to participate in BR. Any party that signs an MSA must also have acceded to the Connection and Use of System Code (CUSC). Accession to the CUSC can be processed through the Connections teams at the ESO for any future BR participant who is not already party to the CUSC. CUSC accession is required because the framework that MSAs are built on comes from general rules within the CUSC.
Procurement Design | If you allow a unit to submit two bids into the auction for the same period, does the unit have to be able to ramp at 30 MW/minute? | If the unit would split its headroom (for example 120MW) across two bids (both 60MW) and both bids will be accepted for the same service window, therefore the performance monitoring for this two bids will be done separately. Therefore, if the whole headroom (120MW) of the units will be instructed, we would expected that those two bids to be activated and start delivery as two independent units. Therefore we will expect those bids to both start delivery after instruction (2 minutes BOA acceptance time) and deliver the volume within 6 minutes (from minimum ramp rate of 10MW/min). Therefore, to achieve this time of delivery, the unit must deliver at higher ramp rate of 20 MW/min to make sure to deliver 120MW within 6 minutes from BOA acceptance.
Procurement Design | Since the proposed procurement rules are not compliant with the EBGL (e.g. Art 18.4.c), why do you think Ofgem would be willing or able to approve this? | We would expect that BR contracted units will be well positioned and therefore offer the most economic and efficient option for providing additional response holding if we need. However, if BR units have very expensive MFR prices we would take a different unit if it was more economic and efficient.
Procurement Design | You can do BM and DC so why not this and DC? | For the Day 1 release of the service it won’t be possible to split volume across the Balancing Reserve markets and response or STOR markets as we believe there is further work to do to look at interactions of performance monitoring across both services.
Performance Monitoring | The Service Terms and Procurement Rules refer to withdrawal of availability on a “persistent or repetitive basis”. Can you clarify what this would be | Clause 5.11.3 of the Service Terms states that any persistent or repetitive withdrawal of Mandatory Availability Declarations may result in the Service Provider not participating in auctions. Clause 14.2 requires the Service Provider to give a full explanation as to why they are unavilable. We will be monitoring BR unavailability and checking against PN's in the BM through performance monitoring. If we see a Unit still declaring their PN's to sell that energy in another market (after a BR contract has been awarded) then they will be liable for Clause 14.4. Where a unit knows ahead of the auction that it is unavailable to deliver they should not participate in the auction. For any breakdowns the Unit will need to declare unavailable in the BM and no availability payment will be made.
Performance Monitoring | What is the penalty for not delivering the service (eg low MEL)? If you only lose your availability payment this becomes a free option. | Units not delivering this service through a MEL redeclaration will lose their availability payments. Non delivery of an instruction will be through the normal imbalance process as BOAs are subject to the Applicable Balancing Services Volume Data process.
Performance Monitoring | Will monitoring be carried out be existing operational metering, PNs, dyn data etc so no need for additional IT? | Yes, the monitoring will use exisiting operational metering and dynamic parameters submitted to the BM. No additional requirements for IT from perf mon perspetcive
Performance Monitoring | What are the penalties for not meeting the contract? | Availability payments will be withheld from participants not meeting the required performance and repeat/excessive performance failure will lead to an event of default and units having to prequalify again.
Performance Monitoring | You rather skipped over the metering part. Will metering be required as per other services like DC although presumably with much lower resolution? | Please refer to Grid Code requirements for detailed metering specification. In short, time stamping of the operational metering would be generally to so a sampling rate of 1 second of better.
General | Is two month for Ofgem approval very optimistic, considering everything that is going on? Would prefer slower but correct than quick but faulty | EBR Consultations are subject to a formal timeline with the Ofgem review period set as 2 months. BR has been discussed with Ofgem in detail and we have provided clarity around the reasoning and need for it with the 2 month review period being agreed.
General | Will you publish the slides as well as the recording? | Yes, the slides and recording are published at the bottom of the page here - https://www.nationalgrideso.com/industry-information/balancing-services/reserve-services/balancing-reserve
General | Can we have a copy of the slides please? | Yes - these have been published on our website here - https://www.nationalgrideso.com/industry-information/balancing-services/reserve-services/balancing-reserve
General | There has been a lot of changes to the timescales of reserve reform. It would be great if you published fresh dates for all new reserve services or changes. | This is already in the final stages of planning and an updated plan for Reserve Reform will be shared with industry in December.
General | Surely this product will do nothing to stop high prices during tight margin periods. If anything it encourages capacity to skip the wholesale market | Wholesale Day Ahead market prices are almost always lower than intraday and we expect the cost for this service to also be lower.
General | This will remove capacity from the traded Market with an impact on Market price> So BM cost goes down but Market cost goes up is the acceptable | At the moment the Wholesale Market has no incentive to meet the ESO's requirements for security and so it clears at a certain level. Intraday actions can pollute this signal as it is not accurately reflecting scarcity and leads to higher BM costs. This service will allow the Wholesale Market to clear in a correct position. The Wholesale Market has many more options than the ESO including smaller generators even though they can't participate in the service directly. There are also effects from the continental markets. Buying capacity through balancing reserve is expecting a decrease in interconnector flows when the UK market clears at a higher level, rather than us having to trade MW back to achieve our reserve requirements. The correct investment and market clearing will be driven in the long term and see the ESO use balancing in the BM as a last resort. Our CBA has not assessed the wholesale market impacts of our proposal due to our focus on minimising the costs within the ESO’s control, and the market’s ability to react to changes in investment signals.
General | What impact do expect this will have on imbalance prices? | Utilisation price will not be fixed in the contract so bid offer prices are free to change up until gate closure as it does now and will be driven by the market.
General | How will the saving benefit be made? | We think there is a potential for saving from paying units for availability at the day ahead market instead of creating the footroom or headroom in the BM intraday.
General | What's the difference between this and a schedule 7 trade? | A schedule 7 trade is a specific contract with a generator, our proposal is to run this as an auction so that there is market competition.
General | Do other European SOs operate a similar service? | We are aware that European TSOs have Operational Reserves products which includes Frequency Confinement Reserves, Frequency Restoration Reserves and Replacement Reserve however we are not sure how similar are those reserve products to our proposed Balancing Reserve. Further investigation would be required in this area on how our reserve products are similar to European reserve services.
General | For clarification - both slow and quick reserve products with go live in Q3 2023/24? | Yes - it is our current assumption. The go-live dates are dependent on number of conditions but we are working our best to deliver new reserve products in the time efficient manner.
General | People are turning on to provide this service. How would accepting only a bit of the generators volume work if they can't deliver that amount? | It is a bit difficult to know exactly what this question is referring to and assume it is referring to the curtailable bids element of the design. Bids could be curtailed (to a minimum of 50MW) if providers elect to make their bid curtailable. If a unit cannot deliver a curtailed volume they should not elect to be curtailable.
General | Is this actually about buying inertia on the sly, hence the weird eligibility criteria? | No - we're expecting this service to be provided by providers already planning to run pulling back some capacity. There is no requirement to provide inertia.
General | What does Q3 2023/24 mean? | Q3 in a financial year means October-December
General | Mike, if ESO is a distressed buyer, why is it reducing competition by creating a limited-participation market? | We are not reducing competition from current levels as this service is already bought on large units in real time. This service will allow all providers who can meet the requirements to participate which will lower the ESO balancing costs, with scope to increase competition further in the future.
General | When are you going to start publishing forecasts of your future balancing reserve requirements? | More information about future reserve requirements and timeline when it will be published, we will release close to the implementation date.
General | What effect do you expect the presence of Balancing Reserve to have on BM prices? | The price of offers in the BM is increased by not procuring capacity, as stations have to recover their fixed costs in the short periods when they are actually utilised. This also pollutes the price of energy balancing, as opposed to margin creation, as the cost of capacity is reflected in the offer price. The fact that offers cannot be cheaper as price bands increase means that any capacity element to offers to SEL also gets reflected up to MEL.
General | What is your response to the Ofgem CfI consideration that BR would appear to reward undesirable behaviour and is not their preferred option? | Ofgem's view of undesirable behaviour is units that had a PN, then changing their PN to zero and submitting higher offer prices. As balancing reserve (positive) would in general require a positive PN, and be provided by online units adjusting their position or by offline units coming online, we don't see Balancing reserve contracts giving the potential for that undesirable behaviour. Regardless of that behaviour, we have a need for this type of reserve and therefore should look to procure it in an efficient way. It may be that undesirable behaviour reduces as a result of BR leading to less BM scarcity, but that is not the target of the service.
General | What's Plan B if this doesn't make it past the EBGL consultation (e.g. because its discriminatory)? | If BR didn't get approved through the EBR consultation it would mean the service won't be able to go live & the savings won't be realised as early as possible, this is the reason we have put massive effort to make sure the design can meet the EBR requirement and also work with industry and OFGEM to address any issues / questions as early as possible to minimise this risk.
General | Are you aware that smaller providers are making themselves available for use on an event-driven timescale, and have invested in order to do so? | It is unclear what this refers to, but if it refers to making assets quicker to respond then this aligns well with our new services Quick and Slow Reserve which are both quicker than legacy services and will be open to providers down to 1MW.
Project update | The EBR summary didn't give a breakdown of how many responses opposed the proposal - do we have this number? | The consultation tracker shows you how many people responded.We received 18 responses prior to the deadline - there were 7 disagreed with the proposal overall and 11 supportive.
Project update | How long will it take to reduce the cap? ie when will efficient dispatch be in place | This will be looked at in parallel with Quick and Slow Reserve. Further updates to industry will be published and shared. We are looking to hold an industry webinar in May. Further detail will be sent closer to the time.
Project update | How confident are you of Ofgem approval given the design? | We have worked closely with Ofgem during the project and have provided evidence to them on the benefits of introducing the service. We believe it is worth working on it while we wait for Ofgem's decision in order to make the most of these benefits. If BR does not go live for any reason, the work is being used for Reserve.
Project update | What happens if you are legally challenged for discrimination? | The clean energy package and our transmission licence requires us to take account of the different technical needs of the electricity system and the different technical capability of generation sources, energy storage and demand response. Our proposal considers the technical needs of the electricity system as smaller plant does not ensure operational security, and as such our proposal is non-discriminatory.
Project update | If small plant does not meet the system need then why are you planning to reduce the size of the plant in future? It is not consistent. | Currently small plant does not meet the system need due to limitations in our dispatch capabilities. We are working hard to remove these limitations and will be communicating our day 2 plans with the industry in May.
Project update | If implemented, will the ESO financially benefit from the the service? Or is the benefit from the project only the forecast savings to the consumer? | Not directly - the savings from the auction will be seen by consumers as a reduction in BSuoS costs. However, Ofgem could reflect the work we've done on BR through incentives.
Project update | Is the plan to move over to the salesforce (or another) platform in the future? if so, what is the additional cost to implement this on two separate platforms | The plan is to move to the Enduring Auction Capability (EAC) which is why we are using the algorithm that will be used in the future platform.
Project update | isn't national grid increaing industry costs by having 3 different auction methods, and an enduring platformto come ?
Project update | What is the total cost of implementation? | We consider that the implementation costs will be substantially smaller than the consumer savings that balancing reserve may well achieve which is estimated to be ~£900m over the next 3 years.
Project Update | Can you send a link to the RBS consultation? | It is on the EMR website under guidance, RBS consultation , documents all marked with Official https://www.emrdeliverybody.com/CM/Guidance.aspx
LCP Report | Can you please share the link to the LCP report? | https://www.nationalgrideso.com/document/274691/download
LCP Report | Why do LCP assume generators will bid into BR during high wholesale periods and therefore lower NG spend requirements as units will be committed to BR. The BR auction is before the wholesale auction so very inefficient and makes the DA decision tree more complex and difficult | Detailed dispatch modelling was simulated over the next 3 years with two senarios - current market arrangements and balancing reserve implemented. This is to capture the reduction in costs due to no longer procuring reserve through balancing actions which incurs extra costs. Data was used from analysis done by the ESO on reserve actions in 21/22. The results show that while there is a small increase in the wholesale price as a result of procuring day ahead, the reduction in operational BM costs substantially outweighs this.
LCP Report | How was the £900m Benefit calculated?
LCP Report | Does the LCP report take account of the additional costs for ALL providers in setting up an interim solution as a result of going early ? | No, it doesn't take into account any implementation or additional costs. However we consider that the implementation costs will be substantially smaller than the consumer savings that balancing reserve may well achieve which is estimated to be ~£900m over the next 3 years.
LCP Report | Doesn't this solve NG ESO Spending issue but not the consumer spend as you will move up wholesale auctions? | High BM spend feeds through to the consumer incThe wholesale price impact was factored in to the modelling, so the stated consumer benefit is net of the wholesale price impact.
Auction | Where on the data portal will the results be published? Are they going to appear like Dynamic Containment or regulation? | We'll share the link when it's available (still currently in testing)
Auction | Can you show us an example of what this csv file looks like? | This was included in the demo and is in the onboarding guidance
Auction | will results be available via on the NG data portal via an API if there is no email? | The NGESO Data Portal allows you to subscribe to datasets to receive update notifications via email and text. All datasets can also be queried via an API. Further information can be found here: https://data.nationalgrideso.com/api-guidance Each specific dataset page also contains guidance on the integration of data and API call examples.
Auction | Can you be certain that the results are published at 08:45 as the first wholesale auction is 09:20? | Results will be published by 9am, but we aim to publish as soon as possible after gate closure.
Auction | Will we see the NG buy curves for this service similar to DA STOR? | Buy Orders will not be visible until the Auction Closing Time. We will publish our indicative requirement for Balancing Reserve in each BR Service Window. Each associated Buy Order Price Limit will only be visible in the Daily Auction Report. For go-live results will be published on the Data Portal. There will be no secondary source of results data through the Enduring Auction Capability (EAC). When BR transitions to EAC any changes to results publication will be communicated to industry.
Auction | Will the enduring auction be a secondary source of result data and can they be accessible? the other one being the data portal
Auction | What is the back up procedure if the auction fails? I assume same as DA STOR you will just skip that auction day as people will need to enter the DA Wholesale auction knowing their position. | If results are not published by 9am the auction for that day will not run (all Sell Orders would be deemed to be rejected) and reserve will be procured through the BM. The Data Portal timestamp is the publication verification time.
Auction | What is the deadline for NGESO publishing results? If results aren't published by a certain time are all offers rejected? Who will verify time of publication in case of a dispute?
Auction | What will the volume requirement be at go live? | Volume requirements will be calculated dynamically based on the existing operating reserve requirements. The exact levels are based on several variables including time/day and wind forecast levels. The existing requirements vary between approximately 500MW and 3.5GW depending on conditions.
Auction | Can we delete orders that have not been accepted or amend them | To overwrite a submitted file another file must be submitted for the same date, with the most recent submission entering the auction. To cancel a submission the fields for volume and price must be populated with 0 values. More information on change or cancelling a sell order will be included in the guidance documents.
Auction | Can you submit a "null" CSV file to remove any previous offers
Auction | How do we cancel amend orders? Does a sell order file submission for the same day , overwrite an existing submission
Auction | Please can you explain what happens if you cannot deliver BR (eg your unit trips during a service window)? | If after ramping up or down (as the case may be) in accordance with the Bid-Offer Acceptance, the Contracted BR Unit fails to provide Balancing Reserve continuously at a level of at least ninety-five (95)% of the volume in MWh of energy instructed to be delivered in accordance with that Bid-Offer Acceptance, then no availability payment will be made. Where non-delivery is due to technical issues, these must be notified to us at the time and the asset will be deemed as unavailable (Clause 5.9 of the Service Terms).
Auction | Will your system for CSV files support both DOS(Windows) and Linux file formats? | The system will only accept csv files with a "UTF-8" encoding. Both Linux and DOS have the capability of producing this encoding. If the file is in a different encoding, the provider will need to change it to the "UTF-8" encoding before submission. Please note that the "UTF-8 with BOM" encoding will not be accepted.
Auction | Can you provide more information on the entire submission process? | Guidance documents will be published on the ESO website. We will welcome feedback.
Auction | What is a "linked order"? | Sell orders for consecutive service windows can be linked so we can take a proportion of all of them or none at all.
Auction | Is there testing support for the API and connections/ making sure that we can submit successfully | Yes, the team will work with providers to make sure they can submit using the API. Guidance documents will be published on the website.
Auction | will this be replacing the current BOD/BOA process or will this run instead of or at the same time? | This service is procuring headroom and footroom. The BOA process will run as normal.
Provider Readiness/Onboarding | Looking for a list of nodes to find which is nearest to our powerstation? | You can find grid supply point information here https://data.nationalgrideso.com/system/gis-boundaries-for-gb-grid-supply-points . Alternatively you can provide us with your postcode and we can find out for you
Provider Readiness/Onboarding | Do Assets and units need to be associated or can units be submitted on their own? | Yes, however in order to pre-qualify the Unit it will need to be aligned to at least one Asset. Please reach out to the SMP team to make sure your assets and units are reflected correctly. alasdair.smith@nationalgrid.com and laila.zaghari@nationalgrid.com
Provider Readiness/Onboarding | We will need API details (authentication). From our understanding you are not providing client interface for this? | Correct. We are only providing the client User Interface to submit. The API guidance will be published on the website.
Provider Readiness/Onboarding | We have incorrect assets on our list. It is not clear how Assets associate with units. They actually seem to be sub unit level? | Please contact the SMP team who can directly help you with your query: alasdair.smith@nationalgrid.com and laila.zaghari@nationalgrid.com
Provider Readiness/Onboarding | We have an issue with onboarding as incorrect assets in list. Who can support us with fixing this? | Please contact the SMP team who can directly help you with your query: alasdair.smith@nationalgrid.com and laila.zaghari@nationalgrid.com
Provider Readiness/Onboarding | Unable to submit under Company details (greyed out). Is this required or not? i.e. the existing information is ok? | Please contact the SMP team who can directly help you with your query: alasdair.smith@nationalgrid.com and laila.zaghari@nationalgrid.com
Provider Readiness/Onboarding | On the demo, if you are DNO connected it asked for an 11 digit MPAN number. What if your meter is CVA registered? | Please contact the SMP team who can directly help you with your query: alasdair.smith@nationalgrid.com and laila.zaghari@nationalgrid.com
Provider Readiness/Onboarding | There is guidance for creating new companies, units/assets but not for ESO migrating data for existing generators. | Please contact the SMP team who can directly help you with your query: alasdair.smith@nationalgrid.com and laila.zaghari@nationalgrid.com
Provider Readiness/Onboarding | There is a section under company details asking for financial information. Is this required given that many providers are already setup and providing in BM and other services/ | Please contact the SMP team who can directly help you with your query: alasdair.smith@nationalgrid.com and laila.zaghari@nationalgrid.com
Provider Readiness/Onboarding | What is the definition of an asset and a unit? | A unit will participate in the service. One unit can consist of a single asset or could be multiple assets. Multiple assets would be aggregated into a Unit and at this stage aggregated Units cannot participate in BR.