## Version
Date | Version | Details
2024-05-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for May 2024. This file will be updated in June 2024 to reflect the full data set.
2024-06-14 | 2 | This file only contains the indicative reporting associated with data for GC0151 for May 2024. This file is updated in June 2024 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Middleton - Walney Extension 2 & 400/220kV SGT2 circuit | OFTO | 2024-05-06 14:24 |  | To be confirmed
Kintore – Tealing 1 (XT1) 275kV Circuit | SHETL | 2024-05-10 04:35
Norwich Main 400/132kV SGT5 | NGET | 2024-05-10 23:35 |  | To be confirmed
Connah's Quay - Legacy - Trawsfynydd 1 400kV Circuit and Mesh Corner 1 | NGET | 2024-05-12 18:52
Harker - Chapelcross 132kV Circuit | NGET/SPT | 2024-05-12 19:50
Neilston - Elderslie - Johnstone 2 132kV circuit | SPT | 2024-05-17 04:22
Dunoon - Sloy - Whistlefield – Windyhill 1 (SWE1/GL1) 132kV circuit | SHETL | 2024-05-17 23:15
Richborough 400 kV DRC5 Circuit | NGET | 2024-05-19 06:08
Lincs Offshore Feeder 1 Cable | OFTO | 2024-05-20 07:33
Sloy - Strathleven 132kV circuit | SHETL | 2024-05-22 14:16
Sloy - Strathleven 132kV circuit | SHETL | 2024-05-22 14:34
Windyhill - Dunoon - Whistlefield - Sloy 132 kV Double Circuit | SHETL | 2024-05-22 14:34
Elvanfoot-Gretna 400kV circuit | SPT | 2024-05-28 20:26
Gwynt-Y-Mor SVC2 | OFTO | 2024-05-30 13:08 |  | To be confirmed
Stornaway - Harris 132kV circuit | SHETL | 2024-05-28 06:45