## Version
Date | Version | Details
2024-06-14 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for June 2024. This file will be updated in July 2024 to reflect the full data set.
2024-07-15 | 2 | This file only contains the indicative reporting associated with data for GC0151 for June 2024. This file is updated in July 2024 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Bramford - Norwich Main 1 400kV Circuit | NGET | 2024-06-04 11:03
West Bolden 275kV Mesh Corner 1, South Shields - West Bolden 275kV circuit & South Shields 275kV Mesh Corner 1 and SGT1 | NGET | 2024-06-05 14:00
Burbo Bank Extension SVC | OFTO | 2024-06-07 12:01 |  | To be confirmed
Mossmorran - Dunfermline - Inverkeithing-2 132kV circuit | SPT | 2024-06-07 14:29
Fort William 132/33kV GT1 circuit | SHETL | 2024-06-10 21:18
Bicker Fen - Spalding North 400kV circuit | NGET | 2024-06-15 14:51
Fetteresso 275/132kV SGT1 circuit | SHETL | 2024-06-16 04:53
Saint Johns Wood 275kV SVC1 | NGET | 2024-06-29 12:40 |  | To be confirmed