## Version
Date | Version | Details
2024-07-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for July 2024. This file will be updated in August 2024 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Barking - Northfleet East - West Thurrock 1 400kV circuit | NGET | 2024-07-02 14:12 | To be published | To be confirmed
Dinorwig 400kV Main Busbar 2 | NGET | 2024-07-04 17:40 |  | To be confirmed
Saltholme SSSC1 and LACK-NORT-1 400kV circuit | NGET | 2024-07-05 23:58 |  | To be confirmed
LACKENBY - GRANGETOWN 1 275KV CCT AND GRANGETOWN SGT1B | NGET | 2024-07-06 00:46 |  | To be confirmed
Glenniston-Mossmoran-Redhouse 132kV circuit | SPT | 2024-07-06 17:47 |  | To be confirmed
DRAX 13kV Shunt Reactor 2 | NGET | 2024-07-08 12:33 |  | To be confirmed
Bramford-Leiston-Sizewell 400kV circuit and Leiston 400/132kV SGT5 | NGET | 2024-07-10 18:03 |  | To be confirmed
Dunoon - Sloy - Whistlefield - Windyhill -2 (SWW2/GL2) 132kV circuit | SHETL | 2024-07-11 22:15 |  | To be confirmed