## Version
Date | Version | Details
2024-08-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for August 2024. This file will be updated in September 2024 to reflect the full data set.
2024-09-16 | 2 | This file only contains the indicative reporting associated with data for GC0151 for August 2024. This file is updated in September 2024 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
An Suidhe - Port Ann - Crossaig (DPR) 132kV circuit | SHETL | 2024-08-01 05:33
Fleet - Lovedean 1 400kV circuit and Mesh Corner 1 and SGT1A | NGET | 2024-08-01 16:58
Markhill - Tralorg 132kV circuit | SPT | 2024-08-07 19:15
Amersham Main - East Claydon - Iver 1 Circuit, Amersham 400/132kV SGT1, Iver 400/275kV SGT6A and 6B | NGET | 2024-08-08 01:27
Staythorpe 132/25kV GT3 | NGET | 2024-08-10 10:53
Kintore - Craigiebuckler (XCN and XCS) 132kV Double circuit | SHETL | 2024-08-12 12:20
Dalchork - Loch Buidhe 2 (DLB2) 132kV circuit | SHETL | 2024-08-15 06:33
Carrington - Daines 2 400kV/Carrington 400/275kV SGT6 and Carrington - Daines 3 400kV circuits | NGET | 2024-08-20 22:27 | To be published
Pembroke - Swansea North 3 400kV circuit and Mesh Corner 1 | NGET | 2024-08-21 05:46
Beatrice Onshore 33kV SVC Plus 2 | OFTO | 2024-08-26 08:29 |  | To be confirmed
Beatrice Onshore 33kV SVC Plus 2 | OFTO | 2024-08-26 14:41 |  | To be confirmed
Twineham Onshore SVC - Statcom 1B | OFTO | 2024-08-27 22:42 |  | To be confirmed
Windyhill - Whistlefield - Dunoon - Sloy East 1 132kV circuit | SHETL | 2024-08-28 19:50