## Version
Date | Version | Details
2024-09-16 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for September 2024. This file will be updated in October 2024 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Galloper Onshore SVC4 | OFTO | 2024-09-04 09:17 |  | To be confirmed
Hartlepool - Hartmoor 275kV circuit | NGET | 2024-09-06 03:28 |  | To be confirmed
Coventry-Nechells 275kV circuit, Coventry SGT4 and Nechells SGT4 | NGET | 2024-09-08 01:03 |  | To be confirmed
Kemsley - Littlebrook - Rowdown 1 400kV circuit | NGET | 2024-09-08 01:52 |  | To be confirmed
Cottam - Keadby 1 400kV Circuit | NGET | 2024-09-11 18:06 |  | To be confirmed
Harker 275kV SVC7 | NGET | 2024-09-13 03:03 |  | To be confirmed
Greater Gabbard Onshore 132kV SVC3 | OFTO | 2024-09-15 09:47 |  | To be confirmed
Willington East SVC8 | NGET | 2024-09-15 18:42 |  | To be confirmed