## Index
Index
Residuals
Averages
Table 1 - Generation Wider Tariffs
Table 2 - Local Substation Tariffs
Table 3 - Local Circuit Tariffs
Table 4 - Offshore Local Tariffs
Table 5 - Demand Tariffs
Table 6 - Contracted and Modelled TEC
Table 7 - Interconnectors
Table 8 - Allowed Revenues
Table 9 - Generation and Demand Revenue Proportions
Table 10 - Charging Bases
Table 11 - Residual Calculation
Table 12 - Small Generator Discount
Table 13 - Generation Tariff Changes
Table 14 - circuits subject to one-off charges
Table 15 - Change in HH Demand Tariffs
Table 16 - NHH Demand Tariff Changes
Table 17 - Impact of Change in TNUoS Revenue
Table 18 - Impact of 2% increase in system and HH in demand
Table 19 - National Grid Revenue Forecast
Table 20 - SP Transmission Revenue Forecast
Table 21 - SHE Transmission Revenue Forecast
Table 22 - Offshore Revenues
Table 23 - Generation TEC Changes
Table 24 - Demand Profiles
Table 27 - Demand Tariffs with breakdown of peak security and year round elements
Figure 1 - Variation on Generation Zonal Tariffs
Figure 2 - HH Demand Tariffs
Figure 3 - NHH Demand Tariffs

## Residuals
Residual | 2017/18 Initial | 2017/18 June | 2017/18 Oct | Change
Generation | -0.92008 | -2.0905 | -1.8914 | 0.19911
Demand | 46.342 | 47.9549 | 46.6073 | -1.3475
Average Tariff | 2017/18 Initial | 2017/18 June | 2017/18 Oct | Change
Generation (£/kW) | 6.689 | 5.8237 | 5.8567 | 0.033028 | N.B. These generation average tariffs include local tariffs
HH Demand (£/kW) | 47.8909 | 49.4944 | 48.2436 | -1.2508
NHH Demand (p/kWh) | 6.5024 | 6.4912 | 6.3259 | -0.16527

## T1
Table 1 - Generation Wider Tariffs
|  | System Peak | Shared Year Round | Not Shared Year Round | Residual | Conventional 80% | Intermittent 40%
Zone | Zone Name | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW)
1 | North Scotland | 1.394 | 11.6039 | 15.3166 | -1.8914 | 24.1023 | 18.0667
2 | East Aberdeenshire | 2.2044 | 5.3418 | 15.3166 | -1.8914 | 19.903 | 15.5619
3 | Western Highlands | 0.71719 | 9.9944 | 15.3166 | -1.8914 | 22.1379 | 17.4229
4 | Skye and Lochalsh | -5.2062 | 9.9944 | 15.1014 | -1.8914 | 15.9993 | 17.2077
5 | Eastern Grampian and Tayside | 1.0025 | 8.8248 | 14.9187 | -1.8914 | 21.0897 | 16.5573
6 | Central Grampian | 3.3392 | 10.0191 | 15.7964 | -1.8914 | 25.2595 | 17.9127
7 | Argyll | 2.3571 | 7.7254 | 24.5278 | -1.8914 | 31.1739 | 25.7266
8 | The Trossachs | 2.8712 | 7.7254 | 14.0067 | -1.8914 | 21.1668 | 15.2055
9 | Stirlingshire and Fife | 0.87257 | 3.3581 | 12.2861 | -1.8914 | 13.9538 | 11.7379
10 | South West Scotlands | 3.3817 | 6.1973 | 13.1911 | -1.8914 | 19.6393 | 13.7787
11 | Lothian and Borders | 3.2117 | 6.1973 | 7.9575 | -1.8914 | 14.2357 | 8.5451
12 | Solway and Cheviot | 0.32508 | 3.2083 | 6.6738 | -1.8914 | 7.6742 | 6.0658
13 | North East England | 3.3116 | 1.9833 | 3.8614 | -1.8914 | 6.8683 | 2.7634
14 | North Lancashire and The Lakes | 1.6504 | 1.9833 | 3.3447 | -1.8914 | 4.6903 | 2.2466
15 | South Lancashire, Yorkshire and Humber | 4.0116 | 0.59555 | 0.14841 | -1.8914 | 2.745 | -1.5048
16 | North Midlands and North Wales | 3.5991 | -0.93252 | 0 | -1.8914 | 0.96173 | -2.2644
17 | South Lincolnshire and North Norfolk | 2.2142 | -0.27241 | 0 | -1.8914 | 0.1049 | -2.0004
18 | Mid Wales and The Midlands | 1.1715 | -0.13221 | 0 | -1.8914 | -0.82562 | -1.9443
19 | Anglesey and Snowdon | 3.7302 | -1.713 | 0 | -1.8914 | 0.46837 | -2.5766
20 | Pembrokeshire | 8.8371 | -3.9419 | 0 | -1.8914 | 3.7922 | -3.4681
21 | South Wales & Gloucester | 5.8828 | -4.0598 | 0 | -1.8914 | 0.74359 | -3.5153
22 | Cotswold | 2.832 | 2.1146 | -6.2683 | -1.8914 | -3.6359 | -7.3138
23 | Central London | -4.2441 | 2.1146 | -5.4131 | -1.8914 | -9.8569 | -6.4586
24 | Essex and Kent | -3.7054 | 2.1146 | 0 | -1.8914 | -3.9051 | -1.0455
25 | Oxfordshire, Surrey and Sussex | -0.85725 | -2.2886 | 0 | -1.8914 | -4.5795 | -2.8068
26 | Somerset and Wessex | -1.3589 | -3.9209 | 0 | -1.8914 | -6.387 | -3.4598
27 | West Devon and Cornwall | 0.0013781 | -5.3581 | 0 | -1.8914 | -6.1765 | -4.0346
|  | Small Generation Discount (£/kW) |  |  | -11.179

## T2
Table 2 - Local Substation Tariffs
Substation Rating | Connection Type | Local Substation Tariff (£/kW)
|  | 132kV | 275kV | 400kV
<1320 MW | No redundancy | 0.18485 | 0.10575 | 0.076193
<1320 MW | Redundancy | 0.40721 | 0.25195 | 0.18324
>=1320 MW | No redundancy |  | 0.33156 | 0.23979
>=1320 MW | Redundancy |  | 0.54434 | 0.39733

## T3
Table 3 - Local Circuit Tariffs
Substation Name | (£/kW) | Substation Name | (£/kW) | Substation Name | (£/kW)
Achruach | 3.9439 | Dinorwig | 2.209 | Kilmorack | 0.18183
Aigas | 0.60216 | Dunlaw Extension | 5.4722 | Langage | 0.60541
An Suidhe | 2.8224 | Brochlock | 1.9737 | Lochay | 0.33692
Arecleoch | 1.9122 | Dumnaglass | 0.58629 | Luichart | 0.52848
Baglan Bay | 0.70022 | Edinbane | -6.298 | Mark Hill | 0.80613
Beinneun Wind Farm | 1.3833 | Earlshaugh Wind Farm | 3.4675 | Margree | 3.3443
Bhlaraidh Wind Farm | 0.59445 | Ewe Hill | 1.2652 | Marchwood | 0.35164
Black Hill | 1.1889 | Farr Windfarm | 2.068 | Millennium Wind | 1.682
BlackCraig Wind Farm | 3.597 | Fallago | 0.55238 | Moffat | 0.15457
Black Law | 1.6088 | Carraig Gheal | 4.05 | Mossford | 2.6514
BlackLaw Extension | 3.4117 | Ffestiniogg | 0.23294 | Nant | 2.3107
Bodelwyddan | 0.10593 | Finlarig | 0.29481 | Necton | 1.0355
Carrington | -0.03373 | Foyers | 0.69327 | Rhigos | 0.093433
Clyde (North) | 0.10097 | Galawhistle | 0.77921 | Rocksavage | 0.016288
Clyde (South) | 0.11677 | Glendoe | 1.6935 | Saltend | 0.31391
Corriegarth | 3.4701 | Ulziside | 9.651 | South Humber Bank | 0.86722
Corriemoillie | 1.5323 | Gordonbush | 0.37642 | Spalding | 0.2552
Coryton | 0.047766 | Griffin Wind | -0.84643 | Kilbraur | 0.23772
Cruachan | 1.6785 | Hadyard Hill | 2.5484 | Stronelairg | 1.3337
Crystal Rig | 0.47244 | Harestanes | 2.3067 | Strathy Wind | 2.0204
Culligran | 1.5957 | Hartlepool | 0.55351 | Wester Dodds | 0.78573
Deanie | 2.6216 | Hedon | 0.16658 | Whitelee | 0.097713
Dersalloch | 2.2178 | Invergarry | 1.3065 | Whitelee Extension | 0.27164
Didcot | 0.48094 | Kilgallioch | 0.96899

## T4
Table 4 - Offshore Local Tariffs
Offshore Generator | Tariff Component (£/kW)
| Substation | Circuit | ETUoS
Barrow | 7.449 | 38.9731 | 0.96775
Greater Gabbard | 13.966 | 32.0924 | 0
Gunfleet | 16.1212 | 14.8005 | 2.7663
Gwynt Y Mor | 17.0083 | 16.7553 | 0
Lincs | 13.9209 | 54.5035 | 0
London Array | 9.4763 | 32.2758 | 0
Ormonde | 23.0282 | 42.8995 | 0.34187
Robin Rigg East | -0.42599 | 28.2183 | 8.7461
Robin Rigg West | -0.42599 | 28.2183 | 8.7461
Sheringham Shoal | 22.2493 | 26.0932 | 0.56719
Thanet | 16.9436 | 31.572 | 0.76005
Walney 1 | 19.8745 | 39.5799 | 0
Walney 2 | 19.7299 | 39.9286 | 0
West of Duddon Sands | 7.669 | 37.8418 | 0
Westermost Rough | 16.1484 | 27.3161 | 0
Humber Gateway | 13.5347 | 30.5388 | 0

## T5
Table 5 - Demand Tariffs
Zone | Zone Name | HH Demand Tariff (£/kW) | NHH Demand Tariff (p/kWh)
1 | Northern Scotland | 29.3662 | 4.9843
2 | Southern Scotland | 30.1935 | 4.8309
3 | Northern | 39.072 | 5.746
4 | North West | 44.5497 | 6.0758
5 | Yorkshire | 44.2703 | 5.942
6 | N Wales & Mersey | 46.5018 | 7.007
7 | East Midlands | 47.3093 | 6.5514
8 | Midlands | 49.061 | 6.5361
9 | Eastern | 48.8394 | 6.8716
10 | South Wales | 45.2203 | 5.9693
11 | South East | 51.6858 | 6.7527
12 | London | 54.1392 | 6.9461
13 | Southern | 52.8211 | 6.8282
14 | South Western | 51.6145 | 6.8681

## T6
Table 6 - Contracted and Modelled TEC
(GW) | 2016/17 | 2017/18 Initial forecast | 2017/18 June Forecast | 2017/18 Oct Forecast | 2017/18 Draft Tariffs | 2017/18 Final Tariffs
Contracted TEC | 69.865 | 73.4422 | 73.0928 | 72.1587
Modelled Best ViewTEC | 69.865 | 71.0949 | 73.7969 | 72.5445

## T7
Table 7 - Interconnectors
Interconnector | Site | Interconnected System | Generation Zone | Transport Model (Generation MW) Peak | Transport Model (Generation MW) Year Round | Charging Base (Generation MW)
IFA Interconnector | Sellindge 400kV | France | 24 | 0 | 2000 | 0
ElecLink | Sellindge 400kV | France | 24 | 0 | 1000 | 0
Britned | Grain 400kV | Netherlands | 24 | 0 | 1200 | 0
East - West | Deesside 400kV | Republic of Ireland | 16 | 0 | 505 | 0
Moyle | Auchencrosh 275kV | Northern Ireland | 10 | 0 | 80 | 0

## T8
Table 8 - Allowed Revenues
£m Nominal Value | 2016/17 TNUoS Revenue | 2017/18 TNUoS Revenue
| Jan 2016 Final | Feb 2016 Initial View | June 2016 Update | Oct 2016 Update | Dec 2016 Draft | Jan 2017 Final
National Grid
Price controlled revenue | 1828.2265 | 1806.4483 | 1811.2148 | 1750.4278
Less income from connections | 42.677 | 46.4971 | 46.4971 | 44.09
Income from TNUoS | 1785.5495 | 1759.9512 | 1764.7177 | 1706.3378
Scottish Power Transmission
Price controlled revenue | 306.44 | 347.0504 | 340.9657 | 327.6591
Less income from connections | 11.816 | 13.9122 | 13.9714 | 11.368
Income from TNUoS | 294.624 | 333.1382 | 326.9944 | 316.2911
SHE Transmission
Price controlled revenue | 326.217 | 328.513 | 327.2822 | 305.8343
Less income from connections | 3.38 | 3.589 | 3.589 | -13.6078
Income from TNUoS | 322.837 | 324.924 | 323.6932 | 319.4422
Offshore | 260.7893 | 276.5029 | 279.2352 | 293.0216
Network Innovation Competition | 44.8549 | 40.5 | 40.5 | 40.5
Total to Collect from TNUoS | 2708.6547 | 2735.0162 | 2735.1405 | 2675.5926

## T9
Table 9 - Generation and Demand Revenue Proportions
|  | 2016/17 | 2017/18 Initial | 2017/18 June | 2017/18 Oct
CAPEC | Limit on generation tariff (€/MWh) | 2.5 | 2.5 | 2.5 | 2.5
y | Error Margin | 8.2% | 8.2% | 21% | 21%
ER | Exchange Rate (€/£) | 1.36 | 1.34 | 1.27 | 1.27
MAR | Total Revenue (£m) | 2708.6534 | 2735.0162 | 2735.1404 | 2675.5926
GO | Generation Output (TWh) | 268.6973 | 262.6667 | 250.95 | 250.95
G | % of revenue from generation | 16.74% | 16.45% | 14.27% | 14.59%
D | % of revenue from demand | 83.26% | 83.55% | 85.73% | 85.41%
G.R | Revenue recovered from generation (£m) | 453.4266 | 449.8658 | 390.2569 | 390.2569
D.R | Revenue recovered from demand (£m) | 2255.2267 | 2285.1504 | 2344.8835 | 2285.3357

## T10
Table 10 - Charging Bases
Charging Base | 2016/17 | 2017/18 Initial | 2017/18 June | 2017/18 Oct
Generation (GW) | 62.8589 | 67.255 | 67.0119 | 66.634
Total Average Triad (GW) | 49.8 | 49.2977 | 49.1008 | 49.1008
HH Demand Average Triad (GW) | 13.1005 | 16.2999 | 16.4072 | 16.4072
NHH Demand (4pm-7pm TWh) | 26.1468 | 23.1382 | 23.6138 | 23.6138

## T11
Table 11 - Residual Calculation
|  | 2016/17 | 2017/18 Initial | 2017/18 June | 2017/18 October
RG | Generator residual tariff (£/kW) | 0.50578 | -0.92008 | -2.0905 | -1.8914
RD | Demand residual tariff (£/kW) | 45.3338 | 46.342 | 47.9549 | 46.6073
G | Proportion of revenue recovered from generation (%) | 16.74% | 16.45% | 14.27% | 14.59%
D | Proportion of revenue recovered from demand (%) | 83.26% | 83.55% | 85.73% | 85.41%
R | Total TNUoS revenue (£m) | 2708.6547 | 2735.0162 | 2735.1405 | 2675.5926
ZG | Revenue recovered from the locational element of generator tariffs (£m) | 191.8864 | 266.2523 | 275.3015 | 258.923
ZD | Revenue recovered from the locational element of demand tariffs (£m) | -2.3978 | 0.59669 | -9.7407 | -3.1231
O | Revenue recovered from offshore local tariffs (£m) | 200.5762 | 212.9072 | 223.3882 | 225.0802
LG | Revenue recovered from onshore local substation tariffs (£m) | 15.9165 | 17.0326 | 17.6116 | 17.6477
SG | Revenue recovered from onshore local circuit tariffs (£m) | 13.255 | 15.5535 | 14.0439 | 14.6367
BG | Generator charging base (GW) | 62.8589 | 67.255 | 67.0119 | 66.634
BD | Demand charging base (GW) | 49.8 | 49.2977 | 49.1008 | 49.1008

## T12
Table 12 - Small Generator Discount
Small Generator Discount Calculation
Generator Residual (£/kW) | G | -1.8914
Demand Residual (£/kW) | D | 46.6073
Small Generator Discount (£/kW) | T = (G + D)/4 | 11.179
Forecast Small Generator Volume (kW) | V | 2319260
2017/18 SGD cost (£) | V x T | 25926982.0281
Prior year reconcilation (£) | R | 0
Total SGD Cost (£) | C = (V x T) + R | 25926982.0281
Total System Triad Demand (kW) | TD | 49100817.9959
Total HH Triad Demand (kW) | HHD | 16407205.1073
Total NHH Consumption (kWh) | NHHD | 23613824691.5988
Increase in HH Demand tariff (£/kW) | HHT = C/TD | 0.52804
Total Cost to HH Customers (£) | HHC = HHT * HHD | 8663589.1073
Increase in NHH Demand tariff (p/kWh) | NHHT = (C - HHC)/NHHD | 0.073107
Total Cost to NHH Customers (£) | NHHC = NHHT * NHHD | 17263392.9208

## T13 & Fig 1
Table 13 - Generation Tariff Changes | [8 empty] | Figure 1 - Variation on Generation Zonal Tariffs
Wider Generation Tariffs (£/kW)
|  | Conventional 80% |  |  | Intermittent 40% |  |  | Change in Residual (£/kW)
Zone | Zone Name | 2017/18 June Forecast (£/kW) | 2017/18 Oct Forecast (£/kW) | Change (£/kW) | 2017/18 June Forecast (£/kW) | 2017/18 Oct Forecast (£/kW) | Change (£/kW)
1 | North Scotland | 23.3932 | 24.1023 | 0.70917 | 19.1314 | 18.0667 | -1.0647 | 0.19911
2 | East Aberdeenshire | 19.5167 | 19.903 | 0.38637 | 16.5832 | 15.5619 | -1.0213 | 0.19911
3 | Western Highlands | 21.8214 | 22.1379 | 0.31652 | 18.3168 | 17.4229 | -0.89388 | 0.19911
4 | Skye and Lochalsh | 15.8174 | 15.9993 | 0.18192 | 18.0245 | 17.2077 | -0.81676 | 0.19911
5 | Eastern Grampian and Tayside | 21.3331 | 21.0897 | -0.24341 | 17.9067 | 16.5573 | -1.3494 | 0.19911
6 | Central Grampian | 24.9294 | 25.2595 | 0.33014 | 18.8512 | 17.9127 | -0.93853 | 0.19911
7 | Argyll | 30.951 | 31.1739 | 0.22283 | 26.7915 | 25.7266 | -1.065 | 0.19911
8 | The Trossachs | 20.7728 | 21.1668 | 0.394 | 16.2002 | 15.2055 | -0.99474 | 0.19911
9 | Stirlingshire and Fife | 13.6249 | 13.9538 | 0.32886 | 12.5695 | 11.7379 | -0.83151 | 0.19911
10 | South West Scotlands | 19.2524 | 19.6393 | 0.38694 | 14.9275 | 13.7787 | -1.1488 | 0.19911
11 | Lothian and Borders | 14.8923 | 14.2357 | -0.65663 | 9.3549 | 8.5451 | -0.80982 | 0.19911
12 | Solway and Cheviot | 9.2549 | 7.6742 | -1.5807 | 7.1457 | 6.0658 | -1.0799 | 0.19911
13 | North East England | 7.6467 | 6.8683 | -0.77845 | 3.2063 | 2.7634 | -0.44298 | 0.19911
14 | North Lancashire and The Lakes | 4.1041 | 4.6903 | 0.58624 | 1.6686 | 2.2466 | 0.57808 | 0.19911
15 | South Lancashire, Yorkshire and Humber | 2.978 | 2.745 | -0.23294 | -1.6973 | -1.5048 | 0.1925 | 0.19911
16 | North Midlands and North Wales | 1.0776 | 0.96173 | -0.11586 | -2.3292 | -2.2644 | 0.064777 | 0.19911
17 | South Lincolnshire and North Norfolk | -0.32866 | 0.1049 | 0.43356 | -2.101 | -2.0004 | 0.10066 | 0.19911
18 | Mid Wales and The Midlands | -0.96962 | -0.82562 | 0.144 | -2.0091 | -1.9443 | 0.064804 | 0.19911
19 | Anglesey and Snowdon | 0.93388 | 0.46837 | -0.46551 | -2.3106 | -2.5766 | -0.266 | 0.19911
20 | Pembrokeshire | 3.0608 | 3.7922 | 0.73145 | -3.8055 | -3.4681 | 0.33741 | 0.19911
21 | South Wales & Gloucester | 0.35139 | 0.74359 | 0.3922 | -3.7842 | -3.5153 | 0.26893 | 0.19911
22 | Cotswold | -3.7812 | -3.6359 | 0.14522 | -7.4036 | -7.3138 | 0.089741 | 0.19911
23 | Central London | -10.3832 | -9.8569 | 0.52637 | -6.7859 | -6.4586 | 0.32722 | 0.19911
24 | Essex and Kent | -4.2826 | -3.9051 | 0.37744 | -1.3543 | -1.0455 | 0.30878 | 0.19911
25 | Oxfordshire, Surrey and Sussex | -5.6593 | -4.5795 | 1.0798 | -3.2194 | -2.8068 | 0.41258 | 0.19911
26 | Somerset and Wessex | -6.728 | -6.387 | 0.34094 | -3.7237 | -3.4598 | 0.26395 | 0.19911
27 | West Devon and Cornwall | -6.3979 | -6.1765 | 0.22145 | -4.2706 | -4.0346 | 0.23601 | 0.19911

## T14
Table 14 - Circuits subject to one-off charges
Node 1 | Node 2 | Actual Parameters | Amendment in Transport Model | Generator
Wishaw 132kV | Blacklaw 132kV | 11.46km of Cable | 11.46km of OHL | Blacklaw
East Kilbride South 275kV | Whitelee 275kV | 6km of Cable | 6km of OHL | Whitelee
East Kilbride South 275kV | Whitelee Extension 275kV | 16.68km of Cable | 16.68km of OHL | Whitelee Extension
Elvanfoot 275kV | Clyde North 275kV | 6.2km of Cable | 6.2km of OHL | Clyde North
Elvanfoot 275kV | Clyde South 275kV | 7.17km of Cable | 7.17km of OHL | Clyde South
Crystal Rig 132kV | Western Dod 132kV | 3.9km of Cable | 3.9km of OHL | Aikengall II
Farigaig 132kV | Dunmaglass 132kV | 4km Cable | 4km OHL | Dunmaglass
Coalburn 132kV | Galawhistle 132kV | 9.7km cable | 9.7km OHL | Galawhistle II
Melgarve 132kV | Stronelairg 132kV | 10km cable | 10km OHL | Stronelairg
Moffat 132kV | Harestanes 132kV | 15.33km cable | 15.33km OHL | Harestanes

## T15 & Fig 2
Table 15 - Change in HH Demand Tariffs | [5 empty] | Figure 2 - HH Demand Tariffs
Zone | Zone Name | 2017/18 June (£/kW) | 2017/18 Oct (£/kW) | Change (£/kW) | Change in Residual (£/kW)
1 | Northern Scotland | 30.9536 | 29.3662 | -1.5874 | -1.3475
2 | Southern Scotland | 30.8797 | 30.1935 | -0.68626 | -1.3475
3 | Northern | 39.4017 | 39.072 | -0.32965 | -1.3475
4 | North West | 45.4716 | 44.5497 | -0.92194 | -1.3475
5 | Yorkshire | 45.3303 | 44.2703 | -1.0601 | -1.3475
6 | N Wales & Mersey | 47.1989 | 46.5018 | -0.69706 | -1.3475
7 | East Midlands | 48.5752 | 47.3093 | -1.2658 | -1.3475
8 | Midlands | 50.0365 | 49.061 | -0.97554 | -1.3475
9 | Eastern | 50.5028 | 48.8394 | -1.6634 | -1.3475
10 | South Wales | 47.166 | 45.2203 | -1.9456 | -1.3475
11 | South East | 53.4749 | 51.6858 | -1.7891 | -1.3475
12 | London | 55.9535 | 54.1392 | -1.8143 | -1.3475
13 | Southern | 54.4544 | 52.8211 | -1.6333 | -1.3475 | Table 14
14 | South Western | 53.0466 | 51.6145 | -1.4321 | -1.3475

## T16 & Fig 3
Table 16 - NHH Demand Tariff Changes |  |  |  |  | Figure 3 - NHH Demand Tariffs
Zone | Zone Name | 2017/18 June (p/kWh) | 2017/18 October (p/kWh) | Change (p/kWh)
1 | Northern Scotland | 5.2518 | 4.9843 | -0.26751 | 0
2 | Southern Scotland | 4.939 | 4.8309 | -0.10812
3 | Northern | 5.7937 | 5.746 | -0.047744
4 | North West | 6.2017 | 6.0758 | -0.1259
5 | Yorkshire | 6.0846 | 5.942 | -0.14261
6 | N Wales & Mersey | 7.111 | 7.007 | -0.10403
7 | East Midlands | 6.7267 | 6.5514 | -0.17529
8 | Midlands | 6.6665 | 6.5361 | -0.13038
9 | Eastern | 7.1055 | 6.8716 | -0.23388
10 | South Wales | 6.2266 | 5.9693 | -0.25726
11 | South East | 6.987 | 6.7527 | -0.23429
12 | London | 7.1797 | 6.9461 | -0.2335
13 | Southern | 7.04 | 6.8282 | -0.21181
14 | South Western | 7.0591 | 6.8681 | -0.19096

## T17 and T18 Sensitivities
Sensitivities
Table 17 – Impact of change in TNUoS Revenue |  | Table 18 - Impact of 2% increase in system and HH in demand
£50m increase in revenue recovered from TNUoS |  | Change in Demand |  | Change in Tariff
Change in Generation Tariffs (£/kW) | 0 | Peak Demand (MW) | 982
Change in HH Demand Tariffs (£/kW) | 1.02 | HH Demand (MW) | 328 | HH Tariff (£/kW) | -0.94
Change in NHH Demand Tariffs (p/kWh) | 0.14 | NHH Demand (TWh) | 0 | NHH Tariff (£/kWh) | 0

## T19
Table 19 - National Grid Revenue Forecast
2016-10-01
Description |  | Licence Term | Yr t-1 | Yr t | Yr t+1 |  | Notes
Regulatory Year |  |  | 2014/15 | 2015/16 | 2016/17 | 2017/18
Actual RPI |  |  | 256.6667 |  |  |  | April to March average
RPI Actual |  | RPIAt | 1.19 |  |  |  | Office of National Statistics
Assumed Interest Rate |  | It | 0.5% | 0.7% | 95% | 0.2% | Bank of England Base Rate
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 1443.829 | 1475.593 | 1571.387 | 1554.942 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | -5.5 | -114.4 | -185.4 | -250 | Determined by Ofgem/Licensee forecast
RPI True Up | A3 | TRUt | -0.52729 | 4.7019 | -19.9214 | -31.405 | Licensee Actual/Forecast
Prior Calendar Year RPI Forecast |  | GRPIFc-1 | 3.1% | 2.5% | 1% | 1.7% | HM Treasury Forecast then 2.8%
Current Calendar Year RPI Forecast |  | GRPIFc | 3.1% | 2.4% | 2.1% | 2.8% | HM Treasury Forecast then 2.8%
Next Calendar Year RPI forecast |  | GRPIFc+1 | 3% | 3.2% | 3% | 3% | HM Treasury Forecast then 2.8%
RPI Forecast | A4 | RPIFt | 1.2051 | 1.2267 | 1.233 | 1.261 | Using HM Treasury Forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 1732.6948 | 1675.4788 | 1684.3588 | 1605.9302
Pass-Through Business Rates | B1 | RBt |  | 1.2353 | 1.5001 | 2.6683 | Licensee Actual/Forecast
Temporary Physical Disconnection | B2 | TPDt | 0.14395 | 0.012338 | 0.090478 | 0 | Licensee Actual/Forecast
Licence Fee | B3 | LFt |  | 2.0207 | 2.6934 | 3.1626 | Licensee Actual/Forecast
Inter TSO Compensation | B4 | ITCt |  | 3.8222 | 2.6745 | 0.4947 | Licensee Actual/Forecast
Termination of Bilateral Connection Agreements | B5 | TERMt | 0 | 0 | 0 | 0 | Does not affect TNUoS
SP Transmission Pass-Through | B6 | TSPt | 312.1791 | 295.6646 | 294.6234 | 316.2911 | 14/15 & 15/16 & 16/17 Charge setting. Later from TSP Calculation.
SHE Transmission Pass-Through | B7 | TSHt | 213.9595 | 338.2073 | 322.8363 | 319.4422 | 14/15 & 15/16 & 16/17 Charge setting. Later from TSH Calculation.
Offshore Transmission Pass-Through | B8 | TOFTOt | 218.3804 | 248.357 | 260.7893 | 293.0216 | 14/15 & 15/16 & 16/17 Charge setting. Later from OFTO Calculation.
Embedded Offshore Pass-Through | B9 | OFETt | 0.43734 | 0.64942 | 0.6545 | 0.65372 | Licensee Actual/Forecast
Pass-Through Items [B=B1+B2+B3+B4+B5+B6+B7+B8+B9] | B | PTt | 745.1003 | 889.9689 | 885.862 | 935.7341
Reliability Incentive Adjustment | C1 | RIt |  | 2.3616 | 3.9206 | 4.0063 | Licensee Actual/Forecast/Budget
Stakeholder Satisfaction Adjustment | C2 | SSOt |  | 8.6931 | 10.1235 | 8.5741 | Licensee Actual/Forecast/Budget
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt |  | 2.8092 | 2.6617 | 3.027 | Licensee Actual/Forecast/Budget
Awarded Environmental Discretionary Rewards | C4 | EDRt |  | 0 | 2.0216 | 0 | Only includes EDR awarded to licensee to date
Outputs Incentive Revenue [C=C1+C2+C3+C4] | C | OIPt | 0 | 13.8638 | 18.7274 | 15.6074
Network Innovation Allowance | D | NIAt | 10.916 | 10.5555 | 10.6115 | 10.1174 | Licensee Actual/Forecast/Budget
Network Innovation Competition | E | NICFt | 17.8492 | 18.7607 | 44.8549 | 40.5 | Sum of NICF awards determined by Ofgem/Forecast by National Grid
Future Environmental Discretionary Rewards | F | EDRt |  |  | 0 | 2 | Sum of future EDR awards forecast by National Grid
Transmission Investment for Renewable Generation | G | TIRGt | 15.9973 | 15.699 | 0 | 0 | Licensee Actual/Forecast
Scottish Site Specific Adjustment | H | DISt | 1.9849 | 0.791 | 2.8649 | 4.8957 | Licensee Actual/Forecast
Scottish Terminations Adjustment | I | TSt | -0.28187 | 0.10155 | 0.072929 | 0 | Licensee Actual/Forecast
Correction Factor | K | -Kt |  | 56.4238 | 103.978 | 104.8978 | Calculated by Licensee
Maximum Revenue [M= A+B+C+D+E+F+G+H+I+K] | M | TOt | 2524.2607 | 2681.6431 | 2751.3304 | 2719.6826
Termination Charges | B5 |  | 0 | 0 | 0 | 0
Pre-vesting connection charges | P |  | 46.9542 | 44.9552 | 42.677 | 44.09 | Licensee Actual/Forecast
TNUoS Collected Revenue [T=M-B5-P] | T |  | 2477.3066 | 2636.6879 | 2708.6534 | 2675.5926
Final Collected Revenue | U | TNRt | 2375.8525 |  |  |  | Licensee Actual/Forecast
Forecast percentage change to Maximum Revenue M |  |  | 0% | 6.235% | 2.599% | -1.15%
Forecast percentage change to TNUoS Collected Revenue T |  |  | 0% | 6.434% | 2.729% | -1.221%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments to all Transmission Owners are inlcuded in National Grid Maximum Revenue and are included here
2014/15 and 2015/16 pass through to other networks is based on forecast at time of tariff setting

## T20
Table 20 - SP Transmission Revenue Forecast
Scottish Power Transmission Revenue Forecast |  |  | Updated: | October
Description |  | Licence Term | Yr t-1 | Yr t | Yr t+1 |  | Notes
|  |  | 2014/15 | 2015/16 | 2016/17
Actual RPI |  |  | 256.667 |  | 0 |  | April to March average
RPI Actual |  | RPIAt | 1.19 |  | 0 |  | Office of National Statistics
Assumed Interest Rate |  | It | 0.5% | 0.625% | 1.125% | 0.2% | National Grid forecast
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 236.95 | ` | 244.655 | 249.439
Price Control Financial Model Iteration Adjustment | A2 | MODt | 6.2 | -20.3 | -21.8 | -13.545
RPI True Up | A3 | TRUt | -0.1 | 0.847 | -3.85 | -5.8095
RPI Forecast | A4 | RPIFt | 1.2051 | 1.2266 | 1.2327 | 1.261 | National Grid forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 292.8996 | -23.861 | 269.9675 | 290.1366
Pass-Through Business Rates | B1 | RBt | 0 | -20.24 | -4.5 | -4.6645
Temporary Physical Disconnection | B2 | TPDt | 0 | 0 | 0 | 0
Pass-Through Items [B=B1+B2] | B | PTt | 0 | -20.24 | -4.5 | -4.6645
Reliability Incentive Adjustment | C1 | RIt | 0 | 2.555 | 3 | 2.9075
Stakeholder Satisfaction Adjustment | C2 | SSOt | 0 | 1.6969 | 2.1 | 0.92125
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 0 | -0.16303 | 0.1 | 0.19027
Awarded Environmental Discretionary Rewards | C4 | EDRt | 0 | 0 | 0 | 0.50501
Financial Incentive for Timely Connections Output | C5 | -CONADJt | 0 | -0.05531 | 0 | 0
Outputs Incentive Revenue [C=C1+C2+C3+C4+C5] | C | OIPt | 0 | 4.0336 | 5.2 | 4.524
Network Innovation Allowance | D | NIAt | 0.7 | 1 | 1 | 1.0575
Transmission Investment for Renewable Generation | G | TIRGt | 32.1616 | 38.09 | 31.7 | 32.7806
Correction Factor | K | -Kt | 0 | -4.94 | 3 | 3.8249
Maximum Revenue (M= A+B+C+D+G+J+K] | M | TOt | 325.7611 | -5.9175 | 306.44 | 327.6591
Excluded Services | P | EXCt | 7.7 | 8 | 9.4 | 11.332 | Post BETTA Connection Charges
Site Specifc Charges | S | EXSt | 18.5 | 18.8 | 21.8 | 22.7 | Pre & Post BETTA Connection Charges
TNUoS Collected Revenue (T=M+P-S) | T | TSPt | 314.9611 | -16.7175 | 294.04 | 316.2911 | General System Charge
Final Collected Revenue | U | TNRt | 312.2 | 295.6 | 293.9675
Forecast percentage change to TNUoS Collected Revenue T |  |  | 0% | -105.3% | -1859% | 7.567%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of SPT Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein. SPT offers this data without prejudice and cannot be held responsible for any loss that might be attributed to the use of this data. SPT does not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
The base revenue forecasts for the RIIO-ET1 period (2014/15 to 2018/19, inclusive) reflect the figures authorised by Ofgem in the the RIIO-ET1 Final Proposals.
Within the bounds of commercial confidentiality, this forecast provides as much information as possible.
This forecast contains as much information as can be currently made available. Generally, allowances determined by Ofgem are shown; and we also include forecasts for anticipated future Ofgem determinations in respect of the Iteration adjustment reflecting our latest view of totex, changes to allowed totex and cost of debt.
This respects commercial confidentiality and disclosure considerations.
Note that actual revenues may vary from those currently forecast.
All £ figures are in money of the day
Information provided in £m to one decimal place
Assumptions
It is assumed that there will be one set of price changes per year effective on 1st April.

## T21
Table 21 - SHE Transmission Revenue Forecast
SHE Transmission Revenue Forecast |  |  | Updated: | October
Description |  | Licence Term | Yr t-1 | Yr t | Yr t+1 |  | Notes
|  |  | 2014/15 | 2015/16 | 2016/17 | 2017/18
Actual RPI |  |  | 256.6667 |  | 0 |  | April to March average
RPI Actual |  | RPIAt | 1.19 |  | 0 |  | Office of National Statistics
Assumed Interest Rate |  | It | 0.5% | 0.625% | 1.125% | 1.125% | National Grid forecast
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 111.515 | 124.139 | 123.635 | 119.597 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | 8.7 | 85.2 | 87.612 | 51.6
RPI True Up | A3 | TRUt | -0.002 | 0.522 | -2.565 | -6.077
RPI Forecast | A4 | RPIFt | 1.2051 | 1.2266 | 1.2327 | 1.261 | SHET figures changed to NG forecast so all Tos are consistent.
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 144.8665 | 257.4258 | 257.2492 | 208.2163
Pass-Through Business Rates | B1 | RBt | 0 | -0.697 | -15.969 | 12.225
Temporary Physical Disconnection | B2 | TPDt | 0 | 0.555 | 0.132 | 0.103
Pass-Through Items [B=B1+B2] | B | PTt | 0 | -0.142 | -15.837 | 12.328
Reliability Incentive Adjustment | C1 | RIt |  | 1.178 | 0.189 | 1.644
Stakeholder Satisfaction Adjustment | C2 | SSOt |  | 1.605 | 2.285 | 0.855
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt |  | -0.271 | -0.172 | -0.059
Awarded Environmental Discretionary Rewards | C4 | EDRt |  | 0 | 0 | 0
Financial Incentive for Timely Connections Output | C5 | -CONADJt |  | 0 | 0 | 0
Outputs Incentive Revenue [C=C1+C2+C3+C4+C5] | C | OIPt | 0 | 2.512 | 2.302 | 2.44
Network Innovation Allowance | D | NIAt | 1.257 | 1.674 | 1.674 | 1.44
Transmission Investment for Renewable Generation | G | TIRGt | 72.198 | 81.261 | 79.887 | 83.524
Compensatory Payments Adjustment | J | SHCPt | 0 | 0.398 | 0 | 0
Correction Factor | K | -Kt |  | -1.668 | 0.942 | -2.114
Maximum Revenue (M= A+B+C+D+G+J+K] | M | TOt | 218.3215 | 341.4608 | 326.217 | 305.8343
Excluded Services | P | EXCt | 0 | 0 | 0 | 17.0161 | Post BETTA Connection Charges
Site Specifc Charges | S | EXSt | 3.465 | 3.472 | 3.4892 | 3.4082 | Post-Vesting, Pre-BETTA Connection Charges
TNUoS Collected Revenue (T=M+P-S) | T | TSHt | 214.8565 | 337.9888 | 322.7278 | 319.4422 | General System Charge
Final Collected Revenue | U | TNRt | 217.425 | 0 | 0 | 0
Forecast percentage change to TNUoS Collected Revenue T |  |  | 0% | 57.31% | -4.515% | 0.9319%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of SHET Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein. SHET offers these data without prejudice and cannot be held responsible for any loss that might be attributed to the use of these data. SHET does not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
The base revenue forecasts for the RIIO-ET1 period (2014/15 to 2018/19, inclusive) reflect the figures authorised by Ofgem in the RIIO-ET1 Final Proposals.
Within the bounds of commercial confidentiality, this forecast provides as much information as possible.
This forecast contains as much information as can be currently made available. Generally, allowances determined by Ofgem are shown; whilst those for which Ofgem determinations are expected are not.
This respects commercial confidentiality and disclosure considerations.
Note that actual revenues may vary from those currently forecast.
All £ figures are in money of the day
Information provided in £m to one decimal place
Assumptions
It is assumed that there will be one set of price changes per year effective on 1st April.

## T22
Table 22 - Offshore Revenues
Offshore Transmission Revenue Forecast | 2016-10-14
Description | Yr t-1 | Yr t | Yr t+1 | Yr t+2 | Notes
Regulatory Year | 2014/15 | 2015/16 | 2016/17 | 2017/18
Barrow | 5.4759 | 5.6051 | 5.6563 | 5.9301
Gunfleet | 6.8532 | 7.0145 | 7.0806 | 7.5061
Walney 1 | 12.4911 | 12.7864 | 12.9018 | 13.1227
Robin Rigg | 7.7095 | 7.8914 | 7.9933 | 8.5313
Walney 2 | 12.927 | 13.2322 | 12.5159 | 13.5791
Sheringham Shoal | 18.9241 | 19.4989 | 19.7277 | 20.0098
Ormonde | 11.5705 | 11.8431 | 11.9522 | 12.294
Greater Gabbard | 25.9995 | 26.6193 | 26.8714 | 27.3107
London Array | 37.573 | 39.2121 | 39.4987 | 38.4413
Thanet | 78.8567 | 17.5171 | 15.6998 | 17.891
Lincs |  | 25.5634 | 26.687 | 27.4202
Gwynt y mor |  | 26.2836 | 23.6461 | 27.0235
West of Duddon Sands |  | 35.29 | 21.2739 | 21.9396
Humber Gateway | 0 |  | 29.2845 | 12.7454 | Current revenues plus indexation
Westermost Rough | 0 |  |  | 12.9867
Forecast to asset transfer to OFTO in 2017/18 |  |  |  | 26.2902 | National Grid Forecast
Offshore Transmission Pass-Through (B7) | 218.3804 | 248.357 | 260.7893 | 293.0216
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders

## T23 TEC changes
Table 23 - Generation TEC Changes
| Power Station | Node | MW Change | Zone
| Barry Power Station | ABTH20 | 142 | 21
| Clyde North | CLYN2Q | 36.7 | 11
| Clyde South | CLYS2R | -54 | 11
| Crookedstane Windfarm | CLYS2R | 9.2 | 11
| Dungeness B | DUNG40 | 10 | 24
| Dunmaglass Wind Farm | DUNM10 | -94 | 1
| Earlshaugh Wind Farm | EHAU10 | -55 | 11
| Keadby | KEAD40 | 20 | 16
| Keadby II | KEAD40 | -710 | 16
| Kings Lynn A | WALP40_EME | -281 | 17
| Whitelee Extension | WLEX20 | -32 | 10

## T24
Table 24 - Demand Profiles
|  | 2017/18 June |  |  |  | 2017/18 October
Zone | Zone Name | Locational Model Demand (MW) | Tariff model Peak Demand (MW) | Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh) | Locational Model Demand (MW) | Tariff model Peak Demand (MW) | Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh)
1 | Northern Scotland | 679 | 674.9237 | -501.281 | 0.69066 | 683.4116 | 674.9237 | -501.281 | 0.69066
2 | Southern Scotland | 2967.9371 | 3339.4674 | 713.9992 | 1.637 | 3272.2782 | 3339.4674 | 713.9992 | 1.637
3 | Northern | 2604 | 2271.5759 | 616.8198 | 1.1243 | 2608.6194 | 2271.5759 | 616.8198 | 1.1243
4 | North West | 3503 | 4029.5466 | 1421.969 | 1.9123 | 3504.4356 | 4029.5466 | 1421.969 | 1.9123
5 | Yorkshire | 4650 | 3687.6621 | 1334.0789 | 1.7542 | 4650.7618 | 3687.6621 | 1334.0789 | 1.7542
6 | N Wales & Mersey | 2687 | 2457.4444 | 623.3851 | 1.216 | 2687.6257 | 2457.4444 | 623.3851 | 1.216
7 | East Midlands | 5138 | 4574.1376 | 1596.8763 | 2.15 | 5137.05 | 4574.1376 | 1596.8763 | 2.15
8 | Midlands | 4500 | 4313.6685 | 1754.3134 | 1.9219 | 4497.62 | 4313.6685 | 1754.3134 | 1.9219
9 | Eastern | 5848 | 6093.1532 | 1818.4413 | 3.0377 | 5849.5501 | 6093.1532 | 1818.4413 | 3.0377
10 | South Wales | 1967 | 1724.6417 | 653.0043 | 0.81228 | 1968.4491 | 1724.6417 | 653.0043 | 0.81228
11 | South East | 3627 | 3486.957 | 1107.5683 | 1.8223 | 3626.1969 | 3486.957 | 1107.5683 | 1.8223
12 | London | 5210 | 4778.7764 | 2470.2807 | 1.8007 | 5317.1114 | 4778.7764 | 2470.2807 | 1.8007
13 | Southern | 5938.4255 | 5334.7701 | 2094.656 | 2.5083 | 5548.7489 | 5334.7701 | 2094.656 | 2.5083
14 | South Western | 2604 | 2334.0933 | 703.0938 | 1.2262 | 2604.2422 | 2334.0933 | 703.0938 | 1.2262
Total |  | 51923.3626 | 49100.818 | 16407.2051 | 23.6138 | 51956.1009 | 49100.818 | 16407.2051 | 23.6138

## T27
Table 27 - Demand Tariffs with breakdown of peak security and year round elements
| Zone | Zone Name | Peak Security Tariff | Year Round Tariff | Residual | Small Generators Discount | HH Demand Tariff (£/kW)
| 1 | Northern Scotland | 0.49094 | -18.2601 | 46.6073 | 0.52804 | 29.3662
| 2 | Southern Scotland | -0.85723 | -16.0847 | 46.6073 | 0.52804 | 30.1935
| 3 | Northern | -2.7016 | -5.3617 | 46.6073 | 0.52804 | 39.072
| 4 | North West | -0.71295 | -1.8728 | 46.6073 | 0.52804 | 44.5497
| 5 | Yorkshire | -2.5869 | -0.27818 | 46.6073 | 0.52804 | 44.2703
| 6 | N Wales & Mersey | -1.383 | 0.74937 | 46.6073 | 0.52804 | 46.5018
| 7 | East Midlands | -2.0225 | 2.1965 | 46.6073 | 0.52804 | 47.3093
| 8 | Midlands | -1.1482 | 3.0738 | 46.6073 | 0.52804 | 49.061
| 9 | Eastern | 1.0318 | 0.67218 | 46.6073 | 0.52804 | 48.8394
| 10 | South Wales | -5.935 | 4.0199 | 46.6073 | 0.52804 | 45.2203
| 11 | South East | 3.8251 | 0.72535 | 46.6073 | 0.52804 | 51.6858
| 12 | London | 5.0168 | 1.987 | 46.6073 | 0.52804 | 54.1392
| 13 | Southern | 1.8434 | 3.8423 | 46.6073 | 0.52804 | 52.8211
| 14 | South Western | -0.69472 | 5.1738 | 46.6073 | 0.52804 | 51.6145