## CMP 213 WACM2 Calculator
Indicative 2016/17 CMP 213 Diversity 1 Tariff Calculator Based on 28 January 2015 Five Year Forecast
| Inputs |  | User Defined |  |  |  | Applied Values
Generation Charging Zone | 1 | [5 empty] | 1
TEC (MW) | 100 | [5 empty] | 100
Technology | Oil_and_OCGT | [5 empty] | Oil_and_OCGT
Conventional/Intermittent |  |  | Conventional |  |  |  | Conventional
Annual Load Factor (%) | Generic |  | 50% |  |  |  | 0.5941%
|  |  | 2016-17 | 2017-18 | 2018-19 | 2019-20
Residual (£/kW) | National Grid |  | 1 | 1 | 1 | 1 | 1,1,1,1
| 2016-17 |  | 2017-18 |  | 2018-19 |  | 2019-20
| base tariff | applicable tariff | base tariff | applicable tariff | base tariff | applicable tariff | base tariff | applicable tariff
System Peak Tariff (£/kW) | 2.8443 | 2.8443 | 2.7682 | 2.7682 | 1.9235 | 1.9235 | 1.5295 | 1.5295
Shared Year Round (£/kW) | 13.2616 | 0.078783 | 19.0496 | 0.11317 | 16.9963 | 0.10097 | 16.4348 | 0.097634
Not Shared Year Round (£/kW) | 7.1939 | 7.1939 | 12.5521 | 12.5521 | 21.006 | 21.006 | 21.8319 | 21.8319
Residual Tariff (£/kW) | 1.3086 | 1.3086 | 0.45239 | 0.45239 | -1.3384 | -1.3384 | -2.9716 | -2.9716
Indicative Tariff (£/kW) |  | 11.4256 |  | 15.8858 |  | 21.692 |  | 20.4875
Indicative Charge (£) |  | 1142562.9231 |  | 1588580.2332 |  | 2169202.9163 |  | 2048745.4306
NB: Generator technology types which are classified as intermittent include: onshore wind, offshore wind, solar, tidal
Generator technology types which are classified as conventional include: nuclear, OCGT, CCGT, coal-fired, oil-fired, hydro, pumped storage

## 2016-17
Table 1 - 2016/17 Generation Tariffs
Generation Tariffs |  | System Peak Tariff | Shared Year Round Tariff | Not Shared Year Round Tariff | Residual Tariff | Conventional 70% Load Factor | Intermittent 30% Load Factor
Zone | Zone Name | (£/kW) | (£/kW) | (£/kW) | (£/kW) | (£/kW) | (£/kW)
1 | North Scotland | 2.8443 | 13.2616 | 7.1939 | 1.3086 | 20.6299 | 12.4811
2 | East Aberdeenshire | 3.7098 | 6.8386 | 7.1939 | 1.3086 | 16.9994 | 10.5542
3 | Western Highlands | 2.5986 | 11.2122 | 6.8979 | 1.3086 | 18.6537 | 11.5702
4 | Skye and Lochalsh | -1.4263 | 11.2122 | 8.3665 | 1.3086 | 16.0974 | 13.0389
5 | Eastern Grampian and Tayside | 2.198 | 10.1135 | 6.3912 | 1.3086 | 16.9774 | 10.7339
6 | Central Grampian | 4.0462 | 10.0309 | 6.333 | 1.3086 | 18.7095 | 10.6509
7 | Argyll | 3.0743 | 7.9478 | 9.7769 | 1.3086 | 19.7233 | 13.4699
8 | The Trossachs | 3.189 | 7.9478 | 4.7719 | 1.3086 | 14.833 | 8.4649
9 | Stirlingshire and Fife | 3.6485 | 7.0274 | 4.4312 | 1.3086 | 14.3075 | 7.8481
10 | South West Scotland | 2.0102 | 7.4099 | 4.4312 | 1.3086 | 12.9369 | 7.9628
11 | Lothian and Borders | 4.0005 | 7.4099 | 2.0054 | 1.3086 | 12.5014 | 5.537
12 | Solway and Cheviot | 1.7628 | 4.5808 | 3.0258 | 1.3086 | 9.3038 | 5.7087
13 | North East England | 3.7885 | 2.3787 | 1.8315 | 1.3086 | 8.5937 | 3.8538
14 | North Lancashire and The Lakes | 1.8699 | 2.3787 | 1.7808 | 1.3086 | 6.6245 | 3.803
15 | South Lancashire, Yorkshire and Humber | 4.56 | 0.49 | 0 | 1.3086 | 6.2117 | 1.4556
16 | North Midlands and North Wales | 3.5434 | 0.057003 | 0 | 1.3086 | 4.8919 | 1.3257
17 | South Lincolnshire and North Norfolk | 1.6064 | -0.073343 | 1.3054e-16 | 1.3086 | 2.8637 | 1.2866
18 | Mid Wales and The Midlands | 1.2217 | -0.13514 | 0 | 1.3086 | 2.4357 | 1.2681
19 | Anglesey and Snowdon | 4.7817 | 1.579 | 0 | 1.3086 | 7.1957 | 1.7824
20 | Pembrokeshire | 8.0712 | -3.4367 | 0 | 1.3086 | 6.9742 | 0.27762
21 | South Wales & Gloucester | 5.397 | -3.533 | 0 | 1.3086 | 4.2326 | 0.24875
22 | Cotswold | 2.1637 | 2.5282 | -5.95 | 1.3086 | -0.70789 | -3.8829
23 | Central London | -3.8337 | 2.5282 | -5.2881 | 1.3086 | -6.0434 | -3.221
24 | Essex and Kent | -4.4613 | 2.5282 | 0 | 1.3086 | -1.3829 | 2.0671
25 | Oxfordshire, Surrey and Sussex | -1.7992 | -2.0842 | 0 | 1.3086 | -1.9495 | 0.68338
26 | Somerset and Wessex | -2.1324 | -3.4688 | 0 | 1.3086 | -3.2519 | 0.268
27 | West Devon and Cornwall | -1.6217 | -5.6103 | 0 | 1.3086 | -4.2403 | -0.37445

## 2017-18
Table 2 - 2017/18 Generation Tariffs with Western HVDC Link
Generation Tariffs |  | System Peak Tariff | Shared Year Round Tariff | Not Shared Year Round Tariff | Residual Tariff | Conventional 70% Load Factor | Intermittent 30% Load Factor
Zone | Zone Name | (£/kW) | (£/kW) | (£/kW) | (£/kW) | (£/kW) | (£/kW)
1 | North Scotland | 2.7682 | 19.0496 | 12.5521 | 0.45239 | 29.1073 | 18.7193
2 | East Aberdeenshire | 3.7567 | 11.9351 | 12.5521 | 0.45239 | 25.1157 | 16.585
3 | Western Highlands | 2.7005 | 16.705 | 12.1799 | 0.45239 | 27.0262 | 17.6437
4 | Skye and Lochalsh | -3.1989 | 16.705 | 12.111 | 0.45239 | 21.058 | 17.5749
5 | Eastern Grampian and Tayside | 2.3199 | 15.7311 | 11.6417 | 0.45239 | 25.4258 | 16.8135
6 | Central Grampian | 4.4897 | 15.9727 | 11.834 | 0.45239 | 27.957 | 17.0782
7 | Argyll | 3.6204 | 13.9415 | 16.6783 | 0.45239 | 30.5101 | 21.3131
8 | The Trossachs | 3.7759 | 13.9415 | 10.1259 | 0.45239 | 24.1132 | 14.7607
9 | Stirlingshire and Fife | 3.5969 | 12.5796 | 9.5289 | 0.45239 | 22.384 | 13.7552
10 | South West Scotland | 2.4423 | 14.8157 | 9.5289 | 0.45239 | 22.7947 | 14.426
11 | Lothian and Borders | 4.3556 | 14.8157 | 2.3416 | 0.45239 | 17.5206 | 7.2387
12 | Solway and Cheviot | 1.8496 | 7.779 | 5.9257 | 0.45239 | 13.673 | 8.7118
13 | North East England | 4.1761 | 3.318 | 3.4425 | 0.45239 | 10.3936 | 4.8903
14 | North Lancashire and The Lakes | 1.774 | 3.318 | 1.6999 | 0.45239 | 6.2488 | 3.1477
15 | South Lancashire, Yorkshire and Humber | 4.8475 | -0.083481 | 0 | 0.45239 | 5.2415 | 0.42735
16 | North Midlands and North Wales | 3.6733 | -1.5745 | 0 | 0.45239 | 3.0236 | -0.019954
17 | South Lincolnshire and North Norfolk | 1.7715 | -0.93092 | 0 | 0.45239 | 1.5722 | 0.17311
18 | Mid Wales and The Midlands | 1.2634 | -1.2677 | 0 | 0.45239 | 0.82838 | 0.072082
19 | Anglesey and Snowdon | 4.0053 | -1.513 | 0 | 0.45239 | 3.3986 | -0.0015239
20 | Pembrokeshire | 8.2202 | -4.7978 | 0 | 0.45239 | 5.3141 | -0.98695
21 | South Wales & Gloucester | 5.4783 | -4.8848 | 0 | 0.45239 | 2.5113 | -1.0131
22 | Cotswold | 2.1574 | 1.5002 | -6.2599 | 0.45239 | -2.6 | -5.3575
23 | Central London | -3.894 | 1.5002 | -5.3391 | 0.45239 | -7.7306 | -4.4367
24 | Essex and Kent | -4.5258 | 1.5002 | 0 | 0.45239 | -3.0233 | 0.90246
25 | Oxfordshire, Surrey and Sussex | -1.842 | -3.2782 | 0 | 0.45239 | -3.6843 | -0.53108
26 | Somerset and Wessex | -2.3406 | -4.7607 | 0 | 0.45239 | -5.2207 | -0.97581
27 | West Devon and Cornwall | -1.7034 | -6.8192 | 0 | 0.45239 | -6.0244 | -1.5934

## 2018-19
Table 3 - 2018/19 Generation Tariffs
Generation Tariffs |  | System Peak Tariff | Shared Year Round Tariff | Not Shared Year Round Tariff | Residual Tariff | Conventional 70% Load Factor | Intermittent 30% Load Factor
Zone | Zone Name | (£/kW) | (£/kW) | (£/kW) | (£/kW) | (£/kW) | (£/kW)
1 | North Scotland | 1.9235 | 16.9963 | 21.006 | -1.3384 | 33.4885 | 24.7665
2 | East Aberdeenshire | 1.6475 | 8.1289 | 19.8532 | -1.3384 | 25.8526 | 20.9535
3 | Western Highlands | 2.0413 | 15.4789 | 19.1015 | -1.3384 | 30.6397 | 22.4068
4 | Skye and Lochalsh | -8.0535 | 15.4789 | 19.0439 | -1.3384 | 20.4872 | 22.3492
5 | Eastern Grampian and Tayside | 3.6066 | 13.895 | 16.1693 | -1.3384 | 28.1641 | 18.9994
6 | Central Grampian | 3.3982 | 13.7918 | 15.9532 | -1.3384 | 27.6673 | 18.7524
7 | Argyll | 2.3913 | 12.7542 | 19.8113 | -1.3384 | 29.7921 | 22.2992
8 | The Trossachs | 2.8131 | 12.7542 | 13.7332 | -1.3384 | 24.136 | 16.2211
9 | Stirlingshire and Fife | 2.5158 | 11.7318 | 12.4698 | -1.3384 | 21.8596 | 14.651
10 | South West Scotland | 2.9351 | 13.3897 | 12.5917 | -1.3384 | 23.5612 | 15.2702
11 | Lothian and Borders | 3.1559 | 13.3897 | 4.495 | -1.3384 | 15.6853 | 7.1735
12 | Solway and Cheviot | 2.2315 | 7.2779 | 7.3551 | -1.3384 | 13.3427 | 8.2001
13 | North East England | 3.6382 | 3.146 | 3.6307 | -1.3384 | 8.1327 | 3.2361
14 | North Lancashire and The Lakes | 1.8311 | 3.146 | 2.4255 | -1.3384 | 5.1205 | 2.031
15 | South Lancashire, Yorkshire and Humber | 4.6015 | 0.22549 | 0 | -1.3384 | 3.421 | -1.2707
16 | North Midlands and North Wales | 3.5318 | -1.463 | 0 | -1.3384 | 1.1694 | -1.7772
17 | South Lincolnshire and North Norfolk | 2.4251 | -1.4591 | 0 | -1.3384 | 0.065407 | -1.7761
18 | Mid Wales and The Midlands | 1.5371 | -1.3063 | 0 | -1.3384 | -0.71565 | -1.7302
19 | Anglesey and Snowdon | 3.0389 | -0.11284 | -3.6931e-16 | -1.3384 | 1.6215 | -1.3722
20 | Pembrokeshire | 8.6666 | -5.4588 | 0 | -1.3384 | 3.5071 | -2.976
21 | South Wales & Gloucester | 6.0195 | -5.4741 | 0 | -1.3384 | 0.84925 | -2.9806
22 | Cotswold | 2.3579 | 1.6241 | -7.1172 | -1.3384 | -4.9608 | -7.9683
23 | Central London | -6.069 | 1.6241 | -6.0983 | -1.3384 | -12.3687 | -6.9494
24 | Essex and Kent | -3.5536 | 1.6241 | 0 | -1.3384 | -3.7551 | -0.85111
25 | Oxfordshire, Surrey and Sussex | -1.8595 | -3.6056 | 0 | -1.3384 | -5.7217 | -2.42
26 | Somerset and Wessex | -2.3931 | -5.5756 | 0 | -1.3384 | -7.6344 | -3.011
27 | West Devon and Cornwall | -1.8268 | -7.8999 | 0 | -1.3384 | -8.6951 | -3.7083

## 2019-20
Table 4 - 2019/20 Generation Tariffs
Generation Tariffs |  | System Peak Tariff | Shared Year Round Tariff | Not Shared Year Round Tariff | Residual Tariff | Conventional 70% Load Factor | Intermittent 30% Load Factor
Zone | Zone Name | (£/kW) | (£/kW) | (£/kW) | (£/kW) | (£/kW) | (£/kW)
1 | North Scotland | 1.5295 | 16.4348 | 21.8319 | -2.9716 | 31.8942 | 23.7908
2 | East Aberdeenshire | 1.4138 | 7.6025 | 20.6837 | -2.9716 | 24.4477 | 19.9929
3 | Western Highlands | 1.5901 | 15.1532 | 19.8288 | -2.9716 | 29.0545 | 21.4031
4 | Skye and Lochalsh | -8.8087 | 15.1532 | 19.7818 | -2.9716 | 18.6087 | 21.3561
5 | Eastern Grampian and Tayside | 2.0741 | 13.9618 | 17.2565 | -2.9716 | 26.1323 | 18.4735
6 | Central Grampian | 2.0305 | 13.8593 | 17.0032 | -2.9716 | 25.7636 | 18.1894
7 | Argyll | 1.5454 | 12.819 | 20.1616 | -2.9716 | 27.7087 | 21.0358
8 | The Trossachs | 1.6478 | 12.819 | 14.3834 | -2.9716 | 22.0329 | 15.2575
9 | Stirlingshire and Fife | 2.2378 | 11.5839 | 12.5701 | -2.9716 | 19.9451 | 13.0738
10 | South West Scotland | 2.4924 | 13.1679 | 12.8058 | -2.9716 | 21.5442 | 13.7846
11 | Lothian and Borders | 4.1857 | 13.1679 | 5.7989 | -2.9716 | 16.2305 | 6.7777
12 | Solway and Cheviot | 1.8268 | 7.5319 | 7.0372 | -2.9716 | 11.1648 | 6.3253
13 | North East England | 4.1998 | 5.0933 | 4.4325 | -2.9716 | 9.2261 | 2.9889
14 | North Lancashire and The Lakes | 1.8398 | 5.0933 | 0.26041 | -2.9716 | 2.694 | -1.1832
15 | South Lancashire, Yorkshire and Humber | 4.6875 | 0.42338 | 0 | -2.9716 | 2.0123 | -2.8445
16 | North Midlands and North Wales | 3.7224 | -1.3664 | 0 | -2.9716 | -0.20567 | -3.3815
17 | South Lincolnshire and North Norfolk | 2.6897 | -1.4188 | 0 | -2.9716 | -1.275 | -3.3972
18 | Mid Wales and The Midlands | 0.88212 | -0.79503 | 0 | -2.9716 | -2.646 | -3.2101
19 | Anglesey and Snowdon | 3.0791 | -0.080504 | 0 | -2.9716 | 0.051201 | -2.9957
20 | Pembrokeshire | 8.5939 | -5.8059 | 0 | -2.9716 | 1.5582 | -4.7133
21 | South Wales & Gloucester | 5.7423 | -5.8718 | 0 | -2.9716 | -1.3395 | -4.7331
22 | Cotswold | 1.9498 | 1.5934 | -7.5519 | -2.9716 | -7.4583 | -10.0454
23 | Central London | -6.0552 | 1.5934 | -6.0554 | -2.9716 | -13.9668 | -8.5489
24 | Essex and Kent | -2.5495 | 1.5934 | 0 | -2.9716 | -4.4057 | -2.4935
25 | Oxfordshire, Surrey and Sussex | -1.6467 | -3.3557 | 0 | -2.9716 | -6.9673 | -3.9783
26 | Somerset and Wessex | -2.7711 | -4.3781 | 0 | -2.9716 | -8.8073 | -4.285
27 | West Devon and Cornwall | -2.7593 | -8.3538 | 0 | -2.9716 | -11.5785 | -5.4777

## ALF
Technology | Generic ALF | Intermittent/ Conventional
Oil_and_OCGT | 0.5941% | Conventional
Pumped_Storage | 12.08% | Conventional
Hydro | 33.27% | Conventional
Onshore_Wind | 34.32% | Intermittent
Offshore_Wind | 38.78% | Intermittent
Coal | 42.9% | Conventional
CCGT_and_CHP | 63.13% | Conventional
Nuclear | 67.9% | Conventional
Other