# CUSC - EXHIBIT D

# THE CONNECTION AND USE OF SYSTEM CODE

# USE OF SYSTEM APPLICATION

# EMBEDDED GENERATOR

# DISTRIBUTION INTERCONNECTOR OWNER

# SMALL POWER STATION TRADING PARTY

PLEASE STUDY THE FOLLOWING NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM.

## Please note that certain expressions which are used in this application form are defined in the Interpretation and Definitions (contained in Section 11 of the CUSC) and when this occurs the expressions have capital letters at the beginning of each word and are in bold.   If the Applicant has any queries regarding this application or any related matters then the Applicant is recommended to contact The Company where our staff will be pleased to help.

## The Company requires the information requested in this application form for the purposes of preparing an Offer (the “Offer") to enter into an agreement for use of the National Electricity Transmission System.  It is essential that the Applicant should supply all information requested in this application form and that every effort should be made to ensure that such information should be accurate.

## Where The Company considers that any information provided by the Applicant is incomplete or unclear, or further information is required, the Applicant will be requested to provide further information or clarification.  The provision/clarification of this information may impact on The Company’s ability to commence preparation of an Offer.

## Should there be any change in the information provided by the Applicant immediately inform The Company of such a change.  Where this is a change in the information provided for Sections B to D then the Applicant should inform The Company to see if such a change can be accommodated as it is unlikely that material changes could be accommodated.  If The Company cannot accommodate such a change bearing in mind the timescales within which the Offer must be made then the application will be processed on the original information although it is open to the Applicant to withdraw the application.

## The Company shall charge the Applicant, and the Applicant shall pay to The Company, The Company’s Engineering Charges in relation to the application. A fee will be charged by The Company in accordance with the Charging Statements.  No application will be considered until such payment has been received.

## The effective date upon which the application is made shall be the later of the date when The Company has received the application fee pursuant to Paragraph 4 above or the date when The Company is reasonably satisfied that the Applicant has completed Sections A-D. The Company shall notify the Applicant of such date.

## The Company will make the Offer in accordance with the terms of Paragraph 3.7 (Use of System Application) and Paragraph 6.10 (Modifications and New Connection Sites) of the CUSC and the Transmission Licence.

## The Company will make the Offer as soon as is reasonably practicable and, in any event, within 28 days of the effective date of the application or such later period as the Authority agrees to.  The Offer may, where it is necessary to carry out additional extensive system studies to evaluate more fully the impact of the proposed development, indicate the areas that require more detailed analysis. Before such additional studies are required, the Applicant shall indicate whether it wishes The Company to undertake the work necessary to proceed to make a revised Offer within the 28 days period or, where relevant the timescale consented to by the Authority.  To enable The Company to carry out any of the above mentioned necessary detailed system studies the Applicant may, at the request of The Company, be required to provide some or all of the Detailed Planning Data listed in Part 2 of the Appendix to the Planning Code which is part of the Grid Code.

## In the course of processing your application, it may be necessary for The Company to consult the appropriate Public Distribution System Operator(s) on matters of technical compatibility of the National Electricity Transmission System with their Distribution System(s) or to consult the Relevant  Transmission Licensees to establish the works required on the National Electricity Transmission System.  On grounds of commercial confidentiality The Company shall need your authorisation to the release to the Public Distribution System Operator(s) or the Relevant Transmission Licensees of certain information contained in your application.  Any costs incurred by The Company in consulting the Public Distribution System Operator(s) or Relevant Transmission Licensees would be included in The Company Charges for the application.  If it is found by the Public Distribution System Operator(s) that any work is required on their Distribution System(s), then it will be for the Public Distribution System Operator(s) and the Applicant to reach agreement in accordance with Paragraph 6.10.3 of the CUSC.

### 9.	In accordance with 6.30.3 of CUSC The Company will need to disclose details of the Bilateral Embedded Generation Agreement entered into and shall need authorisation from the Applicant in respect of this.

## 10.	If the Applicant is not already a CUSC Party the Applicant will be required as part of this application form to undertake that he will comply with the provisions of the Grid Code for the time being in force. Copies of the Grid Code and the CUSC are available on The Company’s Website and the Applicant is advised to study them carefully. Data submitted pursuant to this application shall be deemed submitted pursuant to the Grid Code.

## The Company's Offer will be based to the extent appropriate upon its standard form terms for Use of System Offer and the Charging Statements issued by The Company under Standard Conditions C4 and C6.  The Applicant should bear in mind The Company 's standard form terms of Offer when making this application.

## 12.	In particular please note that The Company may require as a condition of the Offer, that the Applicant's Plant or Apparatus should meet or provide some or all of the technical requirements set out in the Appendices of the draft Bilateral Embedded Generation Agreement attached to The Company's standard form terms of Offer and may propose that the Applicant's Plant or Apparatus should have the capability to provide Mandatory Ancillary Services.

## 13.	As provided for in Grid Code CC8.1 Generators and DC Converter station owner should appreciate that they will be required to perform Mandatory Ancillary Services to ensure that System Operational Standards can be achieved.  This requirement may have implications towards plant specification.  You should be satisfied before an application is made that your intended plant design can meet the requirements.

## The Applicant has the ability to pay a fixed price application fee in respect of their application or pay the actual costs incurred (variable price application fee).  The fixed price application fee is derived from analysis of historical costs of similar applications.  The variable price application fee is based on an advance of the Transmission Licensee’s Engineering and out of pocket expenses and will vary according to the size of the scheme and the amount of work involved.  The Applicant is requested to indicate their preferred basis of application fee in Section A question 4. The Applicant is advised that further information can be obtained from the Charging Statements which can be found on The Company’s Website.

## Applicants have the option to request a Connection Offer on the basis of a Design Variation.  In requesting such an Offer, the Applicant acknowledges that the connection design (which provides for connection to the National Electricity Transmission System) will fail to satisfy the deterministic criteria detailed in paragraphs 2.5 to 2.13 of the NETSSQSS.  In making such an Offer, in accordance with its obligations under Paragraphs 2.13.2 and 2.13.7 of CUSC.  The Company may include Restrictions on Availability. If Applicants require further assistance on this option they are recommended to contact The Company before completing this application form.

## Please complete this application form in black print and return it together with the appropriate application fee to Customer Services Manager, National Grid Electricity Transmission plc, Warwick Technology Park, Gallows Hill, Warwick, CV34 6DA (Telephone No. 01926 65 4634). In addition to returning the application to the Customer Services Manager an electronic form may be e-mailed to The Company at camdata@uk.ngrid.com

## For the most up to date contact details applicants are advised to contact The Company Website3.

SECTION A.	DETAILS OF APPLICANT (in respect of this application)

1.	Registered Company

Name:………………………………………………………………………….....

Address (of Registered Office in the case of a Company):

....................................................................................................................

....................................................................................................................

....................................................................................................................

Company Number:......................................................................................

Parent Company Name (if applicable):..……………………………………..

2.	Company Secretary or person to receive CUSC notices

Name:………………………………………………………………………….....

Email:……………………………………………………………………………..

Telephone:…………………………………………………………………….....

Fax:…………………………………………………………………………….....

3.	Commercial Contact/Agent (person to receive Offer if different from Company Secretary or person to receive CUSC notices identified in 2 above)

Name:………………………………………………………………………….....

Title:………………………………………………………………………………

Address:……………………………………………………………………….....

…………………………………………………………………………….………

…………………………………………………………………………………….

Email:……………………………………………………………………………..

Telephone:…………………………………………………………………….....

Fax:…………………………………………………………………………….....

4.	Please confirm whether you agree to us sending the Offer in electronic form instead of hard copy and, if so, confirm the address for this as follows.

Yes [ ]

No [ ]

Email address …………………………………………………..

5.	Please identify which application fee basis you wish to use for this application.

Fixed application fee	[  ]

Variable application fee [  ]

6.	If this is an application for connection to the National Electricity Transmission System in England and Wales please complete 5a. If this is an application for connection to the National Electricity Transmission System in Scotland please complete 5b.

6a.	Have you made any applications for connection to the National Electricity Transmission System in Scotland which are being processed prior to Offer by The Company or where an Offer has been made that Offer has not yet been accepted by you but remains open for acceptance?

If so, are such applications intended as alternatives to this one i.e. you intend to choose which of this or those other applications to proceed with on the basis of the offer made.

Yes – please list the applications.

……………………………………………………………………………………………………………………………………………………………………

No	[  ]

Not sure 	[  ]

(The Company will contact you to clarify)

6b.	Have you made any applications for connection to the National Electricity Transmission System in England and Wales which are being processed prior to Offer by The Company or where an Offer has been made that Offer has not yet been accepted by you but remains open for acceptance?

If so, are such applications intended as alternatives to this one i.e. you intend to choose which of this or those other applications to proceed with on the basis of the offer made.

Yes – please list the applications.

…………………………………………………………………………………………………………………………………………………………………………

No	[  ]

Not sure [  ]

(The Company will contact you to clarify)

SECTION B:	THE PROPOSED SITE OF CONNECTION TO A DISTRIBUTION SYSTEM

1.	Please identify (preferably by reference to an extract from Ordnance Survey Map) the intended location of the Plant and Apparatus (the "User Development") which it is desired should be connected to the Distribution System.

..................................................................................................................................

..................................................................................................................................

..................................................................................................................................

- If you believe that a new sub-station will be needed, please indicate by reference to a plan your suggested location for it.

...............................................................................................................................

...............................................................................................................................

..................................................................................................................................................................

SECTION C.		TECHNICAL INFORMATION

## Summary of Application (brief description of plant to be connected): ....…………………………………………………………………………………...

## ………………………………………………………………………………………………………………………………………………………………………………

## Please provide the data listed in Part 1 of the Appendix to the Planning Code which are applicable to you.  Note: the data concerned forms part of the Planning Code and Data Registration Code.  Applicants should refer to these sections of the Grid Code for an explanation.  Further guidance is available from The Company on request.

## 3.      Please provide a copy of your Safety Rules if not already provided to The Company.

## Included	[	]

## Already provided	[	]

## Will be provided later	[	]

## 4.	Please indicate if your plant may be able to provide (or you could consider providing) the following  technical capability:-

##### Generation from Auxiliary Units (Reserve Services)	[   ]

##### Spinning Generation	[   ]

##### Fast Start capability 	[   ]

##### Frequency Response above Mandatory requirements	[   ]

##### Demand Reduction / Management	[   ]

##### Reactive capability above Mandatory requirements	[   ]

##### Synchronous Compensation 	[   ]

##### Black Start Capability	[   ]

##### Emergency Maximum Generation	[   ]

##### Intertrip	[   ]

##### Other (please detail below)	[   ]

…………………………………………………………………………………….

……………………………………………………………………………………

##### The Company’s Website provides more information on the terms it offers for such technical capability.

## 5.      Please state the required Transmission Entry Capacity………….....MW

5.	Please confirm if:

a.	You would like an offer that is compliant with the deterministic criteria

detailed in paragraphs 2.5 to 2.13 of the National Electricity Transmission System SQSS	YES/NO

and\or

b.	You would like an offer on the basis of a Design Variation	YES/NO

If yes, please provide any information relevant to such an offer below.

………………………………………………………………………………..

………………………………………………………………………………..

………………………………………………………………………………..

If yes, please confirm if you require information from The Company

in relation to the probability of Notification of Restrictions on

Availability being issued	YES/NO

SECTION D.		PROGRAMME

Please provide a suggested development and construction programme in bar chart form for the work necessary to install the User Development indicating the anticipated date when the connection will be required to be made and any other key dates such as back feed date.

If not already included in the above bar chart please provide details of when the Applicant expects to be completing the substantive works that lead to  the completion of the following phases of the User Development or reach the following relevant key milestones below and other additional milestones as necessary (working backwards from expected connection date at ‘year 0’).  This information is expected to provide the anticipated project overview at the time of application:-

- Planning Application Submitted (Town & Country Planning*, S36,S37)

- Planning Consent Awarded

- Plant Ordered (i.e. Power Station or substation)

- Construction Started (site mobilisation)

- Construction Completed

Notes

*	The consent for the User's Power Station granted under Section 36 of the Electricity Act or planning permission for the User's Power Station granted under the Town and Country Planning Act 1990 or any amendment thereto in England and Wales or the Town and Country Planning (Scotland)  Act 1997 or any amendment thereto in Scotland.

Section E. 	ENABLING WORKS [EXCEPT  DISTRIBUTION 	INTERCONNECTOR OWNER]

1.	We confirm we do not/do want the Enabling Works to be greater in scope than the MITS Connection Works.

2.	If you want the Enabling Works to be greater in scope than the MITS Connection Works specify the concerns, reasons or technical requirements that you are seeking to address by this.

# USE OF SYSTEM APPLICATION

Please study the notes before completing and signing this application form.

## We hereby apply to use the National Electricity Transmission System from our connection to [                  ] Distribution System.

## We will promptly inform The Company of any change in the information given in this application as quickly as practicable after becoming aware of any such change.

## If we are not already a CUSC Party we undertake for the purposes of this application to be bound by the terms of the Grid Code from time to time in force and to sign a CUSC Accession Agreement.

## We authorise the release of certain information, on the grounds of commercial confidentiality, to the appropriate Public Distribution System Operator(s) or Relevant Transmission Licensees should it be considered necessary.

## We confirm that we do/do not meet the Approved Credit Rating [and The Company Credit Rating].

6.	We confirm our agreement to the disclosure in the manner set out in Paragraph 6.30.3 of CUSC of the information specified in such Paragraph.

## 7.	We confirm that we are applying in the category of :

Embedded Generator				[  ]

Distribution Interconnector Owner		[  ]

Small Power Station Trading Party		[  ]

[Please tick correct option].

SIGNED BY:

........................................................ 
For and on behalf of the Applicant

Date:.......................................................................

END OF EXHIBIT D

Customer Services, National Grid Electricity Transmission plc, Warwick Technology Park, Gallows Hill, Warwick, CV34 6DA (Telephone No. 01926 654634)

www.nationalgrid.com/uk/electricity

www.nationalgrid.com/uk/electricity

http://www.nationalgrid.com/uk/Electricity/Balancing/services