## Interconnector Register Report
Interconnector Register Report as on 26/10/2017
|  |  | MW Current |  | MW Rate Increase/Decrease |  | MW Total
Company | Station Name | Connection Site | *MW Import | *MW Export | *MW Import | *MW Export | *MW Import | *MW Export | Completion Date | Project Status | Host TO | Plant Type
Aquind Limited | Aquind Interconnector | Lovedean 400kV Substation | 0.00 | 0.00 | 2,000.00 | 2,000.00 | 2,000.00 | 2,000.00 | 23-Dec-21 | Awaiting Consents | NGET | Interconnector
Moyle Interconnector Limited | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 295.00 | 450.00 | -215.00 | 0.00 | 80.00 | 450.00 | 10-Nov-17 | Built | SPT | Interconnector
Moyle Interconnector Limited* | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 80 | 450 | 227 | 0 | 307 | 450 | 2019-12-01 | Built | SPT | Interconnector
Moyle Interconnector Limited* | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 307 | 450 | -57 | 0 | 250 | 450 | 2020-06-01 | Built | SPT | Interconnector
Moyle Interconnector Limited* | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 250 | 450 | -90 | 0 | 160 | 450 | 2021-11-01 | Built | SPT | Interconnector
Moyle Interconnector Limited* | Auchencrosh (interconnector CCT) | Auchencrosh 275KV | 160 | 450 | 340 | 0 | 500 | 450 | 2022-04-01 | Built | SPT | Interconnector
ElecLink Ltd | ElecLink | Sellindge 400KV Substation | 0.00 | 0.00 | 1,000.00 | 1,050.00 | 1,000.00 | 1,050.00 | 31-Oct-16 | Under Construction/Commissioning | NGET | Interconnector
FABLink Ltd | FAB Link Interconnector | Exeter 400KV Substation | 0.00 | 0.00 | 1,400.00 | 1,460.00 | 1,400.00 | 1,460.00 | 01-Dec-20 | Awaiting Consents | NGET | Interconnector
Greenage Power Limited | Greenage Power Interconnector | Grain | 0.00 | 0.00 | 1,400.00 | 1,400.00 | 1,400.00 | 1,400.00 | 31-Oct-22 | Scoping | NGET | Interconnector
Greenwire Transmission Pembroke Limited | Greenlink | Pembroke 400kV Substation | 0.00 | 0.00 | 500.00 | 500.00 | 500.00 | 500.00 | 31-Oct-22 | Scoping | NGET | Interconnector
Gridlink Interconnector Ltd | Gridlink Interconnector | Kingsnorth | 0.00 | 0.00 | 1,500.00 | 1,500.00 | 1,500.00 | 1,500.00 | 31-Oct-22 | Scoping | NGET | Interconnector
National Grid International Ltd | IFA Interconnector | Sellindge 400KV Substation | 2,000.00 | 2,000.00 | 0.00 | 0.00 | 2,000.00 | 2,000.00 |  | Built | NGET | Interconnector
National Grid International Ltd | IFA2 Interconnector | Chilling 400KV Substation | 0.00 | 0.00 | 1,100.00 | 1,150.00 | 1,100.00 | 1,150.00 | 31-Oct-19 | Scoping | NGET | Interconnector
Manx Electricity Authority | Isle of Man Interconnector | Bispham 132KV Substation | 74.00 | 74.00 | 0.00 | 0.00 | 74.00 | 74.00 |  | Built | NGET | Interconnector
National Grid Interconnector Holdings Ltd | Nautilus | Leiston 400kV Substation | 1,500.00 | 1,500.00 | 1,500.00 | 1,500.00 | 1,500.00 | 1,500.00 | 31-Oct-24 | Scoping | NGET | Interconnector
NorthConnect KS | Norway Interconnector | Peterhead 400KV | 0.00 | 0.00 | 1,400.00 | 1,400.00 | 1,400.00 | 1,400.00 | 31-Oct-21 | Scoping | SHET | Interconnector
National Grid NS Link Ltd | NS Link | Blyth | 0.00 | 0.00 | 1,400.00 | 1,400.00 | 1,400.00 | 1,400.00 | 30-Sep-20 | Awaiting Consents | NGET | Interconnector
National Grid Interconnector Holdings Ltd | Viking Link Denmark Interconnector | Bicker Fenn 400KV Substation | 0.00 | 0.00 | 1,500.00 | 1,500.00 | 1,500.00 | 1,500.00 | 31-Oct-22 | Scoping | NGET | Interconnector
*Note: The MW import figures represent firm TEC. From 10 November 2017 Moyle holds a total of 500MW TEC which is subject to operational restrictions.
CUSC Definition paragraph 9.4
9.4 EXPORT OF POWER FROM THE INTERCONNECTOR CONNECTION SITE
* MW Import | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement and the Grid Code and any Operating Agreement, The Company shall accept into the National Electricity Transmission System at the Connection Site of an Interconnector power up to the Transmission Entry Capacity and (if any) STTEC and\or LDTEC and\or any Temporary Received TEC less any Temporary Donated TEC for the relevant Period as specified in Appendix C to the relevant Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice.
CUSC Definition paragraph 9.5
9.5 IMPORT OF POWER TO THE INTERCONNECTOR CONNECTION SITE
* MW Export | Subject to the other provisions of the CUSC, the relevant Bilateral Connection Agreement, the Grid Code and any Operating Agreement, The Company shall transport a supply of power to a Connection Site of an Interconnector through the National Electricity Transmission System up to the amount specified in the Bilateral Connection Agreement except to the extent (if any) that The Company is prevented from doing so by transmission constraints which could not be avoided by the exercise of Good Industry Practice by The Company.